ULSD Clinical/Translational Project	PIs: Lara C Monteiro and Matthew Ramsey

- Endogenous dental erosion caused by gastric disorders significantly affects restorative materials. Bulimia nervosa (self-induced vomiting) leads to acid exposure, when combined with mechanical loading, is identified as the most detrimental condition for dental wear. However, clinical research is limited due to patient anonymity and privacy constraints, making in vitro simulation the primary method of investigation. Currently, in vitro simulation is quite limited, relying only on static incubation of materials in acidified solutions, potentially underrepresenting actual in vivo damage to these substrates. To address this, our group has  developed a gastric simulator, reproducing acidic flow and pressure observed during vomiting. Following our recent publication (Monteiro et al., 2025), new questions have emerged that must be addressed to refine a future device which are: 1. Whether the time interval between erosive aging and surface property testing influences outcomes in erosion studies. 2. How the combined effect of endogenous erosion and simulated toothbrushing abrasion differs when comparing the immersive to the dynamic method. 3. Whether the proposed dynamic method impacts bacterial adhesion capacity on restorative material surfaces. We hypothesize that gastric simulator results will be quantifiably different than traditional in vitro methods and propose to test this through the following experiments.

- First study: Glass-ceramic discs (n=10) will be evaluated for their surface properties (roughness, contact angle, and microhardness) and surface characterization (SEM) at three time points: baseline, within 12 hours after 96 hours of erosive aging (immersive and dynamic) in a 1% HCl acidic solution (pH 1.2), and after 1 week of storage.

- Second study: The same material and erosive protocol will be used, but for 48 hours (approximating 6 months of erosion), followed by toothbrushing abrasion in a brushing machine representing the same estimated period. The same surface properties and characterization analyses from the first study will be performed at baseline, after erosion, and after abrasion.

- Thirdy Study: To quantify bacterial adhesion, treated and untreated discs will undergo sterile saliva pellicle formation. Donor supragingival plaque (SUPP), collected under Dr. Ramsey’s IRB protocol (#24.0794), will be added in sterile saliva and incubated for 4 hours to allow for bacterial attachment. Discs will be washed in sterile PBS, submerged in bacterial lysis buffer and briefly sonicated. qPCR of isolated DNA will be used to quantify 16S bacterial rDNA for each treatment, bacteria free (-) and excess bacterial (+) controls. Statistical analyses: Data from all the three studies will be analyzed using statistical tests determined by normality and homogeneity assessments, with a significance level of 5%.

By advancing a dynamic method, this project will generate data that strengthens clinical translation, better defining how restorative materials behave in patients with gastric disorders, guide the design of a next-generation potentially patentable simulator, support larger translational and NIH-level funding efforts, and ultimately improve long-term outcomes for vulnerable patient populations. The data generated will provide the mechanical, and biological benchmarks necessary to optimize our simulator design. This will directly support the development of a more advanced, clinically realistic device. If successful, we will utilize these data to support an NIH R01 application focused on further device optimization and investigation into how acidification influences the native tooth microbiome. We will also pursue patent submission for the new simulator, as well as expansion into clinical translational studies once technological validation is complete.