Ramsey Lab Spill Response Standard Operating Procedures Fall 2024 v1.1

The purpose of this document is to provide a written record of biohazardous / chemical spill procedures in case of incident and/or exposure.

ALL laboratory personnel are required to read this document as well as take place in a one-on-one orientation with Dr. Ramsey before starting work in the lab. Additionally, all personnel are required to take basic lab safety training provided by URI each semester.

Full laboratory-approved PPE must be worn at all times during exposure to biohazardous waste. This includes a lab coat, nitrile gloves and safety approved eyewear made available by Dr. Ramsey. This also includes close-toed nonabsorbent shoes.

Biohazards Statement

This laboratory works with biosafety level 2 (BSL-2) organisms which can be infectious to personnel under certain conditions. If you are pregnant (or plan to be), immunocompromised, or have any open wounds, you must speak with a healthcare professional before starting / resuming any work in this laboratory. Work absences will be granted without question if you develop any of the above criteria. When speaking with a healthcare professional, please bring the “Ramsey Lab Biosafety Inventory” sheet which details each particular BSL-2 pathogen this lab contains. You must notify Dr. Ramsey that you have read this statement and understand these conditions before starting in the lab.

EMERGENCY CONTACT INFO:

Department of Public Safety (for spills etc): 502-852-6111

Dr. Ramsey (cell): 405-308-3115

SPILL CONTAINMENT EQUIPMENT:

A ‘Spill Kit’ is provided in a bright yellow bag immediately adjacent to the entry doorway for Rm 341. This kit contains absorbent materials and neutralizing / decontamination agents for acid, base, solvent or biological spills.

BIOLOGICAL MATERIALS SPILLS

Small Spills, defined as <100 mL in volume

In the event of a spill less than 100 mL in volume containment and cleanup can be undertaken by Ramsey Lab personnel.

- Avoid inhaling aerosols and quickly leave the room. Notify others to leave. Close the lab doors, and post “Biohazard Spill – Do Not Enter” signage if present.

- Inform Dr. Ramsey, and, if assistance is needed, call the UL Dept of Public safety 502-852-6111.

- Allow aerosols to settle for at least 20 minutes before re-entering the laboratory.

- Assemble clean-up materials (disinfectant, paper towels, sharps container, biohazard bags, forceps, and a clear plastic bag).

- Put on protective clothing (lab coat, surgical mask, safety glasses, utility gloves, and waterproof shoe covers if necessary).

- Cover the area with paper towels and carefully pour disinfectant over the spill, starting from the outside and working inward toward the center to keep from enlarging the contaminated area. Allow at least 10 minutes of contact time for proper decontamination. Fresh 10% bleach solution is our preferred disinfectant for biological spills.

- If the spill is large (but < 100 mL), a second or third round of disinfectant should be applied. Allow at least 10 minutes contact time between applications for proper decontamination.

- Pick up sharp objects with forceps and discard in a sharps container. DO NOT PICK UP SHARPS BY HAND. Carefully pick up soaked paper towels and dispose. Smaller pieces of glass may be collected with wet paper towels held with forceps. Discard in the sharps container. If used, dispose red or orange bags as biohazard waste.

- Wipe surrounding areas where the spill may have splashed with disinfectant.

- Remove contaminated lab coat, turning exposed areas inward. Spot decontaminate with a hospital grade disinfectant and swap out on the regular lab coat cycle.

- Wash exposed skin with soap and warm water.

- Wash hands and exposed skin areas with disinfectant or antiseptic soap and water and dry with clean paper towels.

Large Spills, defined as > 100 mL in volume

For spills larger than 100 mL follow these procedures:

- Evacuate the lab and post “Biohazard Spill” signage at all entrances. It may be necessary to physically block lab entrances with chairs since the doors between labs cannot be locked

- Call UL Dept of Public safety 502-852-6111 and tell them you have a large biohazard spill and need help with cleanup.

- Notify Dr. Ramsey (405-308-3115) and inform adjacent lab personnel that there is a large spill and block off entry to the spill area from their lab space if you can do so safely.

Blood or Serum Spills

If these are > 100 mL in volume follow the above procedure. If not continue instructions below.

- For blood or other material with a high organic content and low concentration of infectious microorganisms:

- Wear gloves, eye protection, and a lab coat. If there has been a lot of splatter, shoe covers may also be necessary.

- Pre-clean by absorbing blood with paper towels; place soiled towels in a biohazard bag.

- Collect any sharp objects with forceps and place in a sharps container.

- Use a 70% ethanol solution to pre-clean the spill site of visible blood. Dispose paper towels in biohazard bag.

- Carefully pour freshly made 10% household bleach over the contaminated area.

- After 10 minutes of contact time, wipe up then rinse with water.

- Discard clean-up materials and contaminated personal protective equipment (except safety glasses) in a biohazard bag and place the bag in a biohazard waste disposal box.

- Wash your hands with soap and warm water.

- Document the spill and your spill response procedures in the lab’s biosafety manual.

- Re-supply the spill kit so it is ready the next time there is an event.

- Notify Dr. Ramsey of the spill.

OCCUPATIONAL EXPOSURE

If exposure to personnel has occurred, wash the area thoroughly with soap and warm water and call UL Dept of Public safety 502-852-6111 immediately.

- If the exposure occurred through mucous membrane contact of the eye, nose, or mouth, use the eye wash to rinse the area for 15 minutes. Our eye wash station is at the back of Rm 341 and 343.

- If the exposure occurred due to accidental injection or piercing, wash the area thoroughly with soap and warm water and apply pressure behind the wound to “bleed it out”, then apply a triple antibiotic ointment and Band-Aid. These are in the “First Aid” kit in Rm 341. This location will be pointed out during your lab orientation.

- Occupational exposures require medical evaluation.

NOTE: If BL-2 material simply comes in contact with intact skin, this is called an incidental exposure. Wash the area thoroughly with soap and warm water. Medical follow-up is not required.

Spill Documentation

Large biohazard spills (> 100 mL), injuries and exposures MUST be reported to your supervisor and the UL Dept of Public safety 502-852-6111 immediately.

Document all near misses, major and minor spills in the lab’s biosafety manual. It is important to discuss with your PI, Lab Supervisor and fellow lab members the details of what happened, how and why it happened, and what was learned from the incident. Since major incidents are almost always preceded by numerous near misses, procedures should be revised and clarified to prevent similar incidents in the future

BL-2 SPILL INSIDE THE BIOSAFETY CABINET

A spill or release inside a biosafety cabinet (BSC) does not pose a risk to others in the lab or to the environment as the BSC functions to contain the spill and protect personnel in the lab from exposure. Decontaminate all material inside the BSC, including the operator’s hands and arms, any equipment located in the BSC, and the interior surfaces of the BSC itself. If the work surface of the BSC has been lined with absorbent material, clean-up will be straightforward. Simply roll the liner up so the contaminated surface is on the inside and dispose to a biohazard waste box. Close the bag.

Otherwise:

- Leave the BSC turned on.

- To keep from contaminating the area outside of the BSC, have someone else in the lab bring over a biohazard waste box and fresh PPE. Remove contaminated gloves and sleeve covers if wearing, and dispose in the biohazard waste box. Spot decontaminate the barrier coat if possible; if not, take a fresh barrier coat from the supply room.

- Put on fresh PPE before placing arms and hands back inside the cabinet.

- Wipe down reusable materials with a chemical disinfectant before removing from the BSC.

- Place disposable materials in the biohazard waste box.

- Dispose all sharps in a sharps container.

- Wipe cabinet walls, work surfaces and equipment in the BSC with an approved commercial disinfectant such as Wescodyne. Bleach is not recommended for use inside the BSC because it is highly corrosive and requires multiple rinses to remove completely.

- If you have had a large spill into the drain pan, make sure the BSC’s drain valve is closed before pouring disinfectant through the grilles into the pan. Be careful while pouring not to create splashes. Allow the disinfectant to stand for 20-30 minutes (or longer if indicated based on the material and disinfectant).

- To further ensure complete decontamination, use a funnel to empty the drain pan into a large container with additional disinfectant by attaching a hose barb and flexible tube to the drain valve; the tube should be long enough to submerge the open end in the container to minimize generation of infectious aerosols. Flush the drain pan with water and remove the drain tube. Dry the pan well with paper towels before returning to the BSC.

- Dispose liquid based on chemical constituents and pH. Sink disposal with copious amounts of water is permitted only if the pH of the solution is between pH 5-9. If it is higher or lower, apply a URI hazardous waste label to the container, include the name of the disinfectant and pH, and place the container in the lab’s Satellite Accumulation Area for disposal as hazardous chemical waste. (This is to the lower right of the sink in CBLS 380).

- Remove PPE and dispose in the biohazard waste box.

- If clothing was contaminated, remove and change into fresh clothing prior to returning to work. Spot disinfect where possible.

- Wash hands thoroughly with soap and warm water.

- If the spill flowed into the interior of the BSC, extensive decontamination requiring the services of an outside vendor may be necessary. The BSC should not be used until decontamination has been completed by Air Systems Technologies or B + V Testing.

- Contact EHS directly for guidance.

SPILL, RELEASE OR AEROSOLIZATION INSIDE A CENTRIFUGE

First:

- Do not inhale

- Close centrifuge lid

- Notify others to leave the lab

Then:

- Immediately leave the lab

- Post biohazard spill signs at lab entrances

- Notify URI Public Police Dispatch (401) 874-2121. Tell them there has been a biohazard spill in the centrifuge. Tech support will be dispatched to the site to assist with clean-up.

- Notify Dr. Ramsey (405-308-3115).

- DO NOT RE-ENTER THE LAB until PI and EHS have given clearance (at least 30 minutes to allow the aerosol to settle)

- With assistance from EHS, proceed with the clean-up.

Decontaminate

- Remove PPE, spot decontaminate where possible.

- Place disposable PPE in biohazard waste disposal box

- Wash any exposed areas with antiseptic soap and warm water

- Wash hands thoroughly

CENTRIFUGE EXPLOSION

- Evacuate the room immediately

- Notify PI and URI Police Dispatch (401) 874-2121

- Tell them there has been a centrifuge explosion. Tech support will be dispatched to the site.

SPILL OF A SOLID BIOHAZARD (contaminated plates, pipets, tubes, PPE, waste, etc.)

- Notify lab occupants.

- Put on appropriate PPE: lab coat, gloves, eye/face protection, etc. (You should already have this on!)

- Contain spilled materials.

- Collect the spilled materials with a scoop, dustpan and broom, tongs/forceps.

- Disinfect all contaminated surfaces with freshly prepared 10% bleach; allow > 10 minute contact time.

- Dispose clean-up materials in a biohazard waste disposal box. Non-disposable clean-up materials must be decontaminated and cleaned prior to reuse.

CONTAMINATED EQUIPMENT

- Place absorbent material such as paper towels, gauze, etc. on and around area of contamination and saturate with appropriate disinfectant for minimum 30 minutes.

- After decontamination, rinse equipment with water and dry.

- All equipment must be decontaminated and cleaned prior to maintenance/service or use by another.

- Complete Notice of Laboratory Equipment Decontamination form and attach to equipment.

- http://www.hawaii.edu/ehso/jabsom/Lab%20Equipment%20Decontamination.pdf