## Slide 1
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1 |  |  |  |  | 2 |  |  | 3 |  |  | 4
B |  |  |  |  |  |  |  |  |  |  |  | 
C |  |  |  |  |  |  |  |  |  |  |  | 
D |  |  |  |  |  |  |  |  |  |  |  | 
E |  |  | 5 |  |  | 6 |  |  | 7 |  |  | 8
F |  |  |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  |  |  | 
H | 9 |  |  | 10 |  |  | Neg ctrl |  |  | Buff&Sub |  | 
1. Added 60 uL buffer to wells 2-10.
2. Added 30 uL reaction volumes from reactions 1-2 to wells 1 and 2.
3. Added 30 uL substrate to wells 1 and 2.
4. Pipetted 60 uL from well 2 to well 3, then 60 uL from well 3 to well 4, and so on. Removed 60 uL from well 10 after final transfer.

## Slide 2
Reaction | Reaction Volume | Substrate | Buffer | Total
1 | 30.00 | 30.00 | 0.00 | 60
2 | 15.00 | 15.00 | 30.00 | 60
3 | 7.50 | 7.50 | 45.00 | 60
4 | 3.75 | 3.75 | 52.50 | 60
5 | 1.88 | 1.88 | 56.25 | 60
6 | 0.94 | 0.94 | 58.13 | 60
7 | 0.47 | 0.47 | 59.06 | 60
8 | 0.23 | 0.23 | 59.53 | 60
9 | 0.12 | 0.12 | 59.77 | 60
10 | 0.06 | 0.06 | 59.88 | 60

## Slide 3
Chart: Relative Luminescence of nLuc from pKR208 after Translation by NEB Kit Ribosomes
| 1 | 0.5 | 0.25 | 0.125 | 6.25E-2 | 3.125E-2 | 1.5625E-2 | 7.8125E-3 | 3.90625E-3 | 1.953125E-3
230905 Assay | 966960 | 432169 | 214093 | 106287 | 40095 | 18753 | 9245 | 4588 | 1827 | 1051
231012 Assay | 3637874 | 514839 | 245259 | 108579 | 36433 | 18261 | 9450 | 5217 | 2185 | 1154