# Lab Tasks

- Check package room daily

- Autoclave dry items: toothpicks, wooden sticks, empty tip boxes, containers of microfuge tubes, culture tubes, baffled flasks

  - Refill autoclaved tip boxes

- Prepare media (1 set CHAH-kanamycin plates, 1 set regular CHAH plates)

Each Day

- Check To Order list

- Check receiving area

- Review Lab Tasks list until very comfortable

Each Week

- Email packing slips to Christen (5/19/23)

As Needed

- Make more CHAH and CHAH-Kan plates (5/19/23)

  - Check in with Aisling about hemoglobin

- Run dry (gravity) cycle when autoclave bin is full

  - Check personal supplies

  - Refill autoclaved tip boxes

# Receiving Packages

Delivery Information

- Keep packing slips for packages delivered.

- Scan receipts with Adobe Scan app, save as “yymmdd_KRamsey_Packing_slips.pdf” and send to Christen Hodgkinson (chodgkinson7@uri.edu) at least every other week (CC Kathryn). (Next email should be soon.)

- Keep packing slips in box labeled “Receipts.” Clip them together after sending scans  and keep until Christen has confirmed receipt of the scans and then throw them away.

- Items on the “To Order” list that have been ordered but not yet delivered have a check mark.

- The loading dock is by CVS, and packages are delivered at 10:30 and 3:30.

- It is more important to check right away when cold items are delivered (to the fridge).

- Sometimes Amazon doesn’t deliver to the proper receiving area. Kathryn keeps track of these deliveries and will notify you if one has arrived.

- You can check later deliveries to the loading dock and fridge on your way out if parked in Fine Arts lot.

- Janet oversees the Supply Center. Orders should be placed by Monday afternoon and arrive by Wednesday.

Storing Supplies

- Check proper storage temperatures and label with KMR and the date.

- Chemicals must be entered into the chemical inventory list in Inventories > “KRamseyLab Chemical Inventory”. Record where it is stored, liquid/solid, CAS #, catalog number, size, and date received as month/year.

- An SDS must be present in the “SDS Information” folder on the lab computer desktop. These can be downloaded by searching the web for the catalog number.

- The chemical cabinet is alphabetized.

- Once an item has been received, you can erase it from the “To Order” list.

# Autoclaving

- Refer to the Gravity Cycle list and check levels of personal supplies:

  - Baffled flasks (125 mL, 250 mL, 500 mL)

  - Plastic 250 ml bottles with white lids

  - Toothpicks (not at every bench) and wooden sticks

  - Tip boxes

  - 1.5 mL and 2 mL tubes (container of each at every bench)

  - Glass culture tubes

  - Beads

  - 250 mL orange-capped bottles

  - black-topped bottles for hemoglobin

  - Every few months: tube racks (1.5 mL tubes)

- Autoclave tape can be reused if it has not yet been autoclaved. Keep tops loose. You can use the small autoclave bin as well as the large one if there are a lot of items.

- Backup supplies are located near cuvettes.

- Bag of extra 1.5 ml tubes is under Aisling’s desk and more can be stored on your side.

- Baffled flasks are stored above Sierra’s desk.

- Only about half of the plastic 250 ml bottles need to be autoclaved at a time.

- Glass bottles are located above Aisling’s bench.

- Glass culture tubes are not reused (some under hood, some in room 470, reorder when down to 2-3 individual boxes). Plastic caps are reused - check drying station near balance.

- Extra supplies located in room 470. When removing supplies, enter in Inventories > Room470_Inventory.

- Keep track of ordering tips. You don’t want to backorder them because they take up a lot of space and are expensive. The threshold for ordering them is when there is one box left. If only one box of 20 uL tips is left, you can wait until other tips need to be ordered, because 20 uL tips are not used as often. We have some tips without filters that can be used if no filter tips are available, but let Kathryn know before you start using these, and don’t refill many tip boxes with them.

- Can use InstantPot for quick sterilization of items with water in bottom and trivet.

- If one of the components you regularly use for your lab task is running low be sure to write it down on the whiteboard under “To Order.”

- Autoclave on Grav 20 cycle.

- Beads are stored in glass tubes above Hannah’s bench. Dirty beads are soaked in ethanol overnight, then dried and poured into nonsterile glass tubes using funnel. Put autoclave tape on glass tubes with beads before autoclaving them.

# Making Plates

- Pouring 2 ½ flasks worth of CHA plates on Friday

- You are responsible to check in with people to see what they will be needing (check Monday and Wednesday).

- Plates expire after 2 weeks, so don’t overproduce them.

- Aisling makes hemoglobin, so check with her 2-3 days in advance to ensure there will be enough and she can work it into her schedule if she needs to make more.

- You are making 24 CHAH-Kan plates and 12 regular CHAH plates. These plates usually last 1 ½ to 2 weeks, and they expire after 2 weeks.

- Use three of the 500 mL narrow mouth flasks and save the wide mouth flasks for hemoglobin.

- Use 15.3 g of the CHA mix which is made from scratch. The crystals sometimes sink to the bottom, so give it a good shake before using.

- Add stir bars (biggest that we have) to all three flasks.

- Add 150 mL of diH2O with grad cylinder. When pouring water into flask, be gentle so CHA is not on side of flask, you can also use water to wash debris to bottom.

- Stir each flask for 10 min at 60C. The stir plate on Hannah’s bench can be set to 1 for heat and 4-5 for stirring, if stir bar gets stuck give it a gentle shake or turn stir up and down. Cover the flasks with tinfoil doubled over with autoclave tape.

- Put the flasks in Instant Pot with 1 L water (can be sink water) placed away from the locking mechanism and pressure cook for 30 min. Let it depressurize on its own for about 20 min afterwards. It should automatically keep warm, so it shouldn’t solidify, but time it. 25-30 min warming is still ok, manual release if taking out before 20 min should be done slowly as the change in pressure can cause the CHA to overflow.

- Put the hemoglobin in water bath at 56C (one with 300 mL and one with 150 mL). You will need 150 mL hemoglobin for each half-flask. You want hemoglobin and CHA to be at similar temp when combining them. Move CHA flasks to water bath with orange gloves for 15-20 min.

- When taking out of water bath, spray with ethanol, because water bath is not sterile.

- Combine 150 mL of CHA and 150 mL of hemoglobin. With 150 mL hemoglobin flask, pour into CHA by flame, want to reduce bubbles so pour both bottles at an angle, then flame the top of the flask that has everything, put foil back on and put back on stir plate for a minute or so to combine.

- When pouring 300 mL of hemoglobin, pull off 150 mL in 50 mL portions with pipettor.

- If not going to actively use hemoglobin put back in water bath.

- CHA sticks to bottom, so it’s easier to pour hem into CHA.

- This media is prone to contamination.

- Add Kan to two of the CHAH flasks for Kan plates (1/10 of volume in uL, total volume is 300 mL so add 30 uL of Kan). Spray pipette down with ethanol before, then when pipetting. Kan should be found in small fridge. Add Kan by flame, put foil on, and stir for 2 min.

- Set up plates in stacks of two. Use the ser pip to take up 48 uL, then pipette 24 uL in each plate. Ser pip will drip, but don’t drip on outside of plates, keep pipette in same place so it drips in one puddle. Take new stack of two and put on top of previous two and continue until plates are height of flame. Should get 12-13 plates per flask, can pour extra plate if more than 16 mL.

- For Kan plates draw line with blue marker.

- On top of each stack write CHAH-Kan or CHAH and today’s date.

- If pipette touches outside of flask, throw out that pipette.

- Cleanup:

  - Flasks with CHA rinse out in sink and put empty flask in wash bin.

  - Rinse stir bars.

  - Once a month, bleach all the stir bars (10% bleach for 10 min) because hemoglobin tends to accumulate on the stir bars.

  - Flasks with hemoglobin need to sit overnight in Citrinox (small glug, then add water) in wash bin.

## CHA Mix

Combine the following components, making sure to break up any clumps prior to adding to the container:

75 g Beef Heart Infusion

75 g Protease Peptone

75 g Glucose

7.5 g L-Cystine

112.5 g Agar

37.5 g NaCl

Put in recycled BD container, shake well to mix, and update tape with date made.

## Hemoglobin 2% Solution

Add 6g freeze-dried hemoglobin to a 500 mL flask along with a large stir bar.

Add 300mL of ddiH2O (type I).

Place the flask on a stir plate and stir for a few minutes to dissolve the hemoglobin.

Add aluminum foil and autoclave tape to the top of the flask.

Autoclave on a 20-minute liquid cycle with water in the bin.

Cool down (ideally to ~55C – can be in water bath set to 56C) and store in 4C fridge.

Hannah

- 1 set of CHAH-kanamycin plates (media)

- 1 set of regular CHAH plates (media)

- Autoclave dry items: toothpicks, wooden sticks, empty tip boxes, containers of microfuge tubes, culture tubes, baffled flasks (cleaning)

- Refill autoclaved tip boxes (misc)

- Check package room daily (misc)

Aisling

- Close red bin (pipettes), label, and bring to loading dock (cleaning)

- Tape cardboard bin (all other waste), label, and bring to loading dock (cleaning)

- At least 2x 300 mL 2% hemoglobin in fridge (make 4x 300 mL at a time or 4x 150 mL). (media)

- Refill Type I ddiH2O carboy (misc)

- Make homemade CHA mix (media)

Sierra

- 1x 500 mL supplemented Mueller Hinton Broth, stored in fridge (expires every 2 weeks) (media)

- At least 5 mL 2.5% iron pyrophosphate, stored at RT (expires every 2 weeks) (media)

- Scrub any hemoglobin flasks in wash bin (cleaning)

- Run and unload dishwasher (cleaning)

- Autoclave plate waste, put it garbage bin (cleaning)

Oli

- 2x 500 mL LB agar, stored in cabinet indefinitely (media)

- 2x 250 mL LB media, stored in cabinet indefinitely (media)

- 2x 500 mL Mueller Hinton Broth, unsupplemented stored in cabinet indefinitely (media)

- UV-sterilize electroporation cuvettes (misc)

If you finish it, make it:

1% agarose gel

1x PBS

10% Sucrose

10% Glucose

6x loading dye

Ready-to-load DNA ladder

1x TAE for agarose gels and running buffer

75% Glycerol

85% Ethanol

LB-kan plates

End of the day tasks (for everyone!):

Bleach liquid waste containers

Empty benchtop waste containers

Put all the supplies you used away

Wipe down benchtop

***IMPORTANT: If you are planning an experiment that uses a lot of media, plates, or supplies, please let the person who is assigned that lab task know, at least three days in advance***

***Note: If one of the components you regularly use for your lab task is running low be sure to write it down on the whiteboard under “Things to Order” ***