### Nano-Glo® Luciferase Assay Protocol

- Thaw Nano-Glo® Luciferase Assay Buffer and Nano-Glo® Luciferase Assay Substrate on ice – mix by pipetting

- Prepare appropriate volume of reconstituted reagent by combining one volume of substrate with 50 volumes of buffer – mix by pipetting

  - Example: for 150 uL of reagent mix 150 uL of buffer with 3 uL of substrate

- Pipet PURExpress ribosome kit reactions into Costar 3789A plate wells

  - Separate reactions by at least 2 wells in all directions

- Add equal volume of assay substrate to reaction volume (30 uL) – mix by pipetting

- Let stand for 3 mins

- Measure luminescence using plate reader

  - Acquisition settings: select luminescence; set wavelength to all; select plate as 96 well Costar 3789A

  - Hit read

  - Export data as text file

Note: Ensure luminescence values remain within the linear range of 10^3 and 10^8