### Quantitative Western Blots with Near-Infrared dyes

Dove lab protocol from Tracy Kambara and Mike Gebhardt

URI modifications from KMRamsey 8/19/19

Updated most recently 12/2022

- Run gel (same as previous except 3 ul of bead sample and check with Hannah about recommended ladder – don’t need cut gel)

- Transfer (no total protein quantification)

- Block overnight

- 1° antibody: anti-TAP (really anti-CBP) 1:1,000 (TAP Tag Polyclonal Antibody (anti-CBP), Fisher CAB1001)

- Wash

- Reblock

- 2° antibody: 1 uL of 800CW [green channel] IRDye secondary antibody (anti-rabbit) to 10 mL wash buffer

- Arrange for imaging with Hannah / and or get trained by Janet

2 Ladders?

- BioRad and WesternSure (Hannah has never done this)

- pre-stained and magic mark (cut off prestained)

Running the gel

- Prepare 1x Loading buffer

  - 250 uL NuPage LDS sample buffer (4x, room temp)

  - 100 uL 0.5 M DTT (-20C)

  - 650 uL dH2O

- Resuspend pellet in 1x loading buffer

  - Normalize to ODs

- Heat at 98C for 10 min

- Assemble gel chamber

  - Use pre-cast NuPAGE 4-12% Bis-Tris gel (we also have 10% and 12% gels as necessary)

  - Words on cassette should face towards back of chamber

- Make running buffer – 400 mL for 1 gel, 800 mL for 2 gels

  - 1 x MOPS for large proteins

  - 1x MES for <50 kD proteins

    - 380 mL ddiH2O

    - 20 mL 20x MES

    - 1 mL NuPAGE antioxidant

  - Make sure front section is full so that gels are covered in liquid. Back section does not need to be completely full.

- Use 200 ul pipet to wash wells of gel

- Load 6-10 uL of each sample, based on linear range calculations for each antibody.

As of 2022, we use 5 ul of WesternSure ladder from LiCor which is brighter to see if you are cutting the blot (in -20C freezer). If not cutting, can use 1 uL 1:10 diluted BioRad Precision Plus Dual Color Protein Ladder (#161-0374) for the ladder (in 4C fridge).

- Run at 150V until the blue dye front reaches the bottom ridge of the gel (45 mins to 1 hour, depending on running buffer)

Wet transfer

- Make transfer buffer in a 1 L bottle.

For transferring 1 gel:

50 mL methanol

25 mL NuPAGE 20x transfer buffer

water to 500 L

For transferring 2 gels, double above.

- Store in freezer to chill until the gel has stopped running.

- When the gel has about 10 minutes remaining, begin setting up the transfer.

- Remove transfer buffer from freezer and add 0.5 mL NuPAGE antioxidant (1 mL for 2 gels)

- Activate PVDF membrane (must use Millipore Immobilon-FL #IPFL00010) in ethanol (can do in a tip box). For a full gel, cut to approximately 6 cm x 8 cm using pre-made guide.

- In a large container (9”x9” Pyrex baking dish, for example), presoak membrane, 2 filter papers cut to membrane size, and 2-3 sponges (per gel) in transfer buffer. Use a roller to push bubbles out of the sponges.

- Open gel case, cut off wells and at the bottom ridge on the gel (including any blue dye leftover) and place wet sheet of filter paper on the gel.

- Peel gel and filter paper off and place wet membrane on gel.

- Place other filter paper on membrane and roll out bubblesk

- Dunk the transfer cassette halves in the transfer buffer and begin assembling sandwich:

1 sponge

filter/membrane/gel/filter sandwich so that the membrane is on top of the gel

1 more sponge

*if sponges are old and thin, may need to use 3 total. You want the transfer apparatus to have a very tight seal, so if it doesn’t add another sponge.

- Close transfer apparatus and clamp into the gel box.

- Fill the inside chamber with transfer buffer so that it is completely full. Should use remaining transfer buffer from the Pyrex dish. Place the gel box into a large rectangular freezer bucket. Close the lid tightly, and cover the whole gel box with ice.

- Run at 20V for 1 hour.

- Complete No-Stain total protein quantification protocol now, if applicable

Blocking and probing

- Block the membrane with Li-Cor Intercept Blocking Buffer (PBS) diluted 1:5 in PBS. Use ~25 mL or enough to cover the membrane and rock for 1 hour or overnight at room temperature. DO NOT add any detergents (Surfact-Amps, Tween, SDS) to the blocking buffer.

- Store diluted blocking buffer at 4C.

Next day:

- Add antibodies (must be from two different species, such as mouse and rabbit, eg, rabbit anti-VSVG and mouse anti-sigma70) in 10 mL of blocking buffer (no detergent). Rotate for 1 hour at room temperature.

- Meanwhile, make wash buffers: (this recipe is sufficient for 3-4 blots, scale up or down accordingly)

1x Wash Buffer (500 mL)

50 mL 10X PBS

450 mL dH20

- Split into two separate bottles, 400 mL and 100 mL.

- To the 400 mL bottle, add 2 mL Surfact-Amps. This is your primary wash buffer. The remaining 100 mL will be for the final two washes after the secondary antibody, to remove traces of detergent, which may show up as background on the Li-Cor.

- Wash 4x on rotator for 10 minutes each, using 20-25 mL wash buffer per wash.

- Use 25 mL diluted blocking buffer and block again, for 15-30 min.

- Add 1 uL of each IRDye secondary antibody to 10 mL wash buffer (the one with Surfact-Amps, aka PBS-T). Also add 0.01% SDS to the wash buffer (10 uL of 10% SDS). These secondary antibodies are stored at 4C.

Note from Dove lab: use 800CW [green channel] if only detecting one protein; if detecting two proteins, use 800CW for the less abundant protein

- Label for 1 hour on rocker at room temperature. Cover the box with foil or use a black box (the secondary antibodies are light sensitive).

- Wash 4x on rotator for 10 minutes each, using 20-25 mL wash buffer per wash.

- Wash 2x on rotator for 10 minutes each, using 20-25 mL of wash buffer WITHOUT detergent.

- If faint bands are expected, do a quick methanol rinse by dunking the blot in methanol for 2 seconds then letting air dry for 2 minutes prior to imaging.

Imaging

- Leave the membrane in the box containing the final wash buffer. Bring the box, gloves, forceps, and a timer to the imager in the INBRE facility.

- For imaging, use 84 uM resolution and “high” clarity.