# Waste Disposal Protocol

Kathryn Ramsey Lab

Fall 2023

## Individual Bench Waste

- For Liquid/culture waste, add bleach to at least 10% of the total volume (can be measured by eye). Wait 10 minutes and empty into the sink.

- Tip/tube waste should be emptied into one of the metal autoclave trash bins.

## Autoclave Trash

- Autoclave trash bins (metal canisters) are lined with autoclave bags. When full, autoclave bags should be tied with a twist tie, autoclaved, and thrown into the dumpster.

## Clean Glass Waste

- The carboard glass waste box is currently located on the floor beneath the Nanodrop/Gradient Station desk.

- To set up, line a cardboard box with an autoclave bag and label the box, “Clean Non-Hazardous Glass Waste.”

- Ensure that glass is clean before placing in the glass waste. Glass used to grow cultures should be bleached with 20% bleach for 10 minutes and then emptied into the sink.

- When full, tie up the autoclave bag with a twist tie and tape up the box. Throw the box away in the dumpster.

## Serological Tube Waste

- Store serological tube waste in an autoclave bag inside of a cardboard box.

- When full, tie up the autoclave bag, autoclave, and throw into the dumpster.

## Sharps Waste Bin

- The sharps waste should contain sharp objects that cannot be cleaned (needles, microscope slides, etc.).

- When full, the entire sharps waste bin can be placed into the biohazard waste box and a new one can be ordered.

## Chemical Waste

- Hazard information can be found in the appropriate SDS documents in the Google Drive under KRamsey Lab > Inventories > SDS Information or in the SDS Information folder on the lab computer desktop.

- Specific experiments:

  - Silver stain (silver nitrate, n,n-dimethylformamine; toxic)

  - Coomassie stain (Coomassie, methanol, water; toxic)

  - Chloroform and Beta-mercaptoethanol (toxic)

  - Formaldehyde and water (oxidizer/toxic/corrosive)

  - Phenol-chloroform extractions: Ethanol, phenol, water, chloroform, ammonium acetate (ignitable/corrosive/toxic)

  - Formamide, Beta-mercaptoethanol, water, ethanol (toxic)

  - Phenol, ethanol, water (ignitable, toxic)

- When conducting RNA or phenol-chloroform extractions, there is a pre-assigned individual wash bottle. For solids, use a Ziploc bag. After the protocol is finished, dump the small wash bottle into a larger bottle, label the Ziploc bag, and fill out a Hazardous Waste Pick-Up form.

- When a container is full, fill out a Hazardous Waste Pick-Up form at https://web.uri.edu/ehs/online-pickup/.

- Hazardous Waste labels are in the chemical waste bin and more can be ordered when submitting a Hazardous Waste Pick-Up form. The procedure for filling out a hazardous/chemical waste label is as follows:

  - Building: CBLS

  - Room: 280

  - Contact: Kathryn Ramsey

  - Add chemical names for all reagents

  - Estimate the reagent concentrations/percentages and ensure they add up to 100%

  - Check boxes for hazard information (ignitable/flammable/oxidizer/corrosive/reactive/toxic/pH)