Sample Table

| tube # | form | rh123 | form | PI | expectations |
| --- | --- | --- | --- | --- | --- |
| 1 | yes | no | no | no | dead cells- no fluorescence |
| 2 | yes | no | no | yes | stains DNA - stains everything (all cells) |
| 3 | yes | yes | no | yes | should only be dead - no rh123 |
| 4 | no | yes | yes | yes | should see both rh123 and propidium (some cells that are only propidium) |

Reagents and supplies

Amber-colored 1.5 mL microfuge tubes (do not need to be sterile)

1X PBS (use filter-sterilized to minimize extracellular debris but do not need to keep sterile)

1.040 uM Rhodamine 123 (MW: 381 g/mol) dissolved in ethanol (protect from light)

- Resuspend 5 mg rhodamine 123 in 2 mL ethanol to make a 2.5 mg/mL (6561.7 uM) stock

- Aliquot 10 tubes with 15 ul of 2.5 mg/mL stock, label and store at -20°C. Label tube with remainder properly and store at -20°C also

- Make 65.6 uM stock: mix 10 uL with 990 uL ethanol

- Make 1.04 uM stock: mix 10 uL of 65.6 uM stock with 621 uL ethanol

formaldehyde solution (37% stock solution)

3 ug/mL Propidium iodide dissolved in water (protect from light)

- Resuspend 5 mg propidium iodide in 5 mL water to make a 1 mg/mL stock. Store unused 1 mg/mL stock at -20°C

- Make 3 mg/mL stock: mix 4.5 uL with 1495.5 uL water

- Make 3 ug/mL stock: mix 4.5 uL with 1495.5 uL water

Protocol

- Prepare dye stock solutions as above.

Use Bertin lab analytical scale to measure milligram quantities.

Scale up stock solutions if you can’t weigh such small masses.

- Store labeled stock solutions in a new box at -20°C, labeled “Dyes for flow cytometry”

- Prepare 4 amber-colored tubes with LVS.

Scrape up small amount of LVS cells into 400 mL 1x PBS

Resuspend cells completely by pipetting

Check OD600 by diluting 100 uL in 900 uL 1X PBS in a cuvette (blank with 1X PBS)

Calculate how much bacterial suspension is required to obtain a final OD600 of 0.03 in 1 mL

(0.03)(1000uL)/ (measured OD600  x 10) = uL

If smaller than 30 uL, dilute bacterial suspension and repeat check OD and calculations

Prepare 4 amber-colored 1.5 mL microfuge tubes with 1 mL of LVS at 0.03

- Follow protocols below for each step, adhering to plan in table above. (i.e., tubes 1-3 fixed with formaldehyde first, tube 4 stained with rhodamine first, etc)

Stain with Rhodamine

- Add 1 uL of 1.04 uM stock Rhodamine 123 to 1 mL sample

- Incubate for 15 minutes in the dark (in amber tube or covered is sufficient)

- Pellet cells by spinning at 10,000xg for 7 minutes

- Remove and discard supernant

- Add 1 mL 1x PBS, resuspend the cells by pipetting (first wash)

- Pellet cells by spinning at 10,000xg for 7 minutes

- Remove and discard supernant

- Add 1 mL 1x PBS, resuspend the cells by pipetting (second wash)

- Pellet cells by spinning at 10,000xg for 7 minutes

- Resuspend cells in 1 mL 1x PBS

Fix with formaldehyde

- Add 28 uL formaldehyde to 1 mL sample (37% stock; final concentration will be 1%) in chemical fume hood

- Incubate (with gentle rocking) for 15 minutes

*supernatant goes in hazardous waste*

- Wash twice with 1x PBS as above

- Resuspend cells in 1 mL 1x PBS

Propidium iodide

- Add 6 uL of 3 ug/mL PI to 1 mL sample

- store cells at 4°C until ready for flow cytometry