Monday, March 14, 2022

- Pull out day 21 plates

There are three stacks of plates (two circular and one square) that have green tape that say Day 21. If you could pull them out and take pictures of the plates with colonies so I can count them, it would be much appreciated.

Thursday, March 17, 2022

- Plate

It depends on what the 4C looks like. (how much growth in what columns on Monday) But I believe that flasks 1/2/3 should be serially diluted. I would double check with Dr. Ramsey but I believe this is the procedure:

Flasks #4-6 (16C) (in CBLS 2nd floor incubator on the far-right side if facing the elevator, on the bottom left shelf in the incubator directly behind the door)

- Before heading over I put ~20 beads on each of the circular plates. (should be 6 total)

- I bring over the 1000ul pipette, pipette tips, a paper towel, ethanol, waste bag, and the plates. I grab the flasks on the second floor then the bench top for the undergrads in MRamseys/Nelsons lab on the third floor.

- Swirl the flask before pipetting for ~10 seconds.

- Pipette 300 ul onto the plate. There should be two plates for each flask.

- Shake in all directions after plating.

- Continue with the rest of the plates.

- Bring them back over to our lab let sit on the bench while starting #7-9. I do this because it takes awhile for the liquid to be absorbed into the media.

- Once absorbed put the beads into the 50mL conical.

Flasks #7-9 (in the 25C room)

- Same situation at the 16C

- Place ~20 beads onto 6 circular plates.

- Swirl the flask before pipetting for ~10 seconds.

- Pipette 300 ul onto the plate. There should be two plates for each flask. (6 total)

- Shake in all directions after plating.

- Continue with the rest of the plates.

- Let sit for a few minutes to ensure the liquid is absorbed.

- Once absorbed put the beads into the 50mL conical.

Flasks #1-3 (in the 4C room)

- Prepare 96 well plate, freshwater samples, square CHAH plate, and 1xPBS

- Test plate to see if it is dry enough by pipetting 10 uL of freshwater and watching it drip.

- 2 plates for each flask, 6 total.

- Pipette 180 uL of 1 x PBS into wells row B1/2-G1/2.

- Pipette 200 uL from one flask into row A1/2.

Swirled before pipetting for about ~10 seconds each.

- Using the multichannel pipette, pipette 20 uL from A into B. Mix 150 uL of the volume three times.

- Repeat step 9 for B to C, C to D. hint = say it out loud so you don’t lose your place.

  - Change the tip each time!

- Use the less volume multichannel pipette set to 10 uL and change the orientation of the plate to vertical before starting the dripping process.

- Pipette 10 ul from A1-G1 onto the plate, letting each drip down the plate to between ½ to ¾ down the plate.

Remember to stay within the 6 inches of the flame, don’t put the handle of the multichannel pipette to the flame, have the plates at roughly a 45-degree angle, and place to dry in between two pipette boxes at the same angle.