### RT-PCR Protocol

Each experiment will need at least one test primer and one control primer for all samples.

Example:	8 DNA samples per plate

Using four primer pairs = 32 different reactions

Each different reaction type must be run in triplicate on the real-time plate

Example:  32 reactions =  96 wells

Each Individual reaction = 20 µL

10 µL PowerUp SYBR Green Master Mix

1 µL 5uM combined forward and reverse primer

1 µL diluted DNA

8 µL ddiH2O

The use of master mixes increases the consistency between samples; therefore follow the method below for setting up the plate

For each reaction type (primer/DNA combination) set up a master mix equal to 3.5 reactions:

- Dilute your DNA to approximately 1.5 ng/uL (or appropriate concentration)

- Put 3.5µL of DNA type into strip tubes (total number of reaction, 32 total)

- To determine the amount of each primer master mix to create, identify the number of reactions for each primer pair (i.e. #DNA samples x 3.5) and add 3.5 to this number to account for additional pipetting error

Example: 8 DNA samples per primer pair = 8 x 3.5 + 3.5 = 31.5

- Set up primer master mixes in separate 1.5 mL tubes (make one for each primer pair, 3 total)

Example:

10 µL PowerUp SYBR Green Master Mix		x 31.5   =  315.0 µL

1 µL 5µM combined F and R primer		x 31.5    =    31.5 µL

8 µL ddiH2O					x 31.5    =  252.0 µL

TOTAL =  598.5 µL

- Add primer master mix to tubes containing DNA.

3.5 reactions x 20 µL volume = 70 µL.

DNA tubes already have 3.5µL of DNA.

Add 66.5 µL of primer master mix to each tube

- Pipette 20 µL of each reaction into 3 separate wells on the 96 well plate using dispense option on multichannel

- Spin plate down

- Place in real-time machine and run using the same program used to determine that the primers are appropriately efficient.

For simplicity, the primer sets are numbered A-D and the DNA samples 1-6

| Primer Set # | Primers | Gene amplified |
| --- | --- | --- |
| A | KROL339, 340 | rpsU1 |
| B | KROL343, 344 | rpsU2 |
| C | KROL347, 348 | rpsU3 |
| D | KROL63, 64 | tul4 |

| DNA Tube | Sample |
| --- | --- |
| 1 | LVS + pF 1 |
| 2 | LVS + pF 2 |
| 3 | LVS + pF 3 |
| 4 | drpsU2 + pF 1 |
| 5 | drpsU2 + pF 2 |
| 6 | drpsU2 + pF 3 |
| 7 | drpsU2 + pF-rpsU1 1 |
| 8 | drpsU2 + pF-rpsU1 2 |

| 1A | Rep2 | Rep3 | 2A | Rep2 | Rep3 | 3A | Rep2 | Rep3 | 4A | Rep2 | Rep3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1B |  |  | 2B |  |  | 3B |  |  | 4B |  |  |
| 1C |  |  | 2C |  |  | 3C |  |  | 4C |  |  |
| 1D |  |  | 2D |  |  | 3D |  |  | 4D |  |  |
| 5A | Rep2 | Rep3 | 6A | Rep2 | Rep3 | 7A | Rep2 | Rep3 | 8A | Rep2 | Rep3 |
| 5B |  |  | 6B |  |  | 7B |  |  | 8B |  |  |
| 5C |  |  | 6C |  |  | 7C |  |  | 8C |  |  |
| 5D |  |  | 6D |  |  | 7D |  |  | 8D |  |  |

| Sample | Concentration (ng/uL) | Amount sample to Add | Amount 0.1x EB to add |
| --- | --- | --- | --- |
| 1 | 32.92 | 1.82 | 38.18 |
| 2 | 34.55 | 1.74 | 38.26 |
| 3 | 32.95 | 1.82 | 38.18 |
| 4 | 26.81 | 2.24 | 37.76 |
| 5 | 31.52 | 1.90 | 38.10 |
| 6 | 29.6 | 2.03 | 37.97 |
| 7 | 24.51 | 2.45 | 37.55 |
| 8 | 26.65 | 2.25 | 37.75 |
| 9 | 38.18 | 1.57 | 38.43 |
| 10 | 30.22 | 1.99 | 38.01 |
| 11 | 37.68 | 1.59 | 38.41 |
| 12 | 37.97 | 1.58 | 38.42 |
| 13 | 29.55 | 2.03 | 37.97 |
| 14 | 27.98 | 2.14 | 37.86 |
| 15 | 18.2 | 3.30 | 36.70 |