## 210826_HT_gradients_lvs
FlowCell Text Data File: 210826_HT_gradients_lvs.csv
Software Version: 1.56A
Date: 2021-08-26
Time: 13:15:57
User: KRamsey
Experiment name: 210826_HT_overexpressions
*** CENTRIFUGE SETTINGS ***
Rotor Manufacturer: Beckman
Rotor Model: SW40Ti
Speed: 40 rpm
Gradient: sucrose 10.0% to 50.0% v/v
Time: 150 minutes
w2t: x 10^0
Number of Tubes: 4
Sample Volume: .2 ml
Temperature: 4.0 deg C
*** FRACTIONATION SETTINGS ***
Volume displaced/mm: 0.143 ml/mm
Tubing length: 290 mm
Total Dead Volume (= last fraction): 0.299 ml
Scan Speed: 0.20 mm/sec
Total Distance: 84.6 mm
Upper Limit to Slow-down Distance: 37.50 mm
Start mode: Slow-down distance
Fail-safe Distance (M): 0 mm
Number of fractions: 28
Distance/fraction: 3.02 mm
Start Distance: 0.00 mm
Volume/fraction: 0.431 ml
Data Samples/mm: 10.00
*** SCANNING SETTINGS ***
Scanning mode: SINGLE UV OD
Channel A (LED1) Wavelength: 260 nm
Sensitivity: 0
Integration time: 500 ms
Averaging: 1 samples
LED1 (260 nm) On Time: 8 ms
Sample A Zero: 836133
Source A Zero: 131865.5
Data Columns:
Sample | Source | Position(mm) | Absorbance | Fraction Number | Fraction Volume(ml)
647823 | 131758 | 0 | 0.57241
647574 | 131757 | 0.14 | 0.57326
647217 | 131759 | 0.25 | 0.57453
647591 | 131739 | 0.35 | 0.57289
647968 | 131743 | 0.45 | 0.57165
644479 | 131736 | 0.54 | 0.58368
642023 | 131724 | 0.64 | 0.59207
617600 | 131707 | 0.74 | 0.67906
234366 | 131607 | 0.84 | 2.8579
247831 | 131608 | 0.94 | 2.7322
248915 | 131616 | 1.04 | 2.7225
246770 | 131646 | 1.14 | 2.7425
246342 | 131654 | 1.24 | 2.7466
245245 | 131662 | 1.34 | 2.7568
244333 | 131640 | 1.44 | 2.7648
243371 | 131640 | 1.54 | 2.7736
242646 | 131646 | 1.64 | 2.7805
241991 | 131655 | 1.74 | 2.7867
241721 | 131663 | 1.84 | 2.7893
240932 | 131681 | 1.94 | 2.797
241065 | 131736 | 2.04 | 2.7967
240876 | 131762 | 2.14 | 2.7989
240473 | 131692 | 2.24 | 2.8015
240344 | 131736 | 2.34 | 2.8034
240125 | 131694 | 2.44 | 2.8048
238895 | 131661 | 2.54 | 2.8158
239928 | 131676 | 2.64 | 2.8063
239171 | 131664 | 2.74 | 2.8132
238707 | 131675 | 2.83 | 2.8178
237407 | 131690 | 2.93 | 2.8303
236142 | 131565 | 3.04 | 2.8402 | 1 | 0.426
235105 | 131576 | 3.14 | 2.8503
234335 | 131568 | 3.23 | 2.8576
234378 | 131576 | 3.33 | 2.8573
235708 | 131599 | 3.43 | 2.8449
238900 | 131602 | 3.53 | 2.8147
244001 | 131623 | 3.63 | 2.7675
251249 | 131583 | 3.73 | 2.701
260292 | 131593 | 3.83 | 2.6216
270812 | 131623 | 3.93 | 2.5329
282402 | 131631 | 4.03 | 2.4387
293593 | 131578 | 4.13 | 2.3504
305864 | 131611 | 4.23 | 2.2588
318336 | 131599 | 4.33 | 2.1686
331507 | 131670 | 4.43 | 2.0786
344333 | 131669 | 4.53 | 1.9932
357258 | 131643 | 4.63 | 1.9098
370401 | 131608 | 4.74 | 1.8279
382648 | 131657 | 4.84 | 1.7555
395798 | 131636 | 4.94 | 1.6791
408469 | 131698 | 5.04 | 1.6093
421231 | 131681 | 5.14 | 1.5398
432435 | 131620 | 5.24 | 1.4796
445926 | 131647 | 5.34 | 1.411
458590 | 131615 | 5.44 | 1.3474
469852 | 131668 | 5.54 | 1.2937
484935 | 131633 | 5.63 | 1.222
498696 | 131586 | 5.74 | 1.1582
512101 | 131631 | 5.83 | 1.0993
526409 | 131711 | 5.93 | 1.0387
538935 | 131651 | 6.03 | 0.98471
553818 | 131656 | 6.13 | 0.92349 | 2 | 0.442
566677 | 131650 | 6.23 | 0.87174
579905 | 131689 | 6.33 | 0.82047
592043 | 131706 | 6.43 | 0.77415
605539 | 131663 | 6.53 | 0.72269
616828 | 131727 | 6.63 | 0.68221
629630 | 131768 | 6.73 | 0.63668
641061 | 131774 | 6.83 | 0.5963
651661 | 131759 | 6.93 | 0.55913
660779 | 131720 | 7.03 | 0.5272
669822 | 131731 | 7.13 | 0.4968
678920 | 131769 | 7.23 | 0.46708
686143 | 131713 | 7.33 | 0.44231
693988 | 131819 | 7.43 | 0.41854
700686 | 131815 | 7.53 | 0.39685
707605 | 131837 | 7.63 | 0.37512
713549 | 131755 | 7.73 | 0.35489
718577 | 131742 | 7.84 | 0.33887
723195 | 131697 | 7.94 | 0.32368
726941 | 131693 | 8.04 | 0.31199
730697 | 131706 | 8.14 | 0.30061
734958 | 131781 | 8.24 | 0.28881
738024 | 131831 | 8.34 | 0.28029
740659 | 131838 | 8.44 | 0.27239
743306 | 131827 | 8.54 | 0.26417
745621 | 131822 | 8.64 | 0.25709
747593 | 131796 | 8.74 | 0.2507
749496 | 131774 | 8.84 | 0.24461
751768 | 131850 | 8.94 | 0.23909
753695 | 131825 | 9.04 | 0.23291
755679 | 131828 | 9.14 | 0.22704 | 3 | 0.429
756854 | 131784 | 9.24 | 0.22279
759026 | 131834 | 9.34 | 0.2172
761146 | 131895 | 9.44 | 0.21196
762540 | 131866 | 9.54 | 0.20735
764122 | 131875 | 9.64 | 0.20284
766260 | 131945 | 9.74 | 0.19774
768100 | 131973 | 9.83 | 0.19282
770032 | 132033 | 9.94 | 0.18819
771414 | 132063 | 10.03 | 0.18467
770225 | 131930 | 10.14 | 0.18587
773415 | 131868 | 10.24 | 0.17551
775009 | 131903 | 10.33 | 0.17148
776917 | 131955 | 10.43 | 0.16683
778341 | 131922 | 10.53 | 0.16215
780612 | 131980 | 10.63 | 0.15658
782423 | 131951 | 10.74 | 0.15087
784077 | 131956 | 10.85 | 0.1462
785625 | 131910 | 10.95 | 0.14098
787489 | 131929 | 11.05 | 0.13597
789027 | 131906 | 11.15 | 0.13119
790113 | 131934 | 11.25 | 0.12857
791227 | 131937 | 11.35 | 0.12545
793442 | 131938 | 11.45 | 0.11918
795224 | 131932 | 11.55 | 0.11403
796985 | 131970 | 11.65 | 0.1097
798711 | 131979 | 11.75 | 0.10498
799899 | 132023 | 11.85 | 0.10239
801193 | 132039 | 11.95 | 0.099022
802318 | 132035 | 12.04 | 0.095796
803833 | 132057 | 12.15 | 0.091925 | 4 | 0.429
804595 | 132032 | 12.24 | 0.089367
805937 | 132027 | 12.35 | 0.085531
806373 | 132046 | 12.44 | 0.084638
807411 | 132049 | 12.54 | 0.081794
808097 | 132033 | 12.64 | 0.07961
808786 | 132036 | 12.74 | 0.077743
809340 | 132010 | 12.84 | 0.075759
809939 | 132022 | 12.94 | 0.074299
810738 | 132026 | 13.04 | 0.072148
811689 | 132098 | 13.14 | 0.070737
812500 | 132145 | 13.24 | 0.06929
812571 | 132120 | 13.34 | 0.068667
812613 | 132037 | 13.44 | 0.067137
813180 | 132093 | 13.54 | 0.066521
813830 | 132077 | 13.64 | 0.064451
813903 | 132063 | 13.74 | 0.06401
814671 | 132130 | 13.85 | 0.063029
814441 | 132080 | 13.95 | 0.062813
814588 | 132043 | 14.05 | 0.061776
814685 | 132069 | 14.15 | 0.061951
814782 | 132124 | 14.25 | 0.06262
814492 | 132122 | 14.35 | 0.063387
815142 | 132141 | 14.45 | 0.061916
814983 | 132099 | 14.55 | 0.061639
814706 | 132042 | 14.65 | 0.061433
814682 | 132130 | 14.75 | 0.062999
814450 | 132150 | 14.85 | 0.06398
814307 | 132117 | 14.95 | 0.063813
813725 | 132067 | 15.05 | 0.064571
813402 | 132152 | 15.15 | 0.066912 | 5 | 0.428
812945 | 132155 | 15.25 | 0.068228
812441 | 132156 | 15.35 | 0.06964
811545 | 132138 | 15.45 | 0.071817
811263 | 132179 | 15.54 | 0.073297
810468 | 132203 | 15.64 | 0.075912
809399 | 132203 | 15.74 | 0.078883
808033 | 132195 | 15.84 | 0.082548
806795 | 132167 | 15.94 | 0.085522
805288 | 132175 | 16.04 | 0.089865
804322 | 132189 | 16.14 | 0.092805
802779 | 132191 | 16.24 | 0.09716
801123 | 132085 | 16.34 | 0.1
799751 | 132126 | 16.44 | 0.10456
799474 | 132208 | 16.54 | 0.10673
798470 | 132199 | 16.64 | 0.10941
797273 | 132168 | 16.74 | 0.11226
796757 | 132174 | 16.85 | 0.11382
796366 | 132188 | 16.95 | 0.11516
796366 | 132265 | 17.05 | 0.11647
796069 | 132246 | 17.15 | 0.11699
795718 | 132221 | 17.25 | 0.11755
795509 | 132185 | 17.35 | 0.11753
795868 | 132185 | 17.45 | 0.11652
796206 | 132262 | 17.55 | 0.11687
796716 | 132312 | 17.65 | 0.11628
797383 | 132336 | 17.75 | 0.11481
797962 | 132359 | 17.85 | 0.11356
798377 | 132365 | 17.95 | 0.11249
798869 | 132298 | 18.05 | 0.10997
799389 | 132306 | 18.15 | 0.10864 | 6 | 0.428
800177 | 132315 | 18.25 | 0.10658
801015 | 132320 | 18.35 | 0.10431
802458 | 132393 | 18.45 | 0.1015
802786 | 132315 | 18.55 | 0.099251
804079 | 132360 | 18.65 | 0.096394
805211 | 132393 | 18.75 | 0.093789
806576 | 132397 | 18.85 | 0.090045
807490 | 132358 | 18.95 | 0.086834
808619 | 132344 | 19.04 | 0.083451
809159 | 132240 | 19.14 | 0.08018
810877 | 132318 | 19.24 | 0.076734
811901 | 132297 | 19.34 | 0.073537
813662 | 132403 | 19.44 | 0.070463
815009 | 132438 | 19.54 | 0.067335
815848 | 132413 | 19.64 | 0.064595
816534 | 132365 | 19.75 | 0.061888
817822 | 132438 | 19.86 | 0.059581
818890 | 132477 | 19.96 | 0.057307
819462 | 132456 | 20.06 | 0.055379
819865 | 132453 | 20.16 | 0.054221
818575 | 132455 | 20.25 | 0.057799
821393 | 132496 | 20.35 | 0.050762
821953 | 132550 | 20.45 | 0.050145
822496 | 132549 | 20.55 | 0.048642
822883 | 132555 | 20.65 | 0.047685
823014 | 132539 | 20.75 | 0.047055
823177 | 132534 | 20.85 | 0.046525
823491 | 132544 | 20.95 | 0.045836
823421 | 132522 | 21.05 | 0.045654
823259 | 132501 | 21.15 | 0.04574 | 7 | 0.428
823540 | 132522 | 21.25 | 0.045329
823313 | 132488 | 21.35 | 0.045372
823141 | 132472 | 21.45 | 0.04557
822614 | 132449 | 21.55 | 0.04662
822933 | 132503 | 21.65 | 0.046665
822021 | 132399 | 21.75 | 0.047394
822278 | 132465 | 21.85 | 0.047812
822166 | 132520 | 21.95 | 0.049052
822187 | 132556 | 22.05 | 0.049606
822090 | 132625 | 22.15 | 0.051043
821598 | 132597 | 22.25 | 0.051915
820985 | 132549 | 22.35 | 0.05278
820275 | 132545 | 22.45 | 0.054659
820141 | 132601 | 22.54 | 0.055977
819174 | 132534 | 22.64 | 0.057495
818565 | 132572 | 22.75 | 0.059814
817666 | 132531 | 22.86 | 0.06159
816773 | 132554 | 22.96 | 0.06444
815905 | 132581 | 23.06 | 0.067291
815502 | 132671 | 23.16 | 0.06993
814019 | 132700 | 23.26 | 0.074518
812397 | 132688 | 23.36 | 0.078803
810535 | 132685 | 23.46 | 0.083916
808110 | 132680 | 23.55 | 0.090575
805590 | 132690 | 23.65 | 0.097773
803265 | 132704 | 23.75 | 0.10451
799516 | 132640 | 23.85 | 0.11396
796186 | 132611 | 23.95 | 0.12286
792959 | 132622 | 24.05 | 0.13218
789928 | 132617 | 24.15 | 0.14072
787343 | 132633 | 24.25 | 0.14837 | 8 | 0.443
783143 | 132539 | 24.35 | 0.15881
780389 | 132497 | 24.45 | 0.16602
778893 | 132558 | 24.55 | 0.17138
776546 | 132623 | 24.65 | 0.17927
773780 | 132651 | 24.75 | 0.18777
771882 | 132669 | 24.85 | 0.19361
769930 | 132629 | 24.95 | 0.19863
768207 | 132646 | 25.05 | 0.20396
766794 | 132651 | 25.15 | 0.20819
765238 | 132620 | 25.25 | 0.21223
764127 | 132659 | 25.35 | 0.21616
763415 | 132685 | 25.45 | 0.2187
761996 | 132674 | 25.55 | 0.2227
761991 | 132668 | 25.65 | 0.22261
761388 | 132643 | 25.75 | 0.22397
761045 | 132600 | 25.85 | 0.22426
761367 | 132635 | 25.96 | 0.2239
761969 | 132642 | 26.06 | 0.22224
762591 | 132655 | 26.16 | 0.22062
763394 | 132648 | 26.26 | 0.21813
765127 | 132709 | 26.36 | 0.21407
766360 | 132669 | 26.46 | 0.20977
768265 | 132736 | 26.56 | 0.20531
770222 | 132756 | 26.66 | 0.19993
772102 | 132750 | 26.76 | 0.19434
774256 | 132780 | 26.86 | 0.18858
776004 | 132745 | 26.95 | 0.18291
778023 | 132737 | 27.05 | 0.17693
780335 | 132786 | 27.15 | 0.17108
782514 | 132819 | 27.25 | 0.16536 | 9 | 0.428
783918 | 132744 | 27.35 | 0.16006
785748 | 132765 | 27.45 | 0.15517
787622 | 132809 | 27.55 | 0.15055
789549 | 132837 | 27.65 | 0.14553
790953 | 132818 | 27.75 | 0.14121
792327 | 132797 | 27.85 | 0.13695
793566 | 132777 | 27.95 | 0.13309
794999 | 132842 | 28.05 | 0.13013
795999 | 132842 | 28.15 | 0.1273
797011 | 132872 | 28.25 | 0.12495
798283 | 132920 | 28.35 | 0.12218
798723 | 132895 | 28.45 | 0.12051
799416 | 132896 | 28.55 | 0.11858
800192 | 132930 | 28.65 | 0.11697
800409 | 132895 | 28.75 | 0.11577
800679 | 132901 | 28.85 | 0.11511
801096 | 132957 | 28.96 | 0.11489
801059 | 132962 | 29.06 | 0.11507
801020 | 132961 | 29.16 | 0.11517
800631 | 132923 | 29.26 | 0.11562
800315 | 132940 | 29.36 | 0.11679
799889 | 132886 | 29.46 | 0.11708
799359 | 132914 | 29.56 | 0.11904
798104 | 132821 | 29.66 | 0.121
797444 | 132816 | 29.76 | 0.12278
797148 | 132888 | 29.86 | 0.12484
796223 | 132886 | 29.96 | 0.12742
795000 | 132861 | 30.06 | 0.13045
794207 | 132912 | 30.16 | 0.13356
793207 | 132962 | 30.26 | 0.13724 | 10 | 0.429
791772 | 132959 | 30.36 | 0.14127
790027 | 132944 | 30.46 | 0.14598
788620 | 132979 | 30.56 | 0.15058
786683 | 132953 | 30.66 | 0.15568
785176 | 133044 | 30.76 | 0.16153
782675 | 132999 | 30.86 | 0.16795
779584 | 132864 | 30.96 | 0.17457
776795 | 132865 | 31.06 | 0.18265
773701 | 132831 | 31.15 | 0.19106
769382 | 132861 | 31.25 | 0.20416
767758 | 132952 | 31.35 | 0.21046
764272 | 133004 | 31.45 | 0.22158
759981 | 133019 | 31.55 | 0.2345
755443 | 133001 | 31.65 | 0.24768
750954 | 133068 | 31.75 | 0.26222
745009 | 133013 | 31.86 | 0.27918
739749 | 132926 | 31.97 | 0.29365
734556 | 132915 | 32.06 | 0.30932
729569 | 133005 | 32.17 | 0.32617
724434 | 133010 | 32.27 | 0.34215
720121 | 133034 | 32.36 | 0.356
715032 | 132999 | 32.46 | 0.37137
710482 | 133010 | 32.56 | 0.38592
706966 | 133035 | 32.66 | 0.39751
703316 | 133013 | 32.76 | 0.40878
700496 | 133032 | 32.86 | 0.41815
697684 | 132998 | 32.96 | 0.42662
696193 | 133065 | 33.06 | 0.43257
694258 | 133053 | 33.16 | 0.43863
693494 | 133089 | 33.26 | 0.44172 | 11 | 0.428
692490 | 133097 | 33.36 | 0.44511
692056 | 133123 | 33.46 | 0.44696
691643 | 133104 | 33.56 | 0.44799
691999 | 133137 | 33.66 | 0.44739
692644 | 133138 | 33.76 | 0.44531
693604 | 133152 | 33.86 | 0.44243
694347 | 133131 | 33.96 | 0.43966
695755 | 133104 | 34.06 | 0.43465
697680 | 133039 | 34.16 | 0.42733
700526 | 133067 | 34.26 | 0.41864
703316 | 133109 | 34.36 | 0.41041
706364 | 133144 | 34.46 | 0.40127
709548 | 133157 | 34.56 | 0.39137
713191 | 133147 | 34.66 | 0.37967
717686 | 133130 | 34.76 | 0.36524
722011 | 133120 | 34.87 | 0.35155
726257 | 133113 | 34.97 | 0.33824
730786 | 133084 | 35.07 | 0.32376
735498 | 133093 | 35.17 | 0.30945
740549 | 133150 | 35.27 | 0.29501
745142 | 133113 | 35.37 | 0.28047
750082 | 133171 | 35.47 | 0.26658
754460 | 133189 | 35.57 | 0.25379
758264 | 133159 | 35.67 | 0.24196
762260 | 133144 | 35.77 | 0.22988
766229 | 133167 | 35.87 | 0.21858
770022 | 133187 | 35.97 | 0.20781
773274 | 133182 | 36.07 | 0.19824
776716 | 133192 | 36.17 | 0.18841
780065 | 133190 | 36.27 | 0.1787 | 12 | 0.428
783262 | 133219 | 36.37 | 0.16998
785821 | 133190 | 36.47 | 0.16215
788291 | 133200 | 36.56 | 0.15526
790595 | 133218 | 36.66 | 0.14899
792630 | 133236 | 36.76 | 0.14351
794785 | 133226 | 36.86 | 0.13723
796575 | 133206 | 36.96 | 0.13183
798388 | 133255 | 37.06 | 0.12754
800026 | 133245 | 37.16 | 0.12276
801556 | 133225 | 37.26 | 0.11813
803047 | 133226 | 37.36 | 0.11396
804300 | 133219 | 37.46 | 0.11033
805172 | 133221 | 37.56 | 0.10793
806300 | 133209 | 37.66 | 0.10458
807128 | 133146 | 37.76 | 0.1012
808194 | 133166 | 37.87 | 0.098569
809354 | 133241 | 37.98 | 0.096608
810975 | 133333 | 38.08 | 0.093659
811599 | 133332 | 38.18 | 0.091911
812231 | 133322 | 38.27 | 0.089991
812755 | 133317 | 38.37 | 0.088455
813652 | 133343 | 38.47 | 0.086411
813955 | 133310 | 38.57 | 0.085016
814817 | 133392 | 38.67 | 0.084018
815398 | 133394 | 38.77 | 0.082448
815825 | 133389 | 38.87 | 0.081185
816483 | 133408 | 38.97 | 0.079692
816433 | 133358 | 39.07 | 0.078986
817094 | 133397 | 39.17 | 0.077823
817502 | 133396 | 39.27 | 0.076682
818324 | 133454 | 39.37 | 0.075399 | 13 | 0.442
818501 | 133440 | 39.47 | 0.074676
818986 | 133461 | 39.57 | 0.073697
819294 | 133460 | 39.67 | 0.072834
819339 | 133392 | 39.77 | 0.071563
820123 | 133491 | 39.87 | 0.071081
820639 | 133524 | 39.97 | 0.070222
820618 | 133462 | 40.07 | 0.069234
820975 | 133456 | 40.17 | 0.068154
821081 | 133432 | 40.27 | 0.067459
821786 | 133492 | 40.37 | 0.066539
822338 | 133580 | 40.47 | 0.066511
822176 | 133482 | 40.56 | 0.065303
822109 | 133477 | 40.67 | 0.065402
822517 | 133478 | 40.76 | 0.064302
822719 | 133457 | 40.86 | 0.063395
823112 | 133477 | 40.98 | 0.062658
823406 | 133516 | 41.08 | 0.062511
823404 | 133507 | 41.18 | 0.062365
823424 | 133461 | 41.28 | 0.061535
823463 | 133450 | 41.38 | 0.061243
823139 | 133363 | 41.48 | 0.060661
823176 | 133364 | 41.58 | 0.060577
823583 | 133391 | 41.68 | 0.05992
823194 | 133336 | 41.78 | 0.060055
823943 | 133423 | 41.88 | 0.059476
823453 | 133342 | 41.98 | 0.059448
823495 | 133330 | 42.08 | 0.059131
823875 | 133385 | 42.17 | 0.059021
824498 | 133468 | 42.27 | 0.05872
824339 | 133445 | 42.37 | 0.058766 | 14 | 0.429
824630 | 133503 | 42.47 | 0.05895
824539 | 133491 | 42.57 | 0.058996
823839 | 133379 | 42.67 | 0.059018
823993 | 133418 | 42.77 | 0.059255
824076 | 133429 | 42.87 | 0.059214
823921 | 133418 | 42.97 | 0.059452
823405 | 133321 | 43.07 | 0.059225
823947 | 133397 | 43.17 | 0.059027
823847 | 133390 | 43.27 | 0.059182
823835 | 133411 | 43.37 | 0.059569
823903 | 133425 | 43.47 | 0.059619
823951 | 133400 | 43.57 | 0.059066
823499 | 133396 | 43.67 | 0.060234
823568 | 133423 | 43.77 | 0.060501
823533 | 133407 | 43.87 | 0.060326
823067 | 133359 | 43.98 | 0.06079
823461 | 133445 | 44.08 | 0.061164
823109 | 133411 | 44.18 | 0.061553
823133 | 133473 | 44.28 | 0.062533
822487 | 133454 | 44.38 | 0.063979
822439 | 133495 | 44.48 | 0.064802
821658 | 133455 | 44.58 | 0.066266
821229 | 133461 | 44.68 | 0.067542
820481 | 133464 | 44.78 | 0.069643
819680 | 133414 | 44.88 | 0.070998
819065 | 133443 | 44.98 | 0.073176
818364 | 133460 | 45.08 | 0.07539
818161 | 133566 | 45.18 | 0.077735
816968 | 133544 | 45.28 | 0.080648
815376 | 133473 | 45.38 | 0.083841 | 15 | 0.428
814756 | 133523 | 45.48 | 0.086396
813406 | 133526 | 45.58 | 0.090178
812410 | 133536 | 45.68 | 0.093104
811905 | 133649 | 45.78 | 0.096407
810442 | 133598 | 45.88 | 0.099607
808882 | 133528 | 45.98 | 0.10276
807974 | 133540 | 46.07 | 0.10549
806267 | 133508 | 46.18 | 0.10971
804837 | 133419 | 46.28 | 0.11221
804029 | 133460 | 46.37 | 0.11516
803053 | 133473 | 46.48 | 0.11811
802189 | 133473 | 46.57 | 0.12054
801757 | 133503 | 46.67 | 0.12225
800602 | 133473 | 46.77 | 0.12499
800284 | 133530 | 46.87 | 0.12685
800250 | 133575 | 46.98 | 0.1277
799467 | 133545 | 47.09 | 0.1294
799351 | 133547 | 47.19 | 0.12976
799348 | 133583 | 47.29 | 0.13037
799523 | 133592 | 47.39 | 0.13003
799514 | 133585 | 47.49 | 0.12994
799676 | 133556 | 47.59 | 0.12899
799771 | 133509 | 47.69 | 0.12793
800664 | 133540 | 47.78 | 0.12595
801373 | 133552 | 47.89 | 0.12416
802145 | 133547 | 47.99 | 0.1219
802974 | 133523 | 48.08 | 0.11918
803813 | 133513 | 48.18 | 0.11666
805101 | 133561 | 48.28 | 0.11386
806290 | 133574 | 48.38 | 0.11076 | 16 | 0.429
807423 | 133574 | 48.48 | 0.1076
808898 | 133609 | 48.58 | 0.10408
809664 | 133541 | 48.68 | 0.10081
810994 | 133542 | 48.78 | 0.097131
812489 | 133583 | 48.88 | 0.093677
813343 | 133539 | 48.98 | 0.090572
814630 | 133546 | 49.08 | 0.087131
816117 | 133600 | 49.18 | 0.083937
816858 | 133550 | 49.28 | 0.081052
817754 | 133551 | 49.38 | 0.078602
819003 | 133550 | 49.48 | 0.075151
819916 | 133568 | 49.58 | 0.072947
821114 | 133597 | 49.68 | 0.070149
821447 | 133536 | 49.78 | 0.068209
822700 | 133593 | 49.88 | 0.065739
823874 | 133695 | 49.99 | 0.064248
824577 | 133735 | 50.09 | 0.063002
824701 | 133653 | 50.19 | 0.061283
825158 | 133656 | 50.29 | 0.060087
825331 | 133621 | 50.39 | 0.059026
825620 | 133627 | 50.49 | 0.058339
826260 | 133674 | 50.59 | 0.057386
826636 | 133698 | 50.69 | 0.056766
826579 | 133620 | 50.79 | 0.055608
826424 | 133554 | 50.89 | 0.054919
826857 | 133588 | 50.99 | 0.054313
826785 | 133575 | 51.09 | 0.05429
827817 | 133691 | 51.19 | 0.053436
827817 | 133684 | 51.29 | 0.053318
828142 | 133702 | 51.39 | 0.052738 | 17 | 0.428
828140 | 133666 | 51.49 | 0.052137
828215 | 133667 | 51.59 | 0.05195
828528 | 133671 | 51.69 | 0.051167
828644 | 133657 | 51.79 | 0.050616
828908 | 133730 | 51.89 | 0.051128
829457 | 133748 | 51.99 | 0.049941
829385 | 133742 | 52.09 | 0.050035
828898 | 133669 | 52.18 | 0.050129
828980 | 133655 | 52.28 | 0.04967
828657 | 133593 | 52.38 | 0.049503
829261 | 133703 | 52.48 | 0.049716
829521 | 133733 | 52.58 | 0.049515
829878 | 133756 | 52.68 | 0.048934
829744 | 133751 | 52.78 | 0.049213
829738 | 133747 | 52.88 | 0.049162
829272 | 133719 | 52.99 | 0.049955
829950 | 133766 | 53.1 | 0.048907
829388 | 133741 | 53.2 | 0.050011
828915 | 133693 | 53.3 | 0.050486
829135 | 133692 | 53.4 | 0.049872
829404 | 133697 | 53.5 | 0.049227
829377 | 133715 | 53.6 | 0.049603
830068 | 133842 | 53.7 | 0.049865
829408 | 133746 | 53.8 | 0.05004
829079 | 133741 | 53.9 | 0.050849
828915 | 133723 | 54 | 0.050991
828235 | 133643 | 54.1 | 0.051492
828250 | 133685 | 54.2 | 0.052158
828412 | 133729 | 54.3 | 0.052458
828236 | 133718 | 54.4 | 0.052751 | 18 | 0.429
827970 | 133684 | 54.5 | 0.052902
827994 | 133702 | 54.6 | 0.05314
827477 | 133681 | 54.7 | 0.054192
827274 | 133697 | 54.8 | 0.055013
827148 | 133712 | 54.9 | 0.055609
826538 | 133682 | 55 | 0.056764
826066 | 133677 | 55.1 | 0.057965
826105 | 133715 | 55.19 | 0.058499
825655 | 133701 | 55.29 | 0.059489
824925 | 133652 | 55.39 | 0.060655
824409 | 133652 | 55.49 | 0.062063
824287 | 133669 | 55.59 | 0.062682
823685 | 133664 | 55.69 | 0.064242
822944 | 133638 | 55.79 | 0.06583
822569 | 133628 | 55.89 | 0.066687
822199 | 133664 | 55.99 | 0.068306
821883 | 133687 | 56.11 | 0.069558
821295 | 133673 | 56.21 | 0.070933
821188 | 133713 | 56.31 | 0.0719
820888 | 133700 | 56.41 | 0.072503
820640 | 133692 | 56.51 | 0.073048
820155 | 133693 | 56.6 | 0.074396
820207 | 133710 | 56.71 | 0.074539
819802 | 133699 | 56.81 | 0.075466
820046 | 133739 | 56.91 | 0.075469
818858 | 133585 | 57.01 | 0.076139
818894 | 133592 | 57.1 | 0.076158
819061 | 133600 | 57.2 | 0.075834
819509 | 133651 | 57.3 | 0.075462
819481 | 133637 | 57.4 | 0.075303 | 19 | 0.429
819661 | 133618 | 57.5 | 0.074489
820410 | 133743 | 57.6 | 0.074538
820838 | 133744 | 57.7 | 0.073381
821160 | 133755 | 57.8 | 0.072683
821507 | 133749 | 57.9 | 0.071631
822324 | 133813 | 58 | 0.070471
822643 | 133778 | 58.1 | 0.06901
822980 | 133796 | 58.2 | 0.068391
823261 | 133744 | 58.3 | 0.066748
824175 | 133800 | 58.4 | 0.065193
824217 | 133738 | 58.5 | 0.064035
824405 | 133702 | 58.6 | 0.062916
824713 | 133699 | 58.7 | 0.062025
825647 | 133754 | 58.8 | 0.060403
825920 | 133770 | 58.9 | 0.059928
826717 | 133807 | 59 | 0.05838
827125 | 133823 | 59.12 | 0.057539
827776 | 133825 | 59.22 | 0.055802
827793 | 133786 | 59.32 | 0.0551
828333 | 133805 | 59.42 | 0.053952
828658 | 133823 | 59.52 | 0.053372
828633 | 133773 | 59.62 | 0.052598
829232 | 133853 | 59.72 | 0.052318
829651 | 133846 | 59.81 | 0.051063
830031 | 133879 | 59.91 | 0.050587
830327 | 133887 | 60.01 | 0.049919
829851 | 133826 | 60.11 | 0.050184
830135 | 133821 | 60.21 | 0.04933
830179 | 133786 | 60.31 | 0.048622
830167 | 133760 | 60.41 | 0.048217 | 20 | 0.429
830471 | 133802 | 60.51 | 0.0481
830249 | 133742 | 60.61 | 0.047692
830309 | 133756 | 60.71 | 0.047765
830286 | 133759 | 60.81 | 0.047878
831230 | 133847 | 60.91 | 0.046801
831091 | 133849 | 61.01 | 0.047211
830858 | 133792 | 61.11 | 0.046883
830351 | 133767 | 61.21 | 0.047837
831276 | 133812 | 61.31 | 0.046088
831197 | 133795 | 61.41 | 0.046016
829679 | 133832 | 61.51 | 0.050752
831190 | 133817 | 61.61 | 0.046405
831269 | 133795 | 61.71 | 0.045821
831568 | 133872 | 61.81 | 0.046306
831306 | 133843 | 61.91 | 0.046528
831460 | 133850 | 62.02 | 0.046229
831304 | 133820 | 62.13 | 0.046147
831592 | 133835 | 62.23 | 0.045619
831730 | 133848 | 62.33 | 0.045465
831723 | 133858 | 62.43 | 0.045652
831657 | 133855 | 62.53 | 0.04578
831782 | 133840 | 62.63 | 0.045189
831290 | 133831 | 62.73 | 0.04637
831376 | 133874 | 62.82 | 0.04686
831797 | 133909 | 62.92 | 0.046309
831289 | 133811 | 63.02 | 0.046036
831172 | 133811 | 63.12 | 0.046353
831264 | 133813 | 63.22 | 0.046137
831103 | 133845 | 63.32 | 0.047111
831087 | 133838 | 63.42 | 0.047037
830389 | 133777 | 63.52 | 0.047902 | 21 | 0.443
830445 | 133812 | 63.62 | 0.048339
830526 | 133868 | 63.72 | 0.049061
830749 | 133899 | 63.82 | 0.048978
830864 | 133950 | 63.92 | 0.049523
830646 | 133938 | 64.02 | 0.049912
831389 | 134043 | 64.12 | 0.049664
831036 | 134013 | 64.22 | 0.050116
831040 | 134042 | 64.32 | 0.050592
830695 | 134020 | 64.42 | 0.051157
831349 | 134118 | 64.52 | 0.051031
830743 | 134060 | 64.62 | 0.051698
830407 | 133997 | 64.72 | 0.051551
830596 | 134055 | 64.82 | 0.052013
830366 | 133988 | 64.92 | 0.051511
830270 | 133983 | 65.02 | 0.051687
830574 | 134004 | 65.13 | 0.051216
830453 | 133995 | 65.23 | 0.051393
830393 | 133996 | 65.33 | 0.051572
830574 | 133997 | 65.43 | 0.051098
830982 | 134047 | 65.53 | 0.050833
830639 | 134016 | 65.63 | 0.051241
829682 | 134012 | 65.73 | 0.053768
831128 | 134007 | 65.83 | 0.049766
831127 | 133988 | 65.93 | 0.049449
831213 | 133959 | 66.03 | 0.048729
831403 | 133981 | 66.13 | 0.048585
830962 | 133952 | 66.23 | 0.049291
831648 | 133891 | 66.32 | 0.046409
832117 | 133930 | 66.42 | 0.045796
832304 | 133942 | 66.52 | 0.045492 | 22 | 0.428
832922 | 133952 | 66.62 | 0.04399
831956 | 133911 | 66.72 | 0.045912
832633 | 133955 | 66.82 | 0.044821
833139 | 133992 | 66.92 | 0.044075
833661 | 133960 | 67.02 | 0.042128
834234 | 133999 | 67.12 | 0.041237
834483 | 133996 | 67.22 | 0.040515
834572 | 133992 | 67.32 | 0.040208
834946 | 134011 | 67.42 | 0.039519
834450 | 133945 | 67.52 | 0.039747
834883 | 133997 | 67.62 | 0.039453
834583 | 133951 | 67.72 | 0.039489
834632 | 133923 | 67.82 | 0.038887
834987 | 133951 | 67.92 | 0.0384
835224 | 133983 | 68.02 | 0.038299
835442 | 133982 | 68.12 | 0.037695
835185 | 133930 | 68.24 | 0.037514
835472 | 133954 | 68.34 | 0.037144
835534 | 133977 | 68.44 | 0.037363
835340 | 133928 | 68.54 | 0.037063
835594 | 133941 | 68.64 | 0.036597
835692 | 133933 | 68.74 | 0.036199
835765 | 133956 | 68.84 | 0.036388
835836 | 133946 | 68.94 | 0.036029
834769 | 133820 | 69.04 | 0.036786
835370 | 133885 | 69.13 | 0.036259
834700 | 133800 | 69.23 | 0.036636
834875 | 133821 | 69.33 | 0.036517
834797 | 133823 | 69.43 | 0.036761
835162 | 133873 | 69.53 | 0.036618 | 23 | 0.429
834607 | 133821 | 69.63 | 0.03724
834752 | 133847 | 69.73 | 0.037286
835453 | 133944 | 69.83 | 0.037027
834645 | 133813 | 69.93 | 0.037003
834832 | 133857 | 70.03 | 0.037238
834834 | 133892 | 70.13 | 0.037821
835358 | 133952 | 70.23 | 0.037417
834576 | 133868 | 70.33 | 0.038113
834794 | 133889 | 70.43 | 0.037879
834541 | 133877 | 70.53 | 0.038359
834926 | 133934 | 70.63 | 0.038279
834932 | 133949 | 70.73 | 0.038515
835198 | 133968 | 70.83 | 0.038117
835084 | 133977 | 70.93 | 0.038576
834890 | 133939 | 71.03 | 0.03846
835078 | 133981 | 71.13 | 0.038659
834597 | 133910 | 71.24 | 0.038763
835259 | 134042 | 71.34 | 0.039196
835118 | 134013 | 71.44 | 0.039089
834832 | 133985 | 71.54 | 0.039389
835000 | 133981 | 71.64 | 0.038869
834851 | 133956 | 71.74 | 0.038851
834804 | 133951 | 71.84 | 0.038894
834782 | 133961 | 71.94 | 0.039121
834734 | 133949 | 72.04 | 0.039049
834833 | 133939 | 72.14 | 0.038614
834741 | 133965 | 72.24 | 0.039299
834960 | 133999 | 72.34 | 0.039279
835086 | 133949 | 72.44 | 0.0381
835308 | 133954 | 72.54 | 0.037586 | 24 | 0.429
835187 | 133989 | 72.64 | 0.0385
834383 | 133942 | 72.74 | 0.039878
833957 | 133951 | 72.84 | 0.041178
833691 | 133949 | 72.94 | 0.041862
833311 | 133902 | 73.04 | 0.042099
833674 | 133963 | 73.14 | 0.042143
834001 | 134020 | 73.24 | 0.042218
833586 | 133943 | 73.34 | 0.042045
833727 | 133955 | 73.43 | 0.041866
833733 | 133962 | 73.53 | 0.041967
833795 | 133978 | 73.63 | 0.042069
833814 | 133986 | 73.73 | 0.042152
833617 | 133954 | 73.83 | 0.042146
833278 | 133909 | 73.93 | 0.042305
833570 | 133944 | 74.03 | 0.042105
833536 | 133954 | 74.14 | 0.042365
833591 | 133943 | 74.25 | 0.042031
833512 | 133932 | 74.35 | 0.04206
834294 | 134037 | 74.45 | 0.041713
833993 | 134014 | 74.55 | 0.042139
833799 | 133967 | 74.65 | 0.041873
833640 | 133984 | 74.75 | 0.042588
833888 | 133966 | 74.85 | 0.041616
833903 | 133992 | 74.95 | 0.042012
834024 | 133988 | 75.05 | 0.041619
833876 | 133978 | 75.15 | 0.04185
834441 | 134037 | 75.25 | 0.041317
834149 | 134040 | 75.35 | 0.042155
834317 | 134044 | 75.45 | 0.041769
834333 | 134051 | 75.55 | 0.041843 | 25 | 0.429
834247 | 134047 | 75.65 | 0.042008
834249 | 134045 | 75.75 | 0.041969
834185 | 134054 | 75.85 | 0.042293
834526 | 134087 | 75.95 | 0.041927
834267 | 134088 | 76.04 | 0.042642
834749 | 134129 | 76.15 | 0.04203
833967 | 134034 | 76.25 | 0.042545
834442 | 134073 | 76.34 | 0.041918
834085 | 134045 | 76.44 | 0.042411
833974 | 134008 | 76.54 | 0.04209
834171 | 134051 | 76.64 | 0.04228
834041 | 134035 | 76.74 | 0.042362
834517 | 134100 | 76.84 | 0.042169
834439 | 134078 | 76.94 | 0.04201
834419 | 134086 | 77.04 | 0.042199
834576 | 134084 | 77.15 | 0.041742
834116 | 134010 | 77.26 | 0.04174
834378 | 134030 | 77.36 | 0.041369
834456 | 134050 | 77.46 | 0.041495
834453 | 134062 | 77.56 | 0.041704
834224 | 134010 | 77.66 | 0.041449
834631 | 134071 | 77.76 | 0.041375
834919 | 134114 | 77.86 | 0.04132
834503 | 134066 | 77.96 | 0.041636
834553 | 134043 | 78.06 | 0.041115
834681 | 134091 | 78.16 | 0.041576
834797 | 134079 | 78.26 | 0.041062
834567 | 134058 | 78.36 | 0.041329
835064 | 134108 | 78.46 | 0.040829
835263 | 134146 | 78.56 | 0.04093 | 26 | 0.429
834977 | 134129 | 78.66 | 0.041416
833887 | 133972 | 78.76 | 0.04172
834166 | 134027 | 78.86 | 0.041891
834589 | 134132 | 78.95 | 0.042512
834811 | 134138 | 79.05 | 0.042014
835185 | 134176 | 79.15 | 0.041644
835152 | 134136 | 79.25 | 0.041062
834885 | 134088 | 79.35 | 0.040976
834721 | 134058 | 79.45 | 0.040914
834606 | 134046 | 79.55 | 0.041023
834780 | 134085 | 79.65 | 0.041208
834874 | 134086 | 79.75 | 0.040972
834478 | 134026 | 79.85 | 0.041032
834293 | 133997 | 79.95 | 0.041044
834229 | 133947 | 80.05 | 0.040377
834784 | 134006 | 80.15 | 0.039871
834571 | 133955 | 80.27 | 0.039589
832446 | 133975 | 80.37 | 0.045662
829436 | 133967 | 80.47 | 0.05368
828664 | 133969 | 80.57 | 0.055809
829060 | 134028 | 80.67 | 0.055725
828976 | 133962 | 80.77 | 0.054844
829008 | 133920 | 80.87 | 0.054052
829856 | 134024 | 80.97 | 0.053498
830198 | 134034 | 81.07 | 0.052739
830494 | 134053 | 81.17 | 0.052255
830442 | 134039 | 81.27 | 0.052161
830594 | 134044 | 81.37 | 0.051833
831244 | 134093 | 81.47 | 0.050895
831276 | 134071 | 81.57 | 0.05044 | 27 | 0.429
831313 | 134086 | 81.67 | 0.050591
831447 | 134111 | 81.77 | 0.050648
831114 | 134023 | 81.87 | 0.050072
831854 | 134084 | 81.97 | 0.049093
832248 | 134108 | 82.06 | 0.048431
831995 | 134042 | 82.16 | 0.048007
832375 | 134089 | 82.26 | 0.047768 | 28 | 0.116
831666 | 133973 | 82.36 | 0.047738
831796 | 134034 | 82.46 | 0.048411
831999 | 134076 | 82.56 | 0.048567
831598 | 134046 | 82.66 | 0.049148
831679 | 134067 | 82.76 | 0.049282
831723 | 134041 | 82.86 | 0.048726
831920 | 134047 | 82.96 | 0.048294
832187 | 134054 | 83.06 | 0.047689
831052 | 134003 | 83.16 | 0.049904
831727 | 133923 | 83.28 | 0.046733
832874 | 134007 | 83.38 | 0.045043
833714 | 134082 | 83.48 | 0.044034
834100 | 134105 | 83.58 | 0.043378
834640 | 134140 | 83.68 | 0.042509
835374 | 134169 | 83.78 | 0.041017
834640 | 134140 | 85.87 | 0.042509 | A | 0.299

## for1C
Position(mm) | Absorbance | Fraction Number | Fraction Volume(ml)
0 | 0.57241
0.14 | 0.57326
0.25 | 0.57453
0.35 | 0.57289
0.45 | 0.57165
0.54 | 0.58368
0.64 | 0.59207
0.74 | 0.67906
0.84 | 2.8579
0.94 | 2.7322
1.04 | 2.7225
1.14 | 2.7425
1.24 | 2.7466
1.34 | 2.7568
1.44 | 2.7648
1.54 | 2.7736
1.64 | 2.7805
1.74 | 2.7867
1.84 | 2.7893
1.94 | 2.797
2.04 | 2.7967
2.14 | 2.7989
2.24 | 2.8015
2.34 | 2.8034
2.44 | 2.8048
2.54 | 2.8158
2.64 | 2.8063
2.74 | 2.8132
2.83 | 2.8178
2.93 | 2.8303
3.04 | 2.8402 | 1 | 0
3.14 | 2.8503
3.23 | 2.8576
3.33 | 2.8573
3.43 | 2.8449
3.53 | 2.8147
3.63 | 2.7675
3.73 | 2.701
3.83 | 2.6216
3.93 | 2.5329
4.03 | 2.4387
4.13 | 2.3504
4.23 | 2.2588
4.33 | 2.1686
4.43 | 2.0786
4.53 | 1.9932
4.63 | 1.9098
4.74 | 1.8279
4.84 | 1.7555
4.94 | 1.6791
5.04 | 1.6093
5.14 | 1.5398
5.24 | 1.4796
5.34 | 1.411
5.44 | 1.3474
5.54 | 1.2937
5.63 | 1.222
5.74 | 1.1582
5.83 | 1.0993
5.93 | 1.0387
6.03 | 0.98471
6.13 | 0.92349 | 2 | 0
6.23 | 0.87174
6.33 | 0.82047
6.43 | 0.77415
6.53 | 0.72269
6.63 | 0.68221
6.73 | 0.63668
6.83 | 0.5963
6.93 | 0.55913
7.03 | 0.5272
7.13 | 0.4968
7.23 | 0.46708
7.33 | 0.44231
7.43 | 0.41854
7.53 | 0.39685
7.63 | 0.37512
7.73 | 0.35489
7.84 | 0.33887
7.94 | 0.32368
8.04 | 0.31199
8.14 | 0.30061
8.24 | 0.28881
8.34 | 0.28029
8.44 | 0.27239
8.54 | 0.26417
8.64 | 0.25709
8.74 | 0.2507
8.84 | 0.24461
8.94 | 0.23909
9.04 | 0.23291
9.14 | 0.22704 | 3 | 0
9.24 | 0.22279
9.34 | 0.2172
9.44 | 0.21196
9.54 | 0.20735
9.64 | 0.20284
9.74 | 0.19774
9.83 | 0.19282
9.94 | 0.18819
10.03 | 0.18467
10.14 | 0.18587
10.24 | 0.17551
10.33 | 0.17148
10.43 | 0.16683
10.53 | 0.16215
10.63 | 0.15658
10.74 | 0.15087
10.85 | 0.1462
10.95 | 0.14098
11.05 | 0.13597
11.15 | 0.13119
11.25 | 0.12857
11.35 | 0.12545
11.45 | 0.11918
11.55 | 0.11403
11.65 | 0.1097
11.75 | 0.10498
11.85 | 0.10239
11.95 | 0.099022
12.04 | 0.095796
12.15 | 0.091925 | 4 | 0
12.24 | 0.089367
12.35 | 0.085531
12.44 | 0.084638
12.54 | 0.081794
12.64 | 0.07961
12.74 | 0.077743
12.84 | 0.075759
12.94 | 0.074299
13.04 | 0.072148
13.14 | 0.070737
13.24 | 0.06929
13.34 | 0.068667
13.44 | 0.067137
13.54 | 0.066521
13.64 | 0.064451
13.74 | 0.06401
13.85 | 0.063029
13.95 | 0.062813
14.05 | 0.061776
14.15 | 0.061951
14.25 | 0.06262
14.35 | 0.063387
14.45 | 0.061916
14.55 | 0.061639
14.65 | 0.061433
14.75 | 0.062999
14.85 | 0.06398
14.95 | 0.063813
15.05 | 0.064571
15.15 | 0.066912 | 5 | 0
15.25 | 0.068228
15.35 | 0.06964
15.45 | 0.071817
15.54 | 0.073297
15.64 | 0.075912
15.74 | 0.078883
15.84 | 0.082548
15.94 | 0.085522
16.04 | 0.089865
16.14 | 0.092805
16.24 | 0.09716
16.34 | 0.1
16.44 | 0.10456
16.54 | 0.10673
16.64 | 0.10941
16.74 | 0.11226
16.85 | 0.11382
16.95 | 0.11516
17.05 | 0.11647
17.15 | 0.11699
17.25 | 0.11755
17.35 | 0.11753
17.45 | 0.11652
17.55 | 0.11687
17.65 | 0.11628
17.75 | 0.11481
17.85 | 0.11356
17.95 | 0.11249
18.05 | 0.10997
18.15 | 0.10864 | 6 | 0
18.25 | 0.10658
18.35 | 0.10431
18.45 | 0.1015
18.55 | 0.099251
18.65 | 0.096394
18.75 | 0.093789
18.85 | 0.090045
18.95 | 0.086834
19.04 | 0.083451
19.14 | 0.08018
19.24 | 0.076734
19.34 | 0.073537
19.44 | 0.070463
19.54 | 0.067335
19.64 | 0.064595
19.75 | 0.061888
19.86 | 0.059581
19.96 | 0.057307
20.06 | 0.055379
20.16 | 0.054221
20.25 | 0.057799
20.35 | 0.050762
20.45 | 0.050145
20.55 | 0.048642
20.65 | 0.047685
20.75 | 0.047055
20.85 | 0.046525
20.95 | 0.045836
21.05 | 0.045654
21.15 | 0.04574 | 7 | 0
21.25 | 0.045329
21.35 | 0.045372
21.45 | 0.04557
21.55 | 0.04662
21.65 | 0.046665
21.75 | 0.047394
21.85 | 0.047812
21.95 | 0.049052
22.05 | 0.049606
22.15 | 0.051043
22.25 | 0.051915
22.35 | 0.05278
22.45 | 0.054659
22.54 | 0.055977
22.64 | 0.057495
22.75 | 0.059814
22.86 | 0.06159
22.96 | 0.06444
23.06 | 0.067291
23.16 | 0.06993
23.26 | 0.074518
23.36 | 0.078803
23.46 | 0.083916
23.55 | 0.090575
23.65 | 0.097773
23.75 | 0.10451
23.85 | 0.11396
23.95 | 0.12286
24.05 | 0.13218
24.15 | 0.14072
24.25 | 0.14837 | 8 | 0
24.35 | 0.15881
24.45 | 0.16602
24.55 | 0.17138
24.65 | 0.17927
24.75 | 0.18777
24.85 | 0.19361
24.95 | 0.19863
25.05 | 0.20396
25.15 | 0.20819
25.25 | 0.21223
25.35 | 0.21616
25.45 | 0.2187
25.55 | 0.2227
25.65 | 0.22261
25.75 | 0.22397
25.85 | 0.22426
25.96 | 0.2239
26.06 | 0.22224
26.16 | 0.22062
26.26 | 0.21813
26.36 | 0.21407
26.46 | 0.20977
26.56 | 0.20531
26.66 | 0.19993
26.76 | 0.19434
26.86 | 0.18858
26.95 | 0.18291
27.05 | 0.17693
27.15 | 0.17108
27.25 | 0.16536 | 9 | 0
27.35 | 0.16006
27.45 | 0.15517
27.55 | 0.15055
27.65 | 0.14553
27.75 | 0.14121
27.85 | 0.13695
27.95 | 0.13309
28.05 | 0.13013
28.15 | 0.1273
28.25 | 0.12495
28.35 | 0.12218
28.45 | 0.12051
28.55 | 0.11858
28.65 | 0.11697
28.75 | 0.11577
28.85 | 0.11511
28.96 | 0.11489
29.06 | 0.11507
29.16 | 0.11517
29.26 | 0.11562
29.36 | 0.11679
29.46 | 0.11708
29.56 | 0.11904
29.66 | 0.121
29.76 | 0.12278
29.86 | 0.12484
29.96 | 0.12742
30.06 | 0.13045
30.16 | 0.13356
30.26 | 0.13724 | 10 | 0
30.36 | 0.14127
30.46 | 0.14598
30.56 | 0.15058
30.66 | 0.15568
30.76 | 0.16153
30.86 | 0.16795
30.96 | 0.17457
31.06 | 0.18265
31.15 | 0.19106
31.25 | 0.20416
31.35 | 0.21046
31.45 | 0.22158
31.55 | 0.2345
31.65 | 0.24768
31.75 | 0.26222
31.86 | 0.27918
31.97 | 0.29365
32.06 | 0.30932
32.17 | 0.32617
32.27 | 0.34215
32.36 | 0.356
32.46 | 0.37137
32.56 | 0.38592
32.66 | 0.39751
32.76 | 0.40878
32.86 | 0.41815
32.96 | 0.42662
33.06 | 0.43257
33.16 | 0.43863
33.26 | 0.44172 | 11 | 0
33.36 | 0.44511
33.46 | 0.44696
33.56 | 0.44799
33.66 | 0.44739
33.76 | 0.44531
33.86 | 0.44243
33.96 | 0.43966
34.06 | 0.43465
34.16 | 0.42733
34.26 | 0.41864
34.36 | 0.41041
34.46 | 0.40127
34.56 | 0.39137
34.66 | 0.37967
34.76 | 0.36524
34.87 | 0.35155
34.97 | 0.33824
35.07 | 0.32376
35.17 | 0.30945
35.27 | 0.29501
35.37 | 0.28047
35.47 | 0.26658
35.57 | 0.25379
35.67 | 0.24196
35.77 | 0.22988
35.87 | 0.21858
35.97 | 0.20781
36.07 | 0.19824
36.17 | 0.18841
36.27 | 0.1787 | 12 | 0
36.37 | 0.16998
36.47 | 0.16215
36.56 | 0.15526
36.66 | 0.14899
36.76 | 0.14351
36.86 | 0.13723
36.96 | 0.13183
37.06 | 0.12754
37.16 | 0.12276
37.26 | 0.11813
37.36 | 0.11396
37.46 | 0.11033
37.56 | 0.10793
37.66 | 0.10458
37.76 | 0.1012
37.87 | 0.098569
37.98 | 0.096608
38.08 | 0.093659
38.18 | 0.091911
38.27 | 0.089991
38.37 | 0.088455
38.47 | 0.086411
38.57 | 0.085016
38.67 | 0.084018
38.77 | 0.082448
38.87 | 0.081185
38.97 | 0.079692
39.07 | 0.078986
39.17 | 0.077823
39.27 | 0.076682
39.37 | 0.075399 | 13 | 0
39.47 | 0.074676
39.57 | 0.073697
39.67 | 0.072834
39.77 | 0.071563
39.87 | 0.071081
39.97 | 0.070222
40.07 | 0.069234
40.17 | 0.068154
40.27 | 0.067459
40.37 | 0.066539
40.47 | 0.066511
40.56 | 0.065303
40.67 | 0.065402
40.76 | 0.064302
40.86 | 0.063395
40.98 | 0.062658
41.08 | 0.062511
41.18 | 0.062365
41.28 | 0.061535
41.38 | 0.061243
41.48 | 0.060661
41.58 | 0.060577
41.68 | 0.05992
41.78 | 0.060055
41.88 | 0.059476
41.98 | 0.059448
42.08 | 0.059131
42.17 | 0.059021
42.27 | 0.05872
42.37 | 0.058766 | 14 | 0
42.47 | 0.05895
42.57 | 0.058996
42.67 | 0.059018
42.77 | 0.059255
42.87 | 0.059214
42.97 | 0.059452
43.07 | 0.059225
43.17 | 0.059027
43.27 | 0.059182
43.37 | 0.059569
43.47 | 0.059619
43.57 | 0.059066
43.67 | 0.060234
43.77 | 0.060501
43.87 | 0.060326
43.98 | 0.06079
44.08 | 0.061164
44.18 | 0.061553
44.28 | 0.062533
44.38 | 0.063979
44.48 | 0.064802
44.58 | 0.066266
44.68 | 0.067542
44.78 | 0.069643
44.88 | 0.070998
44.98 | 0.073176
45.08 | 0.07539
45.18 | 0.077735
45.28 | 0.080648
45.38 | 0.083841 | 15 | 0
45.48 | 0.086396
45.58 | 0.090178
45.68 | 0.093104
45.78 | 0.096407
45.88 | 0.099607
45.98 | 0.10276
46.07 | 0.10549
46.18 | 0.10971
46.28 | 0.11221
46.37 | 0.11516
46.48 | 0.11811
46.57 | 0.12054
46.67 | 0.12225
46.77 | 0.12499
46.87 | 0.12685
46.98 | 0.1277
47.09 | 0.1294
47.19 | 0.12976
47.29 | 0.13037
47.39 | 0.13003
47.49 | 0.12994
47.59 | 0.12899
47.69 | 0.12793
47.78 | 0.12595
47.89 | 0.12416
47.99 | 0.1219
48.08 | 0.11918
48.18 | 0.11666
48.28 | 0.11386
48.38 | 0.11076 | 16 | 0
48.48 | 0.1076
48.58 | 0.10408
48.68 | 0.10081
48.78 | 0.097131
48.88 | 0.093677
48.98 | 0.090572
49.08 | 0.087131
49.18 | 0.083937
49.28 | 0.081052
49.38 | 0.078602
49.48 | 0.075151
49.58 | 0.072947
49.68 | 0.070149
49.78 | 0.068209
49.88 | 0.065739
49.99 | 0.064248
50.09 | 0.063002
50.19 | 0.061283
50.29 | 0.060087
50.39 | 0.059026
50.49 | 0.058339
50.59 | 0.057386
50.69 | 0.056766
50.79 | 0.055608
50.89 | 0.054919
50.99 | 0.054313
51.09 | 0.05429
51.19 | 0.053436
51.29 | 0.053318
51.39 | 0.052738 | 17 | 0
51.49 | 0.052137
51.59 | 0.05195
51.69 | 0.051167
51.79 | 0.050616
51.89 | 0.051128
51.99 | 0.049941
52.09 | 0.050035
52.18 | 0.050129
52.28 | 0.04967
52.38 | 0.049503
52.48 | 0.049716
52.58 | 0.049515
52.68 | 0.048934
52.78 | 0.049213
52.88 | 0.049162
52.99 | 0.049955
53.1 | 0.048907
53.2 | 0.050011
53.3 | 0.050486
53.4 | 0.049872
53.5 | 0.049227
53.6 | 0.049603
53.7 | 0.049865
53.8 | 0.05004
53.9 | 0.050849
54 | 0.050991
54.1 | 0.051492
54.2 | 0.052158
54.3 | 0.052458
54.4 | 0.052751 | 18 | 0
54.5 | 0.052902
54.6 | 0.05314
54.7 | 0.054192
54.8 | 0.055013
54.9 | 0.055609
55 | 0.056764
55.1 | 0.057965
55.19 | 0.058499
55.29 | 0.059489
55.39 | 0.060655
55.49 | 0.062063
55.59 | 0.062682
55.69 | 0.064242
55.79 | 0.06583
55.89 | 0.066687
55.99 | 0.068306
56.11 | 0.069558
56.21 | 0.070933
56.31 | 0.0719
56.41 | 0.072503
56.51 | 0.073048
56.6 | 0.074396
56.71 | 0.074539
56.81 | 0.075466
56.91 | 0.075469
57.01 | 0.076139
57.1 | 0.076158
57.2 | 0.075834
57.3 | 0.075462
57.4 | 0.075303 | 19 | 0
57.5 | 0.074489
57.6 | 0.074538
57.7 | 0.073381
57.8 | 0.072683
57.9 | 0.071631
58 | 0.070471
58.1 | 0.06901
58.2 | 0.068391
58.3 | 0.066748
58.4 | 0.065193
58.5 | 0.064035
58.6 | 0.062916
58.7 | 0.062025
58.8 | 0.060403
58.9 | 0.059928
59 | 0.05838
59.12 | 0.057539
59.22 | 0.055802
59.32 | 0.0551
59.42 | 0.053952
59.52 | 0.053372
59.62 | 0.052598
59.72 | 0.052318
59.81 | 0.051063
59.91 | 0.050587
60.01 | 0.049919
60.11 | 0.050184
60.21 | 0.04933
60.31 | 0.048622
60.41 | 0.048217 | 20 | 0
60.51 | 0.0481
60.61 | 0.047692
60.71 | 0.047765
60.81 | 0.047878
60.91 | 0.046801
61.01 | 0.047211
61.11 | 0.046883
61.21 | 0.047837
61.31 | 0.046088
61.41 | 0.046016
61.51 | 0.050752
61.61 | 0.046405
61.71 | 0.045821
61.81 | 0.046306
61.91 | 0.046528
62.02 | 0.046229
62.13 | 0.046147
62.23 | 0.045619
62.33 | 0.045465
62.43 | 0.045652
62.53 | 0.04578
62.63 | 0.045189
62.73 | 0.04637
62.82 | 0.04686
62.92 | 0.046309
63.02 | 0.046036
63.12 | 0.046353
63.22 | 0.046137
63.32 | 0.047111
63.42 | 0.047037
63.52 | 0.047902 | 21 | 0