Sample Prep for Mass spec protocol

- Spun down 5 mL samples at 4C.

- Removed supernatant and stored pellet at -80C overnight.

- Resuspended pellets on ice in 750 uL of Buffer 1: 20 mM KHEPES pH 7.9, 50 mM KCl, 0.5 mM DTT, cOmplete Mini EDTA-free Protease Inhibitor Cocktail Tablets (1 tablet/ 10 mL buffer)

- Lysed cells with tip sonicator, chilling on ice between each cycle: 30% intensity, 3 seconds on, 10 cycles each

- Spun down remaining cell debris in 4C centrifuge, discarding any debris.

- Checked concentrations with BCA kit.

- Aliquot 150 uL.