Updated by: Hannah Trautmann

2020/09/15

## MIC Protocol (One Strain):

- Prepare 20 10 mL of media (supplemented MHB) in 1 sterile 50 mL conical.

- Resuspend cells for the strain being tested in about 400 µL of MHB. Measure the OD600.

- Aim for an OD600 of 0.005 0.01. Dilute the appropriate amount of culture in a 15 mL conical that contains media to get required OD600, for a final volume of 10 mL. [Use C1V1=C2V2)

- Using the multichannel and a reservoir, add 180 µL of supplemented MHB into the 4th and 8th row of a non-treated 96 well plate.

- Add 180 µL of the diluted culture into the empty wells of the plate, such that entire plate is filled with media. [Shaded cells]

- The next steps will vary based on the concentrations of antibiotic you want to use. For kanamycin: a starting concentration of 2,000 ug/mL in stock tube A is required, because it will be diluted 1:10 when added to the 96-well plate.

- In eleven 1.5 mL tubes for each antibiotic, prepare 200 µL of media.

- Prepare a working stock of kanamycin that is a concentration of 4.00 mg/mL and a final volume of 200 uL, by adding 16.8 µL of our stock 50 mg/mL solution to 193.2 µL of MHB.

- Serially dilute 1:2 by transferring 200 µL from the working stock tube to the first of the 11 1.5 mL tubes, mixing, and repeating through the 11th tube.

- Transfer 200 uL from each of the eleven 1.5 mL tubes to strip tubes. Include a twelfth strip tube at the end that has only 200 uL of media (no antibiotic).

- Using the multichannel, pipet 20 µL from the strip tubes to the corresponding wells on the plate with media and mix (you can use pipet and mix function to take up 20 µL and mix with 100 µL 3x).

- Cover plate with lid and put in 37°C incubator overnight.

- In the morning After 2 days, mix and pipet 150 µL from each well to a new 96-well plate.

- Use the plate reader to measure OD600.

|  | Kanamycin 200 µg/mL | 100 µg/mL | 50 µg/mL | 25 µg/mL | 12.5 µg/mL | 6.25 µg/mL | 3.125 µg/mL | 1.56 µg/mL | 0.78 µg/mL | 0.39 µg/mL | 0.195 µg/mL | No antibiotic |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Replicate A |  |  |  |  |  |  |  |  |  |  |  |  |
| Replicate B |  |  |  |  |  |  |  |  |  |  |  |  |
| Replicate C |  |  |  |  |  |  |  |  |  |  |  |  |
| No Cells |  |  |  |  |  |  |  |  |  |  |  |  |
| Replicate A | Kanamycin 200 µg/mL | 100 µg/mL | 50 µg/mL | 25 µg/mL | 12.5 µg/mL | 6.25 µg/mL | 3.125 µg/mL | 1.56 µg/mL | 0.78 µg/mL | 0.39 µg/mL | 0.195 µg/mL | No antibiotic |
| Replicate B |  |  |  |  |  |  |  |  |  |  |  |  |
| Replicate C |  |  |  |  |  |  |  |  |  |  |  |  |
| No Cells |  |  |  |  |  |  |  |  |  |  |  |  |