MIC Protocol (two strains in culture tubes):                         Updated by: JTC   21/4/30

- Create desired kasugamycin concentration:

  - Make 500ul of 50mg/ml (50000ug/ml) kasugamycin by diluting 50mg of kasugamycin into 1ml sterile H2O and vortexing.

| Tube | Final Kasugamycin concentration (µg/mL) | Final volume (µL) | Concentrated Kasugamycin concentration (ug/ml) | Final volume MHB in 2 mL tubes | MHB in tubes (-Kasugamycin) | Stock Kasugamycin concentration (ug/mL) | Volume stock Kasugamycin to add (ul) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 5000 | 5000 | 50000 | 1500 | 0 | 50000 | 1500 |
| 2 | 3333.33 | 5000 | 33333.3 | 1500 | 500.001 | 50000 | 999.999 |
| 3 | 2222.22 | 5000 | 22222.2 | 1500 | 833.334 | 50000 | 666.666 |
| 4 | 1481.48 | 5000 | 14814.8 | 1500 | 1055.556 | 50000 | 444.444 |
| 5 | 987.65 | 5000 | 9876.5 | 1500 | 1203.705 | 50000 | 296.295 |
| 6 | 658.44 | 5000 | 6584.4 | 1500 | 1302.468 | 50000 | 197.532 |
| 7 | 438.96 | 5000 | 4389.6 | 1500 | 1368.312 | 50000 | 131.688 |
| 8 | 292.64 | 5000 | 2926.4 | 1500 | 1412.208 | 50000 | 87.792 |
| 9 | 195.09 | 5000 | 1950.9 | 1500 | 1441.473 | 50000 | 58.527 |

- Preparing cell dilutions:

  - For each strain being tested:

    - Resuspend cells in 400 µL of MHB

    - Dilute the resuspended cells 1:10 in 900 µL of MHB.

    - Prepare 70 mL of media (supplemented MHB) in a 125 mL sterile flask

    - Aim for an OD600 of 0.005 for LVS and a 0.010 for ∆rpsu1-∆rpsu2. Dilute the appropriate amount of culture in the 125 mL sterile flask that contains media to get required OD600.

- Transfer 4.5 mL of LVS diluted culture into 12 test-tubes.

- Transfer 4.5 mL of ∆rpsu1-∆rpsu2 diluted culture into 12 test-tubes.

- Add 0.5 mL of MHB to the tubes with no antibiotic. These will be the control.

- Transfer 5 mL of MHB into 2 test-tubes. These will be the blank.

- Transfer 0.25 mL from the antibiotic tubes to the corresponding culture tube and mix.

- Place culture tubes in the shaking incubator overnight.

- Using the aseptic technique, as you might have to incubate longer, transfer 150 µL from each culture tube to a 96-well plate. If no growth is detected incubate another night.