T6SS Assay Coculture Protocol

Adapted from Chris Schuttert

- Grow attacking and prey cells under standard conditions*

  - Establish an SOP for growth of these organisms

    - Grow LVS overnight on CHA plate as a patch, scrape patch (at ends) and resuspend in 4 mL PBS

- Set up OD dilutions

- Dilute 1:20 and check OD, then set up 4 more 1:1 dilutions (labeled 0x,2x, 4x, 6x, 8x)

- If OD reading is too high (above 0.6), dilute until the OD reading is within the linear range.

- Using a 96 well plate, set up ten serial dilutions of each sample on the plate

- Put 180uL PBS in each well

- Add 20uL of sample to first well and mix by pipetting. Discard tip and move 20 uL of that well to the next well. Repeat until the tenth well.

- Use multichannel pipette to inoculate 10uL of wells 4 through 10 of sample to a track plate (X2)

- Total 10 plates of each strain

- Generate an OD-to-CFU curve

- Follow standard growth conditions, calculate OD of 1 based on dilution. Carry out four 1:1 dilutions in growth medium for OD600. You’ll determine OD600 and CFU/mL for the 0x, 2x, 4x, 6x and 8x culture dilutions.

- Remember, a 10x dilution this way is a 1 log dilution for reference.

- Graph with OD600 on the x axis, and CFU/mL on the y axis.

  - Generate the y=mx+b equation and R2 value for each graph.

    - R2 < .95 is no good

- Use equation for attacking cell and prey cell to dilute to the proper MOI

  - I use an MOI of 4. Meaning 4 attacking cells to one prey cell

    - V. coralliilyticus @ 2x109 & E. coli @ 5x108

    - M1V1 = M2V2; solve for V1, V2 is 500 uL

- Mix freshly diluted cells 1:1 (v/v) so you have 1 mL of T6SS culture.

  - Remove 50uL for a T0 dilution series to determine your starting CFU/mL for each organism

    - The OD-to-CFU curve is self-correcting, be sure to record and input all data.

- Vacuum filter mixture onto 0.22 um filter and incubate at appropriate temperature for 4h.

- Remove filter, and resuspend in 10mL starvation media/NSS/PBS

- Serial dilute and plate for T4 CFU/mL to determine killing by T6SS

*NOTE: It’s a good idea to do this T6SS assay as a monoculture assay first to determine how well the organism survives on the filter, and how easily it is removed.