C$ Established & Published (well, almost) T6SS Assay protocol

- Grow attacking and prey cells under standard conditions*

  - You’ll want to establish a SOP for growth of these organisms

    - How I do it – I inoculate 5mL of media in a 50mL conical tube with one isolated colony and allow it to grow up for 24h.

- Generate an OD-to-CFU curve

  - Follow standard growth conditions, start with undiluted culture (0x diluted) and carry out four 1:1 dilutions in growth medium for OD600. You’ll determine OD600 and CFU/mL for the 0x, 2x, 4x, 6x and 8x culture dilutions.

    - Remember, a 10x dilution this way is a 1 log dilution for reference.

- Graph with OD600 on the x axis, and CFU/mL on the y axis.

  - Generate the y=mx+b equation and R2 value for each graph.

    - R2 < .95 is no good

- Use equation for attacking cell and prey cell to dilute to the proper MOI

  - I use an MOI of 4. Meaning 4 attacking cells to one prey cell

    - V. coralliilyticus @ 2x109 & E. coli @ 5x108

    - M1V1 = M2V2; solve for V1, V2 is 500 uL

- Mix freshly diluted cells 1:1 (v/v) so you have 1 mL of T6SS culture.

  - Remove 50uL for a T0 dilution series to determine your starting CFU/mL for each organism

    - The OD-to-CFU curve is self-correcting, be sure to record and input all data.

- Vacuum filter mixture onto 0.22 um filter and incubate at appropriate temperature for 4h.

- Remove filter, and resuspend in 10mL starvation media/NSS/PBS

- Serial dilute and plate for T4 CFU/mL to determine killing by T6SS

NOTE: It’s a good idea to do this T6SS assay as a monoculture assay first to determine how well your organism survives on the filter, and how easily it is removed. Typically, I see ~10% recovery loss with my organisms.

|  | RE22Sm |  |
| --- | --- | --- |
|  | OD600 | CFU/mL |
| 0x | 1.009 | 4.3E+09 |
| 2x | 0.5045 | 2.4E+09 |
| 4x | 0.2705 | 1.33E+09 |
| 6x | 0.1415 | 6.2E+08 |
| 8x | 0.067 | 2.63E+08 |