Use 10% NuPAGE Bis-Tris gels. Don’t forget to take white sticker off the bottom.

Add 500 mL MES buffer (25 mL 20x stock with 475 mL type I ddiH2O with 1.25 mL antioxidant [stored at 4°C]) in gel apparatus.

Remove combs.

While samples are heating, gently wash the wells with running buffer from inside the chamber using a 200 uL tip. Go through each well twice.

Combine 25 uL of each protein sample with 25 uL 2x sample loading buffer (If you only took 20 uL of a sample, add 22 uL 2x SLB and do your best!). Ladder and sample loading buffer only do not need to be heated. Heat samples at ~95°C for 5 minutes. Quick vortex and spin once they come off heating block.

Load as indicated in table.

Run gel using Bloom power source ~115 V for ~1hr 20’ until the dye front is just running off the gel.

Gel 1: Coomassie stain

| Lane | Volume | Contents |
| --- | --- | --- |
| 1 | 10 uL | Benchmark unstained ladder (undiluted) |
| 2 | 20 uL | LVS lysate |
| 3 | 20 uL | LVS flow-through 1 |
| 4 | 20 uL | LVS elution 1 |
| 5 | 20 uL | LVS flow-through 2 |
| 6 | 20 uL | LVS elution final |
| 7 | 20 uL | Beta-prime elution final |
| 8 | 20 uL | Beta-prime flow-through 2 |
| 9 | 20 uL | Beta-prime elution 1 |
| 10 | 20 uL | Beta-prime flow-through 1 |
| 11 | 20 uL | Beta-prime lysate |
| 12 | 10 uL | 1X Sample loading buffer (SLB) |

Gel 2: Silver stain

Dilute ladder 1 uL + 9 uL 1x SLB

| Lane | Volume | Contents |
| --- | --- | --- |
| 1 | 10 uL | Benchmark unstained ladder (1:10) |
| 2 | 20 uL | LVS lysate |
| 3 | 20 uL | LVS flow-through 1 |
| 4 | 20 uL | LVS elution 1 |
| 5 | 20 uL | LVS flow-through 2 |
| 6 | 20 uL | LVS elution final |
| 7 | 20 uL | Beta-prime elution final |
| 8 | 20 uL | Beta-prime flow-through 2 |
| 9 | 20 uL | Beta-prime elution 1 |
| 10 | 20 uL | Beta-prime flow-through 1 |
| 11 | 20 uL | Beta-prime lysate |
| 12 | 10 uL | 1X Sample loading buffer (SLB) |