Agar overlay for β-galactosidase activity

Written by: Caterina Ramierez and Sierra Schmidt

- Prior to overlay protocol, incubate intended cells on CHAH until single colonies form.

- On the day of the experiment:

  - Prepare soft agar overlay solution by adding the following components to a flask:

30 mL of diH2O

0.21 g of agar

  - Add stir bar

  - Stir for 5 min

  - Autoclave Liquid 30

- Place agar in water bath at 56°C until cool enough to touch. Add 60 uL x-gal to agar.

- Overlay 8mL of the agar solution to each plate. Protect from light by wrapping in foil. Incubate lid side up.

- The next day look for any blue colonies

  - Dark blue indicates high β-galactosidase activity, light blue indicates some, white indicates none

- Isolate colonies of interest

Isolating Colonies After Growth

- Using a inoculation loop, lightly pierce and transfer one blue colony from the overlay plate to a fresh CHA plate. Try to remove any agar that may have been transferred with the colony.

- Repeat this process for any other colonies you wish to patch out.