# Analyzing Colony Size

After imaging plates, open ImageJ

File > Open the ruler image through ImageJ

Set the scale by using the ruler/measure.tif. Use the straight line tool to measure out 10mm.

Analyze > Set Scale

Distance in pixels should be ~237, known distance should be changed to 10, unit of length should be changed to mm, select global option

File > Open plate image. DO NOT disable global scale

Count the number of single colonies per strain (left to right) excluding the colonies that seem to be touching or merging

The colonies are reflective and appear to have a halo around the sides. Measure the diameter of each colony from left to right, including the halo

Put in document the measurements for each colony and find the average diameter for each strain, then find the area (2pi*r)