# 10X TBS Recipe

1X TBS should be: 25 mM Tris and 0.15M NaCl

For 1000 mL of 10X TBS add:

-30.35 g of Trizma base

-87.66 g NaCl

-900 mL diH2O

Dissolve then adjust pH with HCl to pH 7.2

Add water to 1000 mL

Autoclave on liquid 30’ for long-term storage (split into two 1L bottles)