# Growing Plasmids in Minimal Media

By Benjamin Moore
May 17, 2024

## Minimal Media Recipe

Combine M9 salts and water as indicated below and autoclave (liquid cycle, 30 minutes). When cool, aseptically add glucose, MgSO4, and CaCl2.

| Reagent | Amount to add (for 100 mL) |
| --- | --- |
| M9 salts (5X) | 20 mL |
| Glucose (20%)a | 2 mL |
| MgSO4 (1 M)b | 200 μL |
| CaCl2 (1 M)b | 10 μL |
| ddiH2O | 78 mL |
| aFilter-sterilized and stored at 4°C. |  |
| bAutoclaved and stored at room temperature. |  |

5X M9 Salts

| Chemical | Mass |
| --- | --- |
| Na2HPO4•7H2O | 64 g |
| KH2PO4 | 15 g |
| NaCl | 2.5 g |
| NH4Cl | 5.0 g |
| ddiH2O | to 1 L |
| Divide the salt solution into 200-ml aliquots |  |
| Sterilize by autoclaving for 15-20 minutes |  |

## Adjusting pH of Minimal Media

- Add a stir bar to the minimal media and bring the minimal media to INBRE in a plastic bin along with 5N NaOH, 5N HCl, and 1000 uL and 200 uL pipettes and pipette tip boxes and a glass waste beaker.

- Calibrate the pH meter following the printed directions using the calibration solutions for pH 7, 4, and 10. More calibration solutions are located on the side to refill if necessary.

  - Press “Set Up” then set to “Cal1”, rinse the probe with water, and place in the pH 7 solution. When the display stops blinking, press “Calibrate.” Repeat these steps for the second and third calibration solutions, and finally press “Measure.”

- Place the minimal media on the stir plate and begin stirring.

- Check the pH of the minimal media using the pH probe.

- Added 5N HCl, dropwise, to the minimal media until the pH registers 7.

- Rinse the probe with water and put back into the reference electrode filling solution.

## Growing Plasmids in Minimal Media

- Inoculate minimal media overnight cultures for the plasmid with antibiotic.

- Incubate the cultures with shaking at 27C.

- Three to four days later, remove the tubes from the shaking incubator and Miniprep the DNA.

- Obtain the DNA concentrations via Nanodrop and keep samples above the desired threshold of 30 ng/uL.

- Send samples to Plasmidsaurus for sequencing.

  - Obtain shipping envelope.

  - Add order confirmation page to envelope.

  - Thaw plasmids on ice.

  - Create a shipping label on Fedex.com.

  - Print label and attach to envelope.

  - Obtain PCR tubes, label the first tube with the order code, and label the second tube with the number 1.

  - Add 12 uL of each sample to respective PCR tubes.

  - Wrap the lids of the tubes in Parafilm and place them in a 50 mL conical.

  - Place the 50 mL conical in the shipping envelope.

  - Drop the shipping envelope in a FedEx box or schedule a pickup from the shipping and receiving area.