### MidiPrep Protocol

- Grow 5 mL culture of LB+abx overnight from a single colony.

- In the morning, dilute 100 ul of the overnight culture into 25 mL LB media + abx for high-copy plasmids (50-100 mL for low copy). Grow until reaches about 0.5-0.6 OD600.

- Harvest by centrifuging at 6000 x g for 15 minutes at 4C.

- Completely resuspend pellet in 4 mL Buffer P1.

- Add 4 mL Buffer P2, mix by inverting 4-6 times and incubate at room temperature for up to 5 minutes.

- During the incubation, screw the cap onto the outlet nozzle of the QIAfilter cartridge, and plate it in a convenient tube or rack.

- Add 4 mL prechilled Buffer P3 to the lysate, and mix immediately by inverting 4-6 times.

- Pour the lysate into the barrel of the QIAfilter Cartridge. Incubate at room temp for up to 10 minutes without the plunger.

- Equilibrate the QIAGEN-tip by applying 4 mL Buffer QBT and allowing to empty by gravity flow.

- Remove the cap from the QIAfilter Cartridge Outlet nozzle. Gently insert the plunger into the QIAfilter Cartridge and filter the cell lysate into the equilibrated QIAGEN-tip. Allow the lysate to enter the resin by gravity flow.

- Wash the QIAGEN-tip with 2x 10 mL Buffer QC.

- Elute the DNA with 5 mL Buffer QF.

- Precipitate the DNA by adding 3.5 mL room-temperature isopropanol, mix and centrifuge at 15,000 x g for 30 min at 4C. Carefully decant the supernatant.

- Wash the DNA pellet with 2 mL room temperature 70% ethanol and centrifuge at 5,000 x g for 10 min (4C is okay). Carefully decant the supernatant.

- Air-dry the pellet for 5-10 min and redissolve the DNA in 0.1X EB. Start with 50 uL and add more until it is not super viscous.