## GFP reporter assay

By: Hannah Trautmann

- Have prepared 3 patches on CHAH of biological replicates for each reporter strain, and one patch of LVS as a control

- Scrape up cells into MHB, resuspend, and dilute to 0.08-0.10 in 6 mL of MHB with appropriate antibiotic.

- Grow shaking at 37C until cells reach mid-log (0.3-0.4 OD). Generally takes 4-5 hours.

- Take 1 mL from each culture tube into microcentrifuge tubes. Spin at max speed for 3 minutes

- Remove all MHB, using 20 ul pipette to remove small amount at bottom of tube.

- Add 1 mL of 1XPBS and resuspend the cells.

*Note: If this is the first time running a particular strain, return the culture tubes to the incubator. If the strain is not at least 5 times more fluorescent than WT LVS, you will want to concentrate the cells 2x-4x (depending on your reading). Do this by spinning down 4 mL of culture and resuspending in 1 mL PBS (for 4X, adjust for 2x). Check RFU then dilute back down to 1X to read OD600.

- Aliquot 250 ul from each microfuge tube in triplicate into a clear 96-well plate (not tissue culture treated). Pipette PBS in triplicate as a control.

- Go to INBRE lab with multichannel pipette, Rainin tips, black 96-well plate, and flash drive.

- Read OD600 from clear plate on ID3 plate reader:

  - Select Absorbance, wavelength=600

  - Plate type: 96-well standard clearbtm (first option)

  - Copy and paste results into an excel file on the plate reader’s computer

- Transfer 200 ul of each well from clear plate to black plate using the multichannel

- Read fluorescence from black plate on ID3 plate reader:

  - Select fluorescence

  - Wavelength: 495 to 535

  - Plate type: CoStar 3789

  - Gain: Automatic

  - Integration: 380 ms

  - Copy and paste results into excel file, then save onto flash drive

- Analyze by subtracting non-fluorescent LVS from RFU reading per biological replicate to account for basal Francisella and PBS fluorescence. Then divide that fluorescence for each replicate by OD600. Normalize each well to the wild-type strain such that wild-type is set to 1.