# PureExpress  Ribosome Kit Protocol

- Thaw all components on ice. Pulse-spin in microfuge to collect solutions to bottom of tubes. If Solution A has precipitates, mix well prior to assembling reaction. Do not vortex Solution B.

- Dilute ribosomes to 2.666 pmol/uL in H10M10A50 buffer, enough for a final volume of 15 uL per reaction and 40 pmol per reaction.

- Dilute DNA in 0.1xEB to a concentration of 125 ng/uL

- Add components in the following order:

Solution A 		10 uL

Factor Mix 		3 uL

Ribosomes		15 uL

Template DNA 		2 uL

-------------------------------------------

Total 			30 uL

- Mix gently and pulse-spin in microfuge to collect mixture at the bottom of the tube

- Incubate at 37C for 2-4 hours (incubator is preferred to water bath)

- Stop the reaction by placing tubes on ice.

- Freeze at -20C.