Updated by: Tala Allababidi

2019/09/10

MIC protocol (Two strains)

- For each strain to be tested, prepare 20 mL of media (supplemented MHB) in 1 sterile 50 mL conical.

- Resuspend cells for strains being tested in about 400 µL of MHB (if necessary). Measure the OD600.

- Aim for an OD600 of 0.005. Dilute the appropriate amount of culture in the 50 mL conical that contains media to get required OD600.

- Using the multichannel and a reservoir, add 190 µL of the diluted culture into the wells of a non-treated 96 well plate, such that three rows and all 12 columns are filled for each strain (see diagram below).

- In 4th and 8th rows, add same volume of supplemented MHB using a new reservoir and multichannel.

- The next steps will vary based on the concentrations of antibiotic you want to use. An example for tetracycline, with the highest concentration in the wells of 64 µg/mL and 1:2 dilutions, is shown here. A starting concentration of 1,280 µg/mL in stock tube A is required, because it will be diluted 1:20 when added to the 96-well plate. An example for streptomycin, with the highest concentration in the wells of 50 µg/mL and 1:2 dilutions, is shown here. A starting concentration of 1,000 µg/mL in stock tube A is required, because it will be dilute 1:20 when added to the 96-well plate

- In 12 sterile strip tubes for each antibiotic, prepare 100 µL of media.

- Prepare a working stock of tetracycline that is a concentration of 2.56 mg/mL, by adding 8.0 µL of our stock 35 mg/mL solution to 102.0 µL of MHB. Prepare a working stock of streptomycin that is a concentration of 2.00 mg/mL, by adding 4.4 µL of our stock 50 mg/mL solution to 105.6 µL of MHB.

- Serially dilute 1:2 by transferring 100 µL from the first strip tube to the next, mixing, and repeating through the 11th tube. In the last tube, do not add any antibiotic. This will be the control.

- Using the multi-channel, pipet 10 µL from the strip tubes to the corresponding wells on the plate with media and mix (you can use pipet and mix function to take up 10 µL and mix with 100 µL 3x).

- Cover plate with lid and put in 37°C incubator overnight.

- In the morning, mix and pipet 150 µL from each well to a new 96-well plate.

- Use the plate reader to measure OD600.

|  | Tetracycline: 64 µg/mL | 32 µg/mL | 16 µg/mL | 8 µg/mL | 4 µg/mL | 2 µg/mL | 1 µg/mL | .5 µg/mL | .25 µg/mL | .125 µg/mL | .0625 µg/mL | No antibiotic |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Strain 1, replicate A |  |  |  |  |  |  |  |  |  |  |  |  |
| Strain 1, replicate B |  |  |  |  |  |  |  |  |  |  |  |  |
| Strain 1, replicate C |  |  |  |  |  |  |  |  |  |  |  |  |
| No cells |  |  |  |  |  |  |  |  |  |  |  |  |
| Strain 2, Replicate A |  |  |  |  |  |  |  |  |  |  |  |  |

|  | Streptomycin: 50 µg/mL | 25 µg/mL | 12.5 µg/mL | 6.25 µg/mL | 3.125 µg/mL | 1.56 µg/mL | 0.78 µg/mL | 0.39 µg/mL | 0.195 µg/mL | .098 µg/mL | 0.048 µg/mL | No antibiotic |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Strain 1, replicate A |  |  |  |  |  |  |  |  |  |  |  |  |
| Strain 1, replicate B |  |  |  |  |  |  |  |  |  |  |  |  |
| Strain 1, replicate C |  |  |  |  |  |  |  |  |  |  |  |  |
| No cells |  |  |  |  |  |  |  |  |  |  |  |  |
| Strain 2, Replicate A |  |  |  |  |  |  |  |  |  |  |  |  |