Making LB-agar plates

Protocol written by KMR

Preparing LB-agar

- For 500 mL of LB-agar, weigh out the following components and add to a 1 L (non-baffled) flask:

  - 6 g agar

  - 5 g NaCl

  - 5 g Tryptone

  - 2.5 g Yeast extract

- Add stirbar to flask

- Add 500 mL ddiH20

- Mix on stirplate until components are dissolved

- Cover top of flask with foil and add a small piece of autoclave tape

- Autoclave on 30 minute liquid cycle

If pouring plates later:

Let LB-agar solidify and keep in lab. When you want to pour plates, heat up LB-agar on hotplate, stirring, until entirely melted (watch carefully so it doesn’t boil over! Don’t walk away). Let agar cool down or place in warm over (50°C) until ready to pour plates.

If pouring plates the same day:

After autoclaved, keep in warm water bath (55°C) until ready to pour plates

Pouring plates

- Add antibiotic using aseptic technique if necessary. Typical antibiotic concentrations:

| Antibiotic | Stock Concentration | Working Concentration (Concentration in plates) |
| --- | --- | --- |
| Ampicillin | 100 mg/mL | 100 µg/mL |
| Carbenicillin | 100 mg/mL | 100 µg/mL |
| Kanamycin | 50 mg/mL | 50 µg/mL |

- Keep antibiotic stocks on ice. For kanamycin, add 500 uL to 500 mL of LB-agar media. Stir on stirplate to mix media.

- Open a new sleeve of sterile plates. Don’t open plates unless next to flame.

- Next to flame, open foil top of flask. Pass flask opening through flame.

- Open a plate next to flame and pour ~20-25 mL LB-agar into plate; the bottom of the plate should be covered in media.

- Continue to pour media into plates until media is gone.

- Immediately rinse out flask

- Stack plates and mark the side to indicate which antibiotic is used. (blue = kanamycin, black = carbenicillin / ampicillin).

- Let plates sit at room temperature for one night, then store at 4°C with tape indicating date poured. Don’t use antibiotic plates older than 3 months.