Updated by: Tala Allababidi

2019/07/23

MIC protocol

- For each strain to be tested, prepare 20 mls of media (supplemented MHB) in 1 sterile 50 mL conical.

- Resuspend cells for strains being tested in about 400 uL of MHB (if necessary). Measure the OD600.

- Aim for an OD600 of 0.05. Dilute the appropriate amount of culture in the 50 mL conical that contains media to get required OD600.

- Add 180 µL of the diluted culture into the wells of a non-treated 96 well plate, such that three rows and all 12 columns are filled for each strain (see diagram below).

- In 4th row, add same volume of plain media

- The next steps will vary based on the concentrations of antibiotic you want to use. An example for kanamycin, with the highest concentration in the wells of 200 ug/mL and 1:3 dilutions, is shown here. A starting concentration of 2,000 ug/mL in stock tube A is required, because it will be diluted 1:10 when added to the deep well plates. An example for hygromycin, with the highest concentration in the wells of 1200 ug/mL and 1:3 dilutions, is shown here. A starting concentration of 12,000 ug/mL in stock tube A is required, because it will be dilute 1:10 when added to the deep well plates.

- In 12 sterile microcentrifuge tubes, prepare 100 uL of media.

- Prepare a working stock of kanamycin that is a concentration of 6 mg/mL, by adding 7.2 uL of our stock 50 mg/mL solution to 52.8 uL of MHB. Prepare a working stock of hygromycin that is at a concentration of 36 mg/mL, by adding 40 uL of our stock 54 mg/mL to 20 uL of MHB.

- Add 50 uL of this working stock to the first microcentrifuge tube and mix.

- Serially dilute 1:3 by transferring 50 uL from the first microcentrifuge tube to the next, mixing, and repeating through the 11th tube. In the last tube, do not add any antibiotic. This will be the control.

- Using the multi-channel, pipet 20 uL from the microcentrifuge tubes to the corresponding wells on the plate with cells and mix (you can use dispense function and take up 80 uL, dispensing 20 uL into each of the four replicates).

- Cover plate and put in 37C incubator overnight.

- In the morning, use the plate reader to measure OD600.

|  | Kan: 200 ug/mL | 66.7 ug/mL | 22.2 ug/mL | 7.4 ug/mL | 2.5 ug/mL | 8.2x10-1 ug/mL | 2.7x10-1 ug/mL | 9.1x10-2 ug/mL | 3.0x10-2 ug/mL | 1.0x10-2 ug/mL | 3.4x10-3 ug/mL | No antibiotic |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Strain 1, replicate A |  |  |  |  |  |  |  |  |  |  |  |  |
| Strain 1, replicate B |  |  |  |  |  |  |  |  |  |  |  |  |
| Strain 1, replicate C |  |  |  |  |  |  |  |  |  |  |  |  |
| No cells |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Hygromycin: 1200 ug/mL | 400 ug/mL | 133.3 ug/mL | 44.4 ug/mL | 14.8 ug/mL | 4.9 ug/mL | 1.65 ug/mL | 5.5x10-1 ug/mL | 1.8x10-1 ug/mL | 6.1x10-2 ug/mL | 2.0x10-2 ug/mL | No antibiotic |
| Strain 1, replicate A |  |  |  |  |  |  |  |  |  |  |  |  |
| Strain 1, replicate B |  |  |  |  |  |  |  |  |  |  |  |  |
| Strain 1, replicate C |  |  |  |  |  |  |  |  |  |  |  |  |
| No cells |  |  |  |  |  |  |  |  |  |  |  |  |