Updated by: Tala Allababidi

2019/08/28

MIC Protocol (One Strain):

- Prepare 20 mL of media (supplemented MHB) in 1 sterile 50 mL conical.

- Resuspend cells for the strain being tested in about 400 µL of MHB. Measure the OD600.

- Aim for an OD600 of 0.005. Dilute the appropriate amount of culture in the 50 mL conical that contains media to get required OD600.

- Using the multichannel and a reservoir, add 190 µL of supplemented MHB into the 4th and 8th row of a non-treated 96 well plate.

- Add 190 µL of the diluted culture into the empty wells of the plate, such that 6 rows and all 12 columns are filled with media.

- The next steps will vary based on the concentrations of antibiotic you want to use. An example for tetracycline, with the highest concentration in the wells of 64 µg/mL and 1:2 dilutions, is shown here. A starting concentration of 1,280 µg/mL in stock tube A is required, because it will be diluted 1:20 when added to the 96 well-plate. An example for erythromycin, with the highest concentration in the wells of 1,000 µg/mL and 1:2 dilutions, is shown here. A starting concentration of 20,000 µg/mL in stock tube A is required, because it will be diluted 1:20 when added to the 96-well plate.

- In 12 strip tubes for each antibiotic, prepare 50 µL of media. Don’t add media to tube A of erythromycin.

- Prepare a working stock of tetracycline that is a concentration of 2.56 mg/mL, by adding 8.0 µL of our stock 35 mg/mL solution to 102.0 µL of MHB.

- For Erythromycin, transfer 100 µL from the stock antibiotic to tube A.

- Serially dilute 1:2 by transferring 50 µL from the first strip tube to the next, mixing, and repeating through the 11th tube. In the last tube, do not add any antibiotic. This will be the control.

- Using the multichannel, pipet 10 µL from the strip tubes to the corresponding wells on the plate with media and mix (you can use pipet and mix function to take up 10 µL and mix with 100 µL 3x).

- Cover plate with lid and put in 37°C incubator overnight.

- In the morning, mix and pipet 150 µL from each well to a new 96-well plate.

- Use the plate reader to measure OD600.

|  | Tetracycline 64 µg/mL | 32 µg/mL | 16 µg/mL | 8 µg/mL | 4 µg/mL | 2 µg/mL | 1 µg/mL | 0.5 µg/mL | .25 µg/mL | .13 µg/mL | .063 µg/mL | No antibiotic |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Replicate A |  |  |  |  |  |  |  |  |  |  |  |  |
| Replicate B |  |  |  |  |  |  |  |  |  |  |  |  |
| Replicate C |  |  |  |  |  |  |  |  |  |  |  |  |
| No Cells |  |  |  |  |  |  |  |  |  |  |  |  |
| Replicate A | Erythromycin 1,000 µg/mL | 500 µg/mL | 250 µg/mL | 125 µg/mL | 62.5 µg/mL | 31.25 µg/mL | 15.63 µg/mL | 7.81 µg/mL | 3.91 µg/mL | 1.95 µg/mL | 0.98 µg/mL | No antibiotic |
| Replicate B |  |  |  |  |  |  |  |  |  |  |  |  |
| Replicate C |  |  |  |  |  |  |  |  |  |  |  |  |