Preparation of 70S Ribosomes from Thermus thermophilus for Biochemistry

(Updated from original protocol of J. Thompson and S. Gregory from 3.22.03)

1.	Using a single colony of T. thermophilus, start an overnight culture in 20 ml prewarmed TEM in a 125 ml culture flask. Incubate overnight at 72 C with shaking at 180 rpm.

2.	Inoculate 2 x 500 ml of prewarmed TEM in 1 liter baffled flasks with 5 ml of overnight. The initial OD600 should be around 0.028. Incubate with shake at 72 C to an OD600 = 0.6-0.8.

3.	Chill the cultures on ice for 20 minutes, then harvest the cells by centrifuging in a GS3 rotor at 5,000 rpm for 15 minutes.

4.	Resuspend the cell pellet in a total of 100 ml H10M10A1000. Pellet the cells in the GS3 rotor at 5,000 rpm for 15 minutes. This wash step is intended to remove any ribonucleases that might be sticking to the cell exterior. Resuspend the cells in 100 ml H10M10A50, pellet again in the GS3. Resuspend the cell pellet in 30 ml H10M10A50 and pellet the cells in a Nalgene screw-cap tube in an SS-34 rotor at 13,000 rpm for 10 minutes. Freeze the cell pellet at -80 C. Typical yield is 2.5 grams from one liter. Be aware that the cell pellets for T. thermophilus are not robust.

5.	Thaw the cell pellet and resuspend it in 2.5 ml H10M10A50 per gram of cells. Add 25 l of 1 mg/ml DNase I (Worthington) and pass once through the French Press set on high at 24,000 psi [1260 on the  gauge]. Collect the lysate in a 30 ml Oakridge tube (red caps).

6.	Pellet the cell debris in a 50.2 Ti rotor at 30,000 rpm, 15 minutes, 4 C.

7.	Transfer the S30 supernatant (around 5-7 ml) avoiding the pellet, to a 15 ml conical tube and add Brij 58 to 0.5 % (1/10 vol of 5 % stock). Incubate on ice for 30 minutes or more.

8.	Layer the S30 over a 10 ml sucrose cushion, H10M10A1000 + 20 % sucrose. Centrifuge in a 50.2 Ti rotor at 40,000 rpm, 4 hours, 4 C. An orange layer of carotenoids and membrane should appear at the interface and a glassy 70S ribosome pellet should be at the bottom of the tube. Rinse the ribosome pellet with H10M10A50 and resuspend it in 1.0 ml of H10M10A50. This may take a while and may require swirling the tube in a beaker with warm water. Microfuge the suspension for 5 minutes and keep the supernatant.

9.	Layer 1 ml of ribosomes onto 15 ml H10M10A50 + 40 % sucrose. Centrifuge in a 50.2 Ti rotor at 30,000 rpm, 14 hours, 4 C.

10.	Dissolve the ribosome pellet in  250 l or less (minimal volume) of H10M10A50. Pellet any remaining debris in the microfuge. Take an  A260, adjust the concentration to 8 pmol/l, dispense into small aliquots (20 l) in small Eppendorf tubes and freeze at -80 C.

H10M10A1000

10 mM Hepes KOH pH7.6			2 ml 1M Hepes KOH pH 7.6

10 mM MgCl2				2 ml 1M MgCl2

1M NH4Cl				40 ml 5M NH4Cl

156 ml H2O

200 ml

H10M10A50

10 mM Hepes KOH pH7.6			2 ml 1M Hepes KOH pH 7.6

10 mM MgCl2				2 ml 1M MgCl2

50 mM NH4Cl				2 ml 5M NH4Cl

194 ml H2O

200 ml

H10M10A1000 + 20 % sucrose

10 mM Hepes KOH pH7.6			1 ml 1M Hepes KOH pH 7.6

10 mM MgCl2				1 ml 1M MgCl2

1M NH4Cl				20 ml 5M NH4Cl

Sucrose					20 g

H2O to 100 ml

100 ml

H10M10A50 + 40 % sucrose

10 mM Hepes KOH pH7.6			2 ml 1M Hepes KOH pH 7.6

10 mM MgCl2				2 ml 1M MgCl2

50 mM NH4Cl				2 ml 5M NH4Cl

Sucrose					80 g

H2O to 200 ml

200 ml

Stock Solutions

Brij 58 stock		5 % (w/v) Brij 58 in H10M10A50

1M MgCl2		203.3 g/mol = 20.33 g/ 100 ml

1M Hepes pH 7.6		238.3 g/mol = 23.83 g/ 100 ml = 47.66 g/ 200 ml

pH with 2.14 g KOH/ 100 ml = 4.28 g/ 200 ml

3M NaOAc pH 7.0	204.15 g NaOAc3H2O/ 500 ml = 3M

122.49 g/ 300 ml = 3M

Make all stock solutions using good H2O and good, clean glassware.

Use disposable plastic pipets, not the glass ones.