## PCR Protocol (updated 7/1/19)

- Acquire and label PCR tubes. Be sure to include at least 1 positive and 1 negative control for each PCR experiment.

- Get a container of ice to keep the components on

- Acquire the following components and put them on ice, labeling tubes if necessary:

  - Molecular grade H2O in 1.5 mL microfuge tube

  - KOD/primestar buffer

  - dNTPs

  - oligo F (10uM)

  - oligo R (10uM)

  - template (eg. LVS gDNA, plasmid, colony, etc.)

  - Note: KOD/primestar enzyme should be kept in the freezer until it is used as it is expensive and should be added last

- Centrifuge the microfuge tubes to get any solution out of the microfuge tube cover

- If any of the solutions are frozen, be sure to vortex the microfuge tube in order to dissolve it (tubes with frozen components may not be homogenized)

  - DO NOT vortex the enzyme itself or any solution with enzyme because vortexing will expose it to oxygen and degrade it

- Use PCR_worksheet.xlsx to make establish the specifics of what will be added

  - The file is located in the Protocols folder

  - Also setup table below to specify which primers and source DNA will be used

- Add appropriate volume (based on PCR worksheet) of each experiment specific primer (forward and reverse) to PCR tubes

- Add ddi H2O to negative control tube

  - Template volume for 1 reaction

- Prepare a master-mix in a 1.5 mL microfuge tube by adding the following according to the worksheet and using micropipettes:

  - Add ddi H2O

  - Add dNTPs

  - Add KOD buffer

  - Add KOD enzyme

- Mix the master-mix solution by pipetting up and down

  - Do not vortex to mix

- Add appropriate volume of master-mix to negative control PCR tube

- Add template to Master Mix

  - Factor template volume minus 1 template reaction volume

- Add appropriate volume of master mix to each PCR tube (except negative control) and pipette up and down to mix (conserves tips)

- Close PCR Tubes until the caps are tight

- Place the PCR Tubes in the thermocycler on STN 1 – the following settings should be in place:

  - Heat at 94 degrees for 2 minutes,

  - 94 degrees C for 20 seconds

  - 50 degrees C for 30 seconds

  - 68 degrees C for 1 minute/kb (adjust based on expected size of product)

  - Go back to step 2

  - Repeat 32x

  - 68 degrees C for 5 minutes

  - 12 degrees C for infinity

| Reaction Number | Plasmid/Region | Source DNA | Primers | Length (bps) |
| --- | --- | --- | --- | --- |
| 1 | rpsU1 | LVS gDNA | P742 and P743 | 1165 |
| 2 | + control | LVS gDNA | KROL15, KROL16 | 441 |
| 3 | - control | - | KROL15, KROL16 | - |