## Receiving Primers Protocol

By: Hannah Trautmann

- Spin primers at maximum speed in tabletop centrifuge for 3 minutes so dessicated primers go to the bottom of the tube.

- Add 0.1x EB to a final concentration of 100 uM. Calculate this by multiplying the reported nm by 10 and adding that volume in ul (i.e. 12.7 nmoles = add 127 uL of 0.1xEB).

- Put on 42C heat block for 5 minutes to help primers dissolve

- Vortex and brief spin.

- Label tubes with KROL numbers on the top and put in the appropriate 100 uM stock box in the -20C freezer.

- Optional: Make dilution for intended purpose of primer.

  - If a PCR primer, make a 10 uM stock by diluting 20 uL of the 100 uM stock into 180 uL of 0.1xEB. Label with purple sticker and put in appropriate freezer box.

  - If a sequencing primer, make a 2.5 uM stock by diluting 5 uL of the 100 uM stock into 195 uL of 0.1x EB. Label with blue sticker and put in appropriate freezer box.

- Put Certificate of Analysis sheet in “Oligos Spec Sheet” binder and shipping sheet in Invoices box.