Running the gel

- Heat samples to 98C for 10 mins. Sonicate if samples are goopy. Allow to cool.

- Thaw prestained ladder, magic mark ladder, and 1xSLB.

- Make running buffer: 400 mL for one gel, 800 mL for two gels

  - Pour 380 mL ddH2O

  - Add 20 mL 20x MES or MOPS

  - Add 1 mL NuPAGE antioxidant

  - Mix

- Make 1:10 dilution of magic mark in 1xSLB. Mix.

- Remove sticker from bottom of gel.

- Assemble gel chamber. Be sure words on gel are facing towards back of chamber.

- Add running buffer to front and back of chamber.

- Remove comb from gel.

- Wash gel wells with 200 uL pipet.

- Load samples and both ladders (diluted magic mark and prestained ladder)

  - Center samples as much as possible.

- Turn power box on 150 V for 1 hour-ish

- Keep 25 mL pipet nearby so if there is any smiling or uneven running of the gel, you can add more running buffer from back of box to central chamber.

Running the transfer

- Prepare transfer buffer (1 gel):

  - Pour 50 mL methanol to 1 L graduated cylinder

  - Add 25 mL of 20x transfer buffer

  - Add water to 500 mL

- Prepare transfer buffer (2 gel):

  - Pour 100 mL methanol to 1 L graduated cylinder

  - Add 50 mL of 20x transfer buffer

  - Add water to 1 L

- Move transfer buffer to freezer while gel runs.

- Rinse all components of transfer apparatus with diH2O

- Cut membrane and filter papers to appropriate size using clean scissors

- Put membrane in FRESH 100% ethanol.

- Take transfer buffer out of freezer

- Add 1 mL antioxidant to transfer buffer (0.5 mL for one gel)

- Add transfer buffer to pyrex and soak sponges, membrane, and filter paper.

- Push bubbles out of all sponges with roller

- Crack gel open

- Cut off wells and bottom ridge with clean razor

- Flip gel onto filter paper (if having trouble, run razor under bottom of gel)

- Lay membrane on top of gel

- Add second filter paper

- Roll out bubbles from sandwich.

- Lay 1 sponge on minus side of transfer apparatus, push out bubbles again

- Add sandwich to transfer apparatus

- Put 1 sponge on top, and push out bubbles again

- Close transfer apparatus

- Rinse gel box with water

- Put transfer apparatus in gel box

- Confirm electrodes are correctly situated in gel box

- Fill center chamber with transfer buffer and fill box with remaining buffer.

- Put gel box in plastic container and pour ice over

- Turn on power box at 20V for 1 hour

Total Protein/Blocking

- If running total protein analysis, refer to Total Protein Quantification Protocol prior to blocking.

  - Wash with TBST 4x for 10 mins each

- Prepare CLEAN blot boxes with 10 mL blocking buffer

- Add 50 uL of NP40 to blocking buffer

- When transfer ends, remove transfer apparatus from the gel box. Use forceps to remove membrane.

- Cut corner of blot (make sure you know which corner so you can tell which side of the blot has your protein – the side that was touching the gel)

- Put in prepared blocking buffer

- Put in fridge overnight (or 1 hour at room temp)

- Thaw appropriate antibodies (if aliquots already prepared) in fridge overnight

Primary and washes

- Take antibodies out of fridge and put on nutator at room temp for at least 5 minutes

- Confirm that there is no precipitation in 50 mL conical tubes. If there is, let nutate longer.

- If preparing new antibodies be sure to include:

  - 10 mL blocking buffer

  - 50 uL NP40

  - Appropriate volume of antibody

- Cut blots as appropriate (usually just below the pink band on prestained ladder). Cut upper left corner of newly cut blots so you know which side protein is on.

- Pour antibodies into square plate holders. Label. Add blots to primaries.

- Put on shaker at room temp for 1 hour

- Prepare wash buffer: 500 mL is plenty for 3-4 cut blots. Make less if you have fewer blots.

  - 50 mL 10X TBS

  - 450 mL diH2O

  - 2.5 mL of NP40

  - Mix over sink so as not to spill

- When timer goes off, carefully pour primary antibodies back into 50 mL conicals and return to freezer.

- Add wash buffer directly to square plate containers with blot.

- Layer paper towels under square plates on shaker.

- Set timer for 10 mins (1st wash)

- Dump wash buffer and add fresh, time 10 mins (2nd wash)

- Dump wash buffer and add fresh, time 10 mins (3rd wash)

- Dump wash buffer and add fresh, time 10 mins (4th wash)

- Dump wash buffer

Blocking, secondary, and washes

- Add 10 mL of blocking buffer to each blot

- Add 50 uL of NP-40

- Put on shaker at room temp and time 30 mins

- Meanwhile, spin down secondary antibodies for 2 mins at 10,000 rpm at 4C

- Dump blocking buffer down sink

- Add 10 mL of blocking buffer to each blot

- Add 50 uL of NP-40

- Add 2 uL anti-mouse or anti-rabbit (for 1:5,000 dilutions; or add 1 uL for 1:10,000) taking from top of tubes

- Put on shaker at room temp and time 1 hour

- Dump secondary down sink

- Add wash buffer directly to square plate containers with blot.

- Layer paper towels under square plates on shaker.

- Set timer for 10 mins (1st wash)

- Dump wash buffer and add fresh, time 10 mins (2nd wash)

- Dump wash buffer and add fresh, time 10 mins (3rd wash)

- Dump wash buffer and add fresh, time 10 mins (4th wash)

Developing (film)

- During fourth wash, bring supplies over to dark room: Scissors, forceps, blots themselves, pico, waste bin, pipet aid, paper towels.

- Get dark room key from Howlett lab.

- As soon as you get to the dark room, check the chemicals are all full enough and waste containers aren’t overflowing.

- Prepare an area on counter with saran wrap taped in corners

- Clean saran wrap with ethanol and kim wipes

- When fourth wash is done, dump wash buffer down drain.

- Add 5 mL clear developer to blots.

- Add 5 mL light-sensitive developer to blots

- Put on nutator with paper towels so they don’t move too much, and set timer for 5 minutes

- When timer goes off, use forceps to pick up blots

- Lightly dab on kimwipes

- Lay on saran wrap with cut in the upper left corner so protein is on top

- Fold over saran wrap

- Use kimwipes to push out any possible bubbles

- Tape into cassette near top so you know where to align the film

- Expose first film for 30 seconds, run through developer, then increase or decrease time depending on how it looks

Developing (Sapphire)

- When fourth wash is done, dump wash buffer down drain.

- Add 5 mL clear developer to blots.

- Add 5 mL light-sensitive developer to blots

- Time 5 minutes on nutator

- Bring flash drive, goggles, gloves, forceps, roller, and blots to INBRE core.

- Clean imager and white side of cover with ethanol and kim wipes.

- Place one blot protein side down on glass, making sure to avoid too much water. Roll out any bubbles.

- Expose one blot at a time, starting with 90 sec exposure.