## Polysome Isolation E. coli

Protocol Based on Johnson and Li (2018)

Cell Harvesting

- Inoculate medium from a single colony and grow overnight at 37C

- Back dilute overnight culture to OD600=0.001 in 200-250 mL prewarmed medium and shake at 37C (>6 doublings before collection)

- Bring all equipment needed for cell harvesting to 37C

- Collect cells when density reaches OD600 = 0.3 (it is important cells are still in steady-state growth)

- Rapidly filter liquid culture. When liquid has filtered through, immediately turn off vacuum and remove top of filtration apparatus. Scrape cells off filter in a single motion in <1s using the long edge of a prewarmed reagent digger. Transfer immediately to a 50 mL conical tube prefilled with and stored in liquid N2.

- Use a prechilled flat head spatula to scrape cells into tube, keeping cells submersed in liquid N2 at all times. The frozen pellet should be at least 10 uL in volume.

- Poke holes through cap of tube. Cap tube and tilt to dispense liquid N2.

- Store tube at -80C.

Cell Lysis

- Prepare lysis buffer immediately before use:

| Ingredient | Final Conc. | Stock Conc. | Volume (uL) |
| --- | --- | --- | --- |
| Tris pH 8.0 | 20 mM | 1 M | 30 |
| NH4Cl | 100 mM | 1 M | 150 |
| MgCl2 | 10 mM | 1 M | 15 |
| Triton X-100 | 0.4% | 25% | 24 |
| NP-40 | 0.1% | 10% | 15 |
| Chloramphenicol | 1 mM | 155 mM | 10 |
| RNase-free DNase | 100 U/mL | 1 U/uL | 150 |
| Nuclease-free H2O |  |  | 1106 |
| Final volume |  |  | 1500 uL |

- Pellet lysis buffer by slowly pipetting 650 uL into a 50-mL conical tube filled with liquid N2. Wait for each pellet to sink before pipetting next pellet to prevent clumping.

- Clean 10 mL mixer mill canister with Millipore water and EtOH. Use compressed air to blow dry. Make sure no residual water droplets are left. Fully cool in liquid N2.

- Combine the lysis pellets with the flash-frozen cells in the canister.

- Mixer mill five times at 15 Hz for 3 min. Cool in liquid N2 between each round.

- Open the canister and keep in a shallow water bath to thaw. Transfer lysate to 1.5 mL tube as soon as thawed and keep on ice.

Monosome Isolation

- Prepare sucrose solutions (can be made 1 day prior but chloramphenicol should be added day of):

| Ingredient | Final Conc. | Stock Conc. | Volume for 55% | Volume for 10% |
| --- | --- | --- | --- | --- |
| Sucrose | 10% or 55% |  | 16.5 g | 3 g |
| Tris pH 8.0 | 20 mM | 1 M | 600 uL | 600 uL |
| NH4Cl | 100 mM | 1 M | 3 mL | 3 mL |
| MgCl2 | 10 mM | 1 M | 300 uL | 300 uL |
| Chloramphenicol | 1 mM | 155 mM | 195 uL | 195 uL |
| Nuclease-free H2O |  |  | Up to 30 mL | Up to 30 mL |
| Final volume | 30 mL |  | 30 mL | 30 mL |

- Layer 55% sucrose below 10% sucrose in SEtun tubes. Use marker block provided with gradient maker.

- Make the gradient using preprogrammed 10-50 short program on gradient station.

- Prechill the gradients, tubes, buckets, rotor, and ultracentrifuge to 4C.

- Load samples onto gradients at 4C.

- Balance with lysis buffer.

- Spin in ultracentrifuge at 35,000 rpm for 2.5 h at 4C.

- Fractionate at 0.2 mm/s. Measure A260 every second using UV monitor.

- Collect monosomes in 2 mL cryovials.

- Flash freeze and store at -80C.