(NS)5 Oligo preparation

(Per Lory lab microarray protocol)

1. Order 5 - 10 tubes of NS5 oligo from Invitrogen / Life Technologies:

Custom DNA oligos

25 nmol scale

dry

standard desalting

Sequence:

5' NSNSNSNSNS 3'

Use RNase-free technique when handling oligos

2. Spin tubes 3' at max speed

3. Calculate amount of RNase-free water to add to each tube (total ng synthesized divided by 250 for final concentration of 250 ng/ul)

4. Add RNase-free water, vortex, spin down

5. Incubate tubes at 42°C for 5-10 min (to help oligos get into solution)

6. Vortex tubes, spin down

7. Combine the volume from all the tubes into a single tube

8. Vortex, spin down

9. Aliquot 50 ul per 0.5 ml RNase-free tube, labeled "NS5" (don't use spots, they'll fall off)

10. Store aliquots at -80°C