## Population Analysis Assay (microplate method)

Based on Barnes et a,l 2023

Methods:

- Grow overnight cultures of S. aureus strains.

- The next day, back-dilute cultures to an OD600 of 0.3

- Prepare BHI broth with antibiotics by making the medium 2X the highest drug concentration in test range.

- In a 96-well plate, add 100ul of BHI with antibiotics to each well in Row A using a multi-channel pipet.

- In Rows B-H add 50ul of BHI without antibiotics

- Perform a serial two-fold dilution by adding 50ul of BHI with antibiotics from wells in Row A to the Row B.

- Continue the serial dilution until Row F.

- Perform a ten-fold serial dilution of bacterial cultures by adding 10ul of overnight cultures to 990ul of BHI to create a 10-2 dilution, then add 100ul of that dilution to 900ul of new BHI for a dilution of 10-3.

- Add 50ul of each bacterial dilution to the wells in the appropriate columns (i.e. 10-2 to the wells in Columns 1 and 7).

- Incubate plate at 37ºC for 20 hours.

|  |  |  | Bacteria Concentration |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 5.00E-02 | 5.00E-03 | 5.00E-04 | 5.00E-05 | 5.00E-06 | 5.00E-07 | 5.00E-02 | 5.00E-03 | 5.00E-04 | 5.00E-05 | 5.00E-06 | 5.00E-07 |
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |
| Antibiotic Concentration | 256 | A |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 128 | B |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 64 | C |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 32 | D |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 16 | E |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 8 | F |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 0 | G | BHI no antibiotic with bacteria |  |  |  |  |  |  |  |  |  |  |  |
|  | Blank | H | BHI no antibiotic no bacteria |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Replicate 1 |  |  |  |  |  | Replicate 2 |  |  |  |  |  |