## ZymoPrep Yeast Plasmid MiniPrep

Optimized by: Hannah Trautmann

- Aliquot 3x 1.5 mL of the yeast cells (early log phase, total of 4.5 mL) into 2 ml microfuge tubes and spin down the cells at 600 x g for 3 minutes.

- Discard the supernatant and add 200 ul Solution 1 to each pellet and add 3 ul Zymolyase. Resuspend pellet by flicking tube or mild vortexing. Note: If running multiple samples, can make a solution 1-enyzme mixture by combining 15 ul of Zymolyase with 1 mL of Solution 1, then adding 200 ul to each pellet. If cells are from stationary phase, add more Zymolyase to ensure efficient lysis.

- Incubate at 37C for 30 minutes. Then add ~100 ul of glass beads and strap tubes to a vortex set to high speed to help lyse cells, for 30 additional minutes.

- Add 200 ul Solution 2 to each tube and mix well.

- Add 400 ul Solution 3 to each tube and mix well. Centrifuge at maximum speed for 3 minutes.

- Transfer the supernatant from one tube to the Zymo-Spin I Column in a collection tube and centrifuge at >10,000 x g for 30 seconds. Add supernatant from next tube and centrifuge again until entire culture has been added to one column.

- Discard the flow-through and ensure the flow-through does not come into contact with the column tip.

- Add 550 ul DNA Wash Buffer to the Spin Column and centrifuge at >10,000 x g for 2 minutes. Discard the flow-through. Spin for 3 more minutes to remove residual ethanol.

- Place the Spin Column in a clean 1.5 mL microcentrifuge tube and add 15 ul of 0.1xEB. Allow to sit for 5 minutes. Centrifuge at 10,000 x g for 1 minute to elute the plasmid DNA. Put the eluate back on the column, let sit, and centrifuge again