# Real-time PCR programs

GSC computer login:

K_Ramsey Lab

Password:

Roche480

## Standard Roche (3-step amplification) (generally don’t use)

- 95°C	10’

- 95°C	10”

- 60°C	10”

- 72°C	10”

- Go to step 2, 44x (total 45 cycles)

Melt curve (95°C 10”, 65°C 60”, 97°C 60” with continuous ramp)

## Old StepOne Plus (2-step amplification)

- 95°C	10’

- 95°C	15”

- 60°C	60”

- Go to step 2, 39x (total 40 cycles)

- 95°C	10”

- 65°C	60”

- 97°C	60”

Melt curve (95°C 10”, 65°C 60”, 97°C 60” with continuous ramp)