Table of Contents

May 2022	4

PCR of pKR116 for fragment to be used in pKR135, EV	4

PCR of pKR113 for fragment to be used in pKR135, EV	6

Note.	7

DNA Digest of pKR113 PCR Fragment w/KpnI and BamHI	7

Gel of Digested pKR113 PCR Fragment and PCR Positive and Negative Control	8

Visualizing and Cutting Gel	8

Gel Extraction with QIAquick Gel Extraction Kit	8

Note.	9

PCR of pKR113 to Troubleshoot Band Size Discrepancy	9

Note.	10

Gel of PCR Fragment of Diluted pKR113	10

Receiving and Dissolving Primers	10

Diluting Primers	11

PCR of pFTR3-rpsu1-V gBlock and KRLVS156 Triple Mutant	11

Gel of PCR Fragment from pFTR3-rpsu1-V gBlock and KRLVS156	12

Reagents	14

Electroporate plasmid into EC cells*	15

Note.	15

Note.	15

Diluting Primers	15

Note.	15

PCR of Diluted pKR113 w/Re-Diluted PCR Primers	15

Gel of PCR Fragment from Diluted pKR113 Plasmid and Re-Diluted Primers	17

PCR of pKR113 w/Re-Diluted PCR Primers	18

PCR Purification	19

DNA Digest of pKR113 PCR Fragment w/KpnI and BamHI	19

Gel of Digested pKR113 PCR Fragment and PCR Positive and Negative Control	20

Note.	20

PCR of Inducible Strains	21

Freeze down strains	22

Reagents	22

PCR of iLOV-V and LanYFP-V gBlock	23

PCR Purification of iLOV-V and LanYFP-V	24

Note.	24

DNA Digest of pKR113 PCR Fragment w/KpnI and BamHI	24

Visualizing and Cutting Gel	25

Note.	25

Gel Extraction with QIAquick Gel Extraction Kit	25

Note.	26

Reagents	26

DNA Digest of iLOV-V, LanYFP-V, and pF w/EcoRI and BamHI	26

Gel of Digested pKR113 PCR Fragment and PCR Positive and Negative Control	27

Visualizing and Cutting Gel	27

Gel Extraction with QIAquick Gel Extraction Kit	27

PCR of Inducible Strains	28

Making 2% Agarose Gel	29

Running 2% Gel of Inducible Strains	29

PCR Purification of Inducible Strains	29

PCR of Inducible Strains	30

Making 2% Agarose Gel	31

Running 2% Gel of Inducible Strains	31

June 2022	33

Ligation of EV and pKR113 backbone	34

Transformation of EV Ligation into E. coli	34

Re-Diluting KROL15 and KROL16	35

Note.	35

Reagents	35

PCR of Inducible Strains	36

Making 2% Agarose Gel	37

Running 2% Gel of Inducible Strains	37

PCR Purification of Inducible Strains	37

Ligation of EV and pKR113 backbone	38

Transformation of EV Ligation into E. coli	38

Reagents	39

Bibliography	41

# May 2022

Sunday, May 1, 2022

To Do:

Results and Data:

## PCR of pKR116 for fragment to be used in pKR135, EV

- Acquired and labelled PCR tubes: pKR113, positive and negative control.

- Get a container of ice to keep the components on

- Acquire the following components and put them on ice, labeling tubes if necessary:

  - Molecular grade H2O in 1.5 mL microfuge tube

  - Primestar buffer

  - dNTPs

  - KROL15, KROL495, KROL16, KROL496 (10uM)

  - pKR116 and LVS gDNA

  - Note: Primestar enzyme kept in the freezer until it is used-- added last

- If any of the solutions are frozen, be sure to vortex the microcentrifuge tube in order to dissolve it (tubes with frozen components may not be homogenized)

  - DO NOT vortex the enzyme itself or any solution with enzyme because vortexing will expose it to oxygen and degrade it

- Add appropriate volume (based on PCR worksheet) of each experiment specific primer (forward and reverse) to PCR tubes

- Add ddi H2O to negative control tube

  - Template volume for 1 reaction

- Prepare a master-mix in a 1.5 mL microcentrifuge tube by adding the following according to the worksheet and using micropipettes:

  - Add ddi H2O

  - Add dNTPs

  - Add Primestar buffer

  - Add Primestar enzyme

- Mix the master-mix solution by pipetting up and down

  - Do not vortex to mix

- Add appropriate volume of master-mix to negative control PCR tube

- Add template to Master Mix

  - Factor template volume minus 1 template reaction volume

- Add appropriate volume of master mix to each PCR tube (except negative control) and pipet up and down to mix

- Close PCR Tubes until the caps are tight

- Place the PCR Tubes in the thermocycler on STN 1 – the following settings should be in place:

  - Heat at 94 degrees for 2 minutes,

  - 94 degrees C for 20 seconds

  - 50 degrees C for 30 seconds

  - 68 degrees C for 15 seconds

  - Go back to step 2

  - Repeat 32x

  - 68 degrees C for 5 minutes

  - 12 degrees C for infinity

| Total reaction volume | 100 |
| --- | --- |
| Total number of reactions | 3 |
|  |  |  |  | Factor |
| Component | Stock concentration | Final concentration | 1 rxn volume | 4 |
| ddiH2O |  |  | 62.0 | 248.0 |
| PrimeSTAR GXL Buffer | 5x | 1x | 20.0 | 80.0 |
| dNTPs | 2.5 mM | 0.2 mM | 8.0 | 32.0 |
| oligo F | 10 uM | 0.3 uM | 3.0 |  |
| oligo R | 10 uM | 0.3 uM | 3.0 |  |
| template | 100 ng/ul | 2 ng/ul | 2.0 |  |
| PrimeSTAR GXL DNA Polymerase | 1.25 U/ul | 0.025 U/ul | 2.0 | 4.8 |
|  |  | Total volume | 100.0 | 400.0 |

| Reaction Number | Plasmid/Region | Source DNA | Primers | Length (bps) |
| --- | --- | --- | --- | --- |
| 1 | + control | LVS gDNA | KROL 15, KROL16 | 441 |
| 2 | EV | pKR116 | KROL495, KROL496 | 245 |
| 3 | - control | - | KROL495, KROL496 | - |

Monday, May 2, 2022

To Do:

Results and Data:

Tuesday, May 3, 2022

To Do:

- PCR of pKR113 for EV

- PCR Purification

- Restriction Digest

- Gel of RD

- Gel extraction + purification

- Ligation

- Count transformation plates

- Start overnight cultures of iLOV+VSVG and LanYFP+VSVG transformants

Results and Data:

## PCR of pKR113 for fragment to be used in pKR135, EV

- Acquired and labelled PCR tubes: pKR113, positive and negative control.

- Get a container of ice to keep the components on

- Acquire the following components and put them on ice, labeling tubes if necessary:

  - Molecular grade H2O in 1.5 mL microfuge tube

  - Primestar buffer

  - dNTPs

  - KROL15, KROL495, KROL16, KROL496 (10uM)

  - pKR113 and LVS gDNA

  - Note: Primestar enzyme kept in the freezer until it is used-- added last

- If any of the solutions are frozen, be sure to vortex the microcentrifuge tube in order to dissolve it (tubes with frozen components may not be homogenized)

  - DO NOT vortex the enzyme itself or any solution with enzyme because vortexing will expose it to oxygen and degrade it

- Add appropriate volume (based on PCR worksheet) of each experiment specific primer (forward and reverse) to PCR tubes

- Add ddi H2O to negative control tube

  - Template volume for 1 reaction

- Prepare a master-mix in a 1.5 mL microcentrifuge tube by adding the following according to the worksheet and using micropipettes:

  - Add ddi H2O

  - Add dNTPs

  - Add Primestar buffer

  - Add Primestar enzyme

- Mix the master-mix solution by pipetting up and down

  - Do not vortex to mix

- Add appropriate volume of master-mix to negative control PCR tube

- Add template to Master Mix

  - Factor template volume minus 1 template reaction volume

- Add appropriate volume of master mix to each PCR tube (except negative control) and pipet up and down to mix

- Close PCR Tubes until the caps are tight

- Place the PCR Tubes in the thermocycler on STN 1 – the following settings should be in place:

  - Heat at 94 degrees for 2 minutes,

  - 94 degrees C for 20 seconds

  - 50 degrees C for 30 seconds

  - 68 degrees C for 15 seconds

  - Go back to step 2

  - Repeat 32x

  - 68 degrees C for 5 minutes

  - 12 degrees C for infinity

| Total reaction volume | 100 |
| --- | --- |
| Total number of reactions | 3 |
|  |  |  |  | Factor |
| Component | Stock concentration | Final concentration | 1 rxn volume | 4 |
| ddiH2O |  |  | 62.0 | 248.0 |
| PrimeSTAR GXL Buffer | 5x | 1x | 20.0 | 80.0 |
| dNTPs | 2.5 mM | 0.2 mM | 8.0 | 32.0 |
| oligo F | 10 uM | 0.3 uM | 3.0 |  |
| oligo R | 10 uM | 0.3 uM | 3.0 |  |
| template | 100 ng/ul | 2 ng/ul | 2.0 |  |
| PrimeSTAR GXL DNA Polymerase | 1.25 U/ul | 0.025 U/ul | 2.0 | 4.8 |
|  |  | Total volume | 100.0 | 400.0 |

| Reaction Number | Plasmid/Region | Source DNA | Primers | Length (bps) |
| --- | --- | --- | --- | --- |
| 1 | + control | LVS gDNA | KROL 15, KROL16 | 441 |
| 2 | EV | pKR113 | KROL495, KROL496 | 245 |
| 3 | - control | - | KROL495, KROL496 | - |

Note. Forgot to PCR purify because I am DUMB and didn’t double check my to-do list 😊. Might reduce the power of the ligation, but I’ll go forward and try it.

## DNA Digest of pKR113 PCR Fragment w/KpnI and BamHI

- Make a reaction table with desired digests:

| Tube | DNA | Enzyme(s) | DNA Volume (uL) | H2O Volume (uL) |
| --- | --- | --- | --- | --- |
| 1 | pKR113 PCR | Kpn1, BamH1 | 15 | - |

- Set up master mix table:

| Components | Volumes in 1 reaction (uL) |
| --- | --- |
| H2O | 10.8 |
| 10x Buffer (Cutsmart) | 3.0 |
| DNA | (15.0) |
| Kpn1 | 0.6 |
| BamH1 | 0.6 |
| Total | 30.0 (15.0 actual b/c of DNA) |

- Add indicated amounts of H2O, 10x buffer, and DNA to individual tube for digest (1.5 mL microfuge tubes for digest in incubator).

- Add indicated amount of each enzyme (0.6 uL) to the tube.

- Mix by pipetting up and down.

- Incubate at 37°C for 1 hour.

## Gel of Digested pKR113 PCR Fragment and PCR Positive and Negative Control

- Melt agarose gel until completely dissolved, then place in 50°C water bath until cool enough to touch.

- Set up gel rig to cast gel, with ladder.

- Add 6uL of Sbyr Safe dye to gel rig, pour ~60uL of agarose gel, use ladder to mix, then replace ladder and allow to set.

- Turn gel, add used TAE, remove ladder.

- Loaded 15 uL ladder, and 36 uL of positive, negative, and digested pKR113.

- Ran for 45 minutes at 113V.

## Visualizing and Cutting Gel

- Using Bio Rad Gel Doc XR+ imager equipped with XcitaBlue Conversion Screen

- Nucleic Acid Gel > Sybr Safe

- To cut gel, put on visualizing UV glasses and use a clean razor, cutting straight down. Add to 2mL tube.

## Gel Extraction with QIAquick Gel Extraction Kit

- Excise the DNA fragment from the agarose gel with a clean, sharp razor

- Weigh the gel slice in a colorless tube. Add 3 volumes Buffer QG to 1 volume gel. (100mg~100uL)

- Incubate at 42C for 10 minutes or until slice is dissolved. Vortex every 2-3min to help slice dissolve.

- Add 1 gel volume isopropanol to the sample and mix.

- Place a QIAquick spin column in a 2mL collection tube. Centrifuge for 1 min at 13,000rpm. Discard flow through. For samples >800uL, load and spin the rest of the volume.

- Add 500uL Buffer QG to the QIAquick column. Centrifuge for 1 min at 13,000rpm. Discard flow through. Place back into the same tube.

- Wash: Add 750uL Buffer PE to the QIAquick column. Centrifuge at 1 min at 13,000rpm. Discard flow through. Place back into the same tube. Centrifuge again for 3 minutes. Discard flow through.

- Place columns in a fresh 1.5mL microcentrifuge tube.

- Elute: Add 30uL Buffer EB .01x and let stand for 1-4 minutes. Centrifuge for 1 min at 13,000rpm.

| Component | Weight | Buffer QG 3 vol (uL) | Isopropanol 1 vol (uL) |
| --- | --- | --- | --- |
| pKR113 PCR Frag | 90mg | 270uL | 90uL |

Thursday, May 5, 2022

To Do:

- 20 uL PCR of pKR113 to troubleshoot for EV

Results and Data:

Note. Made 1:100 dilution of pKR113 stock to use for PCR- large band could just be plasmid DNA since there is so much of it in the stock.

## PCR of pKR113 to Troubleshoot Band Size Discrepancy

- Acquired and labelled PCR tubes: pKR113, positive and negative control.

- Get a container of ice to keep the components on

- Acquire the following components and put them on ice, labeling tubes if necessary:

  - Molecular grade H2O in 1.5 mL microfuge tube

  - Primestar buffer

  - dNTPs

  - KROL15, KROL495, KROL16, KROL496 (10uM)

  - pKR113 and LVS gDNA

  - Note: Primestar enzyme kept in the freezer until it is used-- added last

- If any of the solutions are frozen, be sure to vortex the microcentrifuge tube in order to dissolve it (tubes with frozen components may not be homogenized)

  - NOT vortexing the enzyme as it will expose it to oxygen and degrade it

- Add appropriate volume (based on PCR worksheet) of each experiment specific primer (forward and reverse) to PCR tubes

- Add ddi H2O to negative control tube

  - Template volume for 1 reaction

- Prepare a master-mix in a 1.5 mL microcentrifuge tube by adding the following according to the worksheet and using micropipettes:

  - Add ddi H2O

  - Add dNTPs

  - Add Primestar buffer

  - Add Primestar enzyme

- Mix the master-mix solution by pipetting up and down

  - Do not vortex to mix

- Add appropriate volume of master-mix to negative control PCR tube

- Add template to Master Mix

  - Factor template volume minus 1 template reaction volume

- Add appropriate volume of master mix to each PCR tube (except negative control) and pipet up and down to mix

- Close PCR Tubes until the caps are tight

- Place the PCR Tubes in the thermocycler on STN 1 – the following settings should be in place:

  - Heat at 94 degrees for 2 minutes,

  - 94 degrees C for 20 seconds

  - 50 degrees C for 30 seconds

  - 68 degrees C for 30 seconds

    - Note: Changed extension time to 30 seconds since 245 bp is SO close to 250

  - Go back to step 2

  - Repeat 32x

  - 68 degrees C for 5 minutes

  - 12 degrees C for infinity

| Total reaction volume | 20 |  |  |  |
| --- | --- | --- | --- | --- |
| Total number of reactions | 3 |  |  |  |
|  |  |  |  | Factor |
| Component | Stock concentration | Final concentration | 1 rxn volume | 4 |
| ddiH2O |  |  | 12.4 | 49.6 |
| PrimeSTAR GXL Buffer | 5x | 1x | 4.0 | 16 |
| dNTPs | 2.5 mM | 0.2 mM | 1.6 | 6.4 |
| oligo F | 10 uM | 0.3 uM | 0.6 | 2.4 |
| oligo R | 10 uM | 0.3 uM | 0.6 | 2.4 |
| template | 100 ng/ul | 2 ng/ul | 0.4 |  |
| PrimeSTAR GXL DNA Polymerase | 1.25 U/ul | 0.025 U/ul | 0.4 | 1.6 |
|  |  | Total volume | 20 | 78.4 |

| Reaction Number | Plasmid/Region | Source DNA | Primers | Length (bps) |
| --- | --- | --- | --- | --- |
| 1 | + control | LVS gDNA | KROL 15, KROL16 | 441 |
| 2 | EV | pKR113 | KROL495, KROL496 | 245 |
| 3 | - control | - | KROL15, KROL16 | - |

Note. pKR113 promoter region not amplified. Based on the previous gels, it was probably just ample amount of plasmid DNA (since it wasn’t dilute) which makes sense as to why it had a backbone-like banding pattern when restriction digested. It might simply be an issue with trying to amplify off of the plasmid, so instead going to try to amplify the promoter region from the gBlock pFTR3-rpsU1-V, which appears to work based on SnapGene with KROL495 and KROL496. There is just a little bit of hanging primer at the start of the gBlock, but I don’t see why it shouldn’t still anneal so I will go forward with that.

## Gel of PCR Fragment of Diluted pKR113

- Melt agarose gel until completely dissolved, then place in 50°C water bath until cool enough to touch.

- Set up gel rig to cast gel, with ladder.

- Add 6uL of Sbyr Safe dye to gel rig, pour ~60uL of agarose gel, use ladder to mix, then replace ladder and allow to set.

- Turn gel, add used TAE, remove ladder.

- Loaded 15 uL ladder, and 36 uL of positive, negative, and amplified diluted pKR113.

- Ran for 45 minutes at 113V.

## Receiving and Dissolving Primers

- Spin primers at maximum speed in tabletop centrifuge for 3 minutes so dessicated primers go to the bottom of the tube.

- Add 0.1x EB to a final concentration of 100 uM. Calculate this by multiplying the reported nm by 10 and adding that volume in ul (i.e. 12.7 nmoles = add 127 uL of 0.1xEB).

- Put on 42C heat block for 5 minutes to help primers dissolve

- Vortex and brief spin.

- Label tubes with KROL numbers on the top and put in the appropriate 100 uM stock box in the -20C freezer.

- Put Certificate of Analysis sheet in “Oligos Spec Sheet” binder and shipping sheet in Invoices box.

## Diluting Primers

- Make dilution for intended purpose of primer.

  - If a PCR primer, make a 10 uM stock by diluting 20 uL of the 100 uM stock into 180 uL of 0.1xEB. Label with purple sticker and put in appropriate freezer box.

## PCR of pFTR3-rpsu1-V gBlock and KRLVS156 Triple Mutant

- Acquired and labelled PCR tubes: EV, 141, positive and negative control.

- Get a container of ice to keep the components on

- Acquire the following components and put them on ice, labeling tubes if necessary:

  - Molecular grade H2O in 1.5 mL microfuge tube

  - Primestar buffer

  - dNTPs

  - KROL15, KROL495, KROL16, KROL496, KROL514, KROL515 (10uM)

  - pFTR3-rpsu1-V gBlock, KRLVS156 gDNA, and LVS gDNA

  - Note: Primestar enzyme kept in the freezer until it is used-- added last

- If any of the solutions are frozen, be sure to vortex the microcentrifuge tube in order to dissolve it (tubes with frozen components may not be homogenized)

  - NOT vortexing the enzyme as it will expose it to oxygen and degrade it

- Add appropriate volume (based on PCR worksheet) of each experiment specific primer (forward and reverse) to PCR tubes

- Add ddi H2O to negative control tube

  - Template volume for 1 reaction

- Prepare a master-mix in a 1.5 mL microcentrifuge tube by adding the following according to the worksheet and using micropipettes:

  - Add ddi H2O

  - Add dNTPs

  - Add Primestar buffer

  - Add Primestar enzyme

- Mix the master-mix solution by pipetting up and down

  - Do not vortex to mix

- Add appropriate volume of master-mix to negative control PCR tube

- Add template to Master Mix

  - Factor template volume minus 1 template reaction volume

- Add appropriate volume of master mix to each PCR tube (except negative control) and pipet up and down to mix

- Close PCR Tubes until the caps are tight

- Place the PCR Tubes in the thermocycler on STN 1 – the following settings should be in place:

  - Heat at 94 degrees for 2 minutes,

  - 94 degrees C for 20 seconds

  - 50 degrees C for 30 seconds

  - 68 degrees C for 30 seconds

    - Note: Changed extension time to 30 seconds since 245 bp is SO close to 250

  - Go back to step 2

  - Repeat 32x

  - 68 degrees C for 5 minutes

  - 12 degrees C for infinity

| Total reaction volume | 20 |  |  |  |
| --- | --- | --- | --- | --- |
| Total number of reactions | 4 |  |  |  |
|  |  |  |  | Factor |
| Component | Stock concentration | Final concentration | 1 rxn volume | 5 |
| ddiH2O |  |  | 12.4 | 62 |
| PrimeSTAR GXL Buffer | 5x | 1x | 4.0 | 20 |
| dNTPs | 2.5 mM | 0.2 mM | 1.6 | 8 |
| oligo F | 10 uM | 0.3 uM | 0.6 |  |
| oligo R | 10 uM | 0.3 uM | 0.6 |  |
| template | 100 ng/ul | 2 ng/ul | 0.4 |  |
| PrimeSTAR GXL DNA Polymerase | 1.25 U/ul | 0.025 U/ul | 0.4 | 2 |
|  |  | Total volume | 20 | 92 |

| Reaction Number | Plasmid/Region | Source DNA | Primers | Length (bps) |
| --- | --- | --- | --- | --- |
| 1 | + control | LVS gDNA | KROL 15, KROL16 | 441 |
| 2 | - control | - | KROL15, KROL16 | - |
| 3 | EV | gBlock | KROL495, KROL496 | 245 |
| 4 | KRLVS156 | KRLVS156 | KROL514, KROL515 | 277 |

Thursday, May 5, 2022

To Do:

- 20 uL PCR of pKR113 to troubleshoot for EV

Results and Data:

## Gel of PCR Fragment from pFTR3-rpsu1-V gBlock and KRLVS156

- Melt agarose gel until completely dissolved, then place in 50°C water bath until cool enough to touch.

- Set up gel rig to cast gel, with ladder.

- Add 6uL of Sbyr Safe dye to gel rig, pour ~60uL of agarose gel, use ladder to mix, then replace ladder and allow to set.

- Turn gel, add used TAE, remove ladder.

- Loaded 15 uL ladder, and 24 uL of positive, negative, pFTR3-rpsu1-V gBlock fragment, and KRLVS156 gDNA KROL514 and 515 amplified.

- Ran for 45 minutes at 113V.

Monday, May 9, 2022

To Do:

- Make 2.5% iron pyrophosphate

- Supplement MHB

- Make LB+Kan plates

- Start dishwasher

Results and Data:

### Reagents

Mueller Hinton Broth (500 mL)

To supplement add:

5mL of 10% glucose

5mL of 2.5% iron pyrophosphate

isovitalex (combine 10mL from liquid vial with solids, add entire volume to broth)

Can keep this supplemented media for 2 weeks, storing at 4  ̊C

2.5% Iron pyrophosphate

1.25g iron pyrophosphate (cabinet) in 50mL of ddiH2O (type 1), dissolved overnight, fresh solution every 2 weeks

LB Agar + Kanamycin

Melt LB agar and then cool at 56°C

0.5 mL 50 ug/mL Kanamycin

Pour plates (24 mL)

Friday, May 20, 2022

To Do:

- Electroporate LanYFP and iLOV into LVS

- Remake KROL495 and KROL496

- PCR of EV stuff

Results and Data:

## Electroporate plasmid into EC cells*

- For each electroporation, aliquot 4 mL MHB into glass test tubes for recovery, warm in shaker at 37°C

- For each electroporation, in a 2 mm sterile electroporation cuvette, combine:

3 μL of iLOV and LanYFP plasmid DNA

50 μL electrocompetent cells

- Have recovery media ready

- Electroporate using the EC2 program

- Immediately after individual electroporations, use 1 mL warm recovery media from test tube to wash cells out of cuvette and transfer cells to recovery test tube

- Recover cells for 2-3 hours, shaking at 37°C

- Plate on CHAH-Kan plates, using 1 plate for each 2 mL tube (2 plates per electroporation)

  - Plated 10 uL and 200 uL of each, straight from recovery tube (because pF plasmid)

- Incubate plates at 37°C for 3 days (or until single colonies appear)

Note. Both arced, Hannah thinks they will be okay since they’re pF plasmids, which are super efficient. Did not include a negative control, as there were not enough cells, maybe. Took iLOV cells from recovery at ~2.5 hours and LanYFP at ~2.75 hours. Plated 10 uL and 200 uL rather than remaining due to pF efficiency.

Note. Should have single colonies by Monday, will patch four onto a single CHAH+Kan plate and freeze down for permanent strains. Should also check on our Gel Doc as we might be able to see the fluorescence. Additionally, will want to check on the plate reader in MRamsey lab, need to reach out and ask for permission/training.

## Diluting Primers

- Make dilution for intended purpose of primer.

  - If a PCR primer, make a 10 uM stock by diluting 20 uL of the 100 uM stock into 180 uL of 0.1xEB. Label with purple sticker and put in appropriate freezer box.

Note. Re-diluted PCR primer set of KROL495 and KROL496 from the master stock, as when I did it the first time I had no diluted on the same day I received the primers. Due to the odd tube, it’s possible that the master had not fully thawed by the time I made the dilution, and I also don’t think I vortexed so probably a bad time.

## PCR of Diluted pKR113 w/Re-Diluted PCR Primers

- Acquired and labelled PCR tubes: EV, positive and negative control.

- Get a container of ice to keep the components on

- Acquire the following components and put them on ice, labeling tubes if necessary:

  - Molecular grade H2O in 1.5 mL microfuge tube

  - Primestar buffer

  - dNTPs

  - KROL15, KROL495, KROL16, KROL496, (10uM)

  - Diluted pKR113 and LVS gDNA

  - Note: Primestar enzyme kept in the freezer until it is used-- added last

- If any of the solutions are frozen, be sure to vortex the microcentrifuge tube in order to dissolve it (tubes with frozen components may not be homogenized)

  - NOT vortexing the enzyme as it will expose it to oxygen and degrade it

- Add appropriate volume (based on PCR worksheet) of each experiment specific primer (forward and reverse) and respective template to PCR tubes

- Add ddi H2O to negative control tube

  - Template volume for 1 reaction

- Prepare a master-mix in a 1.5 mL microcentrifuge tube by adding the following according to the worksheet and using micropipettes:

  - Add ddi H2O

  - Add dNTPs

  - Add Primestar buffer

  - Add Primestar enzyme

- Mix the master-mix solution by pipetting up and down

  - Do not vortex to mix

- Add appropriate volume of master-mix to negative control PCR tube

- Add appropriate volume of master mix to each PCR tube (except negative control) and pipet up and down to mix

- Close PCR Tubes until the caps are tight

- Place the PCR Tubes in the thermocycler on STN 1 – the following settings should be in place:

  - Heat at 94 degrees for 2 minutes,

  - 94 degrees C for 20 seconds

  - 50 degrees C for 30 seconds

  - 68 degrees C for 30 seconds

  - Go back to step 2

  - Repeat 32x

  - 68 degrees C for 5 minutes

  - 12 degrees C for infinity

| Total reaction volume | 20 |  |  |  |
| --- | --- | --- | --- | --- |
| Total number of reactions | 3 |  |  |  |
|  |  |  |  | Factor |
| Component | Stock concentration | Final concentration | 1 rxn volume | 4 |
| ddiH2O |  |  | 12.4 | 49.6 |
| PrimeSTAR GXL Buffer | 5x | 1x | 4.0 | 16 |
| dNTPs | 2.5 mM | 0.2 mM | 1.6 | 6.4 |
| oligo F | 10 uM | 0.3 uM | 0.6 |  |
| oligo R | 10 uM | 0.3 uM | 0.6 |  |
| template | 100 ng/ul | 2 ng/ul | 0.4 |  |
| PrimeSTAR GXL DNA Polymerase | 1.25 U/ul | 0.025 U/ul | 0.4 | 1.6 |
|  |  | Total volume | 20 | 78.4 |

| Reaction Number | Plasmid/Region | Source DNA | Primers | Length (bps) |
| --- | --- | --- | --- | --- |
| 1 | + control | LVS gDNA | KROL 15, KROL16 | 441 |
| 2 | - control | - | KROL15, KROL16 | - |
| 3 | EV | pKR113 | KROL495, KROL496 | 245 |

## Gel of PCR Fragment from Diluted pKR113 Plasmid and Re-Diluted Primers

- Melt agarose gel until completely dissolved, then place in 50°C water bath until cool enough to touch.

- Set up gel rig to cast gel, with ladder.

- Add 6uL of Sbyr Safe dye to gel rig, pour ~60uL of agarose gel, use ladder to mix, then replace ladder and allow to set.

- Turn gel, add used TAE, remove ladder.

- Loaded 15 uL ladder, and 24 uL of positive, negative, and dil. pKR113 fragment

- Ran for 45 minutes at 113V.

Monday, May 23, 2022

To Do:

- Put away dishes

- PCR of EV stuff :D

- PCR PURIFICATION OH MY GOD

- Restriction Digest

- Patch out transformants (hopefully)

Results and Data:

## PCR of pKR113 w/Re-Diluted PCR Primers

- Acquired and labelled PCR tubes: EV, positive and negative control.

- Get a container of ice to keep the components on

- Acquire the following components and put them on ice, labeling tubes if necessary:

  - Molecular grade H2O in 1.5 mL microfuge tube

  - Primestar buffer

  - dNTPs

  - KROL15, KROL495, KROL16, KROL496, (10uM)

  - Diluted pKR113 and LVS gDNA

  - Note: Primestar enzyme kept in the freezer until it is used-- added last

- If any of the solutions are frozen, be sure to vortex the microcentrifuge tube in order to dissolve it (tubes with frozen components may not be homogenized)

  - NOT vortexing the enzyme as it will expose it to oxygen and degrade it

- Add appropriate volume (based on PCR worksheet) of each experiment specific primer (forward and reverse) and respective template to PCR tubes

- Add ddi H2O to negative control tube

  - Template volume for 1 reaction

- Prepare a master-mix in a 1.5 mL microcentrifuge tube by adding the following according to the worksheet and using micropipettes:

  - Add ddi H2O

  - Add dNTPs

  - Add Primestar buffer

  - Add Primestar enzyme

- Mix the master-mix solution by pipetting up and down

  - Do not vortex to mix

- Add appropriate volume of master-mix to negative control PCR tube

- Add appropriate volume of master mix to each PCR tube (except negative control) and pipet up and down to mix

- Close PCR Tubes until the caps are tight

- Place the PCR Tubes in the thermocycler on STN 1 – the following settings should be in place:

  - Heat at 94 degrees for 2 minutes,

  - 94 degrees C for 20 seconds

  - 50 degrees C for 30 seconds

  - 68 degrees C for 30 seconds

  - Go back to step 2

  - Repeat 32x

  - 68 degrees C for 5 minutes

  - 12 degrees C for infinity

| Total reaction volume | 100 |  |  |  |
| --- | --- | --- | --- | --- |
| Total number of reactions | 3 |  |  |  |
|  |  |  |  | Factor |
| Component | Stock concentration | Final concentration | 1 rxn volume | 4 |
| ddiH2O |  |  | 62.0 | 248 |
| PrimeSTAR GXL Buffer | 5x | 1x | 20.0 | 80 |
| dNTPs | 2.5 mM | 0.2 mM | 8.0 | 32 |
| oligo F | 10 uM | 0.3 uM | 3.0 |  |
| oligo R | 10 uM | 0.3 uM | 3.0 |  |
| template | 100 ng/ul | 2 ng/ul | 2.0 |  |
| PrimeSTAR GXL DNA Polymerase | 1.25 U/ul | 0.025 U/ul | 2.0 | 8 |
|  |  | Total volume | 100 | 392 |

| Reaction Number | Plasmid/Region | Source DNA | Primers | Length (bps) |
| --- | --- | --- | --- | --- |
| 1 | + control | LVS gDNA | KROL 15, KROL16 | 441 |
| 2 | - control | - | KROL15, KROL16 | - |
| 3 | EV | pKR113 | KROL495, KROL496 | 245 |

### PCR Purification

- Add 5 volumes of Buffer PB to 1 volume of the PCR reaction and mix.

- Place a QIAquick column in a 2mL collection tube.

- Centrifuge tube for 30-60s at 13,000rpm. Discard flow through.

- Wash: add 750uL of Buffer PE to the QIAquick column. Centrifuge for 30-60s at 13,000rpm. Discard flow through.

- Centrifuge again for 3 minutes at 13,000rpm to remove any residual wash buffer.

- Place the QIAquick column in a fresh 1.5mL centrifuge tube.

- Elute: add 30uL of Buffer 0.1x EB. Let column stand for 1 minute. Centrifuge for 1 minute at 13,000rpm.

## DNA Digest of pKR113 PCR Fragment w/KpnI and BamHI

- Make a reaction table with desired digests:

| Tube | DNA | Enzyme(s) | DNA Volume (uL) | H2O Volume (uL) |
| --- | --- | --- | --- | --- |
| 1 | pKR113 PCR | Kpn1, BamH1 | 15 | - |
| 2 | pKR113 plasmid | Kpn1, BamH1 | 5 | 10 |

- Set up master mix table:

| Components | Volumes in 1 reaction (uL) |
| --- | --- |
| H2O | 10.8 |
| 10x Buffer (Cutsmart) | 3.0 |
| DNA | (15.0) |
| Kpn1 | 0.6 |
| BamH1 | 0.6 |
| Total | 30.0 (15.0 actual b/c of DNA) |

- Add indicated amounts of H2O, 10x buffer, and DNA to individual tube for digest (1.5 mL microfuge tubes for digest in incubator).

- Add indicated amount of each enzyme (0.6 uL) to the tube.

- Mix by pipetting up and down.

- Incubate at 37°C for 1 hour.

- If using digest for plasmid construction then after incubation at 37°C, add 1 uL of QuickCIP enzyme to backbone tube, mix by pipetting and put back in37°C incubator for 10 minutes, mix, incubate for 10 mins, then put at 80C for 2 minutes to inactivate the enzyme.

## Gel of Digested pKR113 PCR Fragment and PCR Positive and Negative Control

- Melt agarose gel until completely dissolved, then place in 50°C water bath until cool enough to touch.

- Set up gel rig to cast gel, with ladder.

- Add 6uL of Sbyr Safe dye to gel rig, pour ~60uL of agarose gel, use ladder to mix, then replace ladder and allow to set.

- Turn gel, add used TAE, remove ladder.

- Loaded 15 uL ladder, and 36 uL of positive, negative, and digested pKR113.

- Ran for 45 minutes at 113V.

Note. Science has not rained its praise on me today. No PCR fragment on gel.

Tuesday, May 24, 2022

To Do:

- 2.5% iron pyrophosphate

- PCR of inducible strains

- Freezing down permanent stocks of fluorescent patches

Results and Data:

Note. Edited plasmids worksheet and created new maps to reflect the error in the current fluorescent strains not containing a VSVG tag. Also confirmed the KROL514 and KROL515 primers on the sequence maps to confirm the size of fragment expected from the PCR. Additionally, checked that there would be a fragment from LVS gDNA in order to set-up a positive control for these primers specifically.

Note. Had Kathryn look at gel of EV from yesterday, stain travels up on a gel, and based on the faintness of the lower ladder bands it’s quite possible the band was there but simply unstained. Will try again with the remaining 15 uL of the purified PCR product tomorrow.

## PCR of Inducible Strains

- Acquired and labelled PCR tubes: LVS, 24, 141, 156, 157, positive and negative control.

- Get a container of ice to keep the components on

- Acquire the following components and put them on ice, labeling tubes if necessary:

  - Molecular grade H2O in 1.5 mL microfuge tube

  - Primestar buffer

  - dNTPs

  - KROL15, KROL16, KROL514, KROL515 (10uM)

  - Diluted KRLVS24/141/156/157 gDNA and LVS gDNA

  - Note: Primestar enzyme kept in the freezer until it is used-- added last

- If any of the solutions are frozen, be sure to vortex the microcentrifuge tube in order to dissolve it (tubes with frozen components may not be homogenized)

  - NOT vortexing the enzyme as it will expose it to oxygen and degrade it

- Add appropriate volume (based on PCR worksheet) of each experiment specific primer (forward and reverse) and respective template to PCR tubes

- Add ddi H2O to negative control tube

  - Template volume for 1 reaction

- Prepare a master-mix in a 1.5 mL microcentrifuge tube by adding the following according to the worksheet and using micropipettes:

  - Add ddi H2O

  - Add dNTPs

  - Add Primestar buffer

  - Add Primestar enzyme

- Mix the master-mix solution by pipetting up and down

  - Do not vortex to mix

- Add appropriate volume of master-mix to negative control PCR tube

- Add appropriate volume of master mix to each PCR tube (except negative control) and pipet up and down to mix

- Close PCR Tubes until the caps are tight

- Place the PCR Tubes in the thermocycler on STN 1 – the following settings should be in place:

  - Heat at 94 degrees for 2 minutes,

  - 94 degrees C for 20 seconds

  - 50 degrees C for 30 seconds

  - 68 degrees C for 30 seconds

  - Go back to step 2

  - Repeat 32x

  - 68 degrees C for 5 minutes

  - 12 degrees C for infinity

| Total reaction volume | 20 |  |  |  |
| --- | --- | --- | --- | --- |
| Total number of reactions | 7 |  |  |  |
|  |  |  |  | Factor |
| Component | Stock concentration | Final concentration | 1 rxn volume | 8 |
| ddiH2O |  |  | 12.4 | 99.2 |
| PrimeSTAR GXL Buffer | 5x | 1x | 4.0 | 32 |
| dNTPs | 2.5 mM | 0.2 mM | 1.6 | 12.8 |
| oligo F | 10 uM | 0.3 uM | 0.6 |  |
| oligo R | 10 uM | 0.3 uM | 0.6 |  |
| template | 100 ng/ul | 2 ng/ul | 0.4 |  |
| PrimeSTAR GXL DNA Polymerase | 1.25 U/ul | 0.025 U/ul | 0.4 | 3.2 |
|  |  | Total volume | 20 | 156.8 |

| Reaction Number | Plasmid/Region | Source DNA | Primers | Length (bps) |
| --- | --- | --- | --- | --- |
| 1 | + control | LVS gDNA | KROL 15, KROL16 | 441 |
| 2 | - control | - | KROL15, KROL16 | - |
| 3 | KRLVS24 gDNA | KRLVS24 gDNA | KROL514, KROL515 | 235 |
| 4 | pKR113 Plasmid Recom | KRLVS141 gDNA | KROL514, KROL515 | 277 |
| 5 | pKR113 Plasmid Recom | KRLVS156 gDNA | KROL514, KROL515 | 277 |
| 6 | pKR113 Plasmid Recom | KRLVS157 gDNA | KROL514, KROL515 | 277 |
| 7 | LVS gDNA | LVS gDNA | KROL514, KROL515 | 235 |

## Freeze down strains

- Per strain, label 2 cryotubes with strain number. Include LVS, strain number, genotype, date.

- Add 200 uL sterile 75% glycerol to each tube (2 per strain).

- In a sterile 2 mL tube (1 per strain), add 400 uL of MHB

- Resuspend patch (all of what you have) in MHB to homogeneity

- Correct volume to 1700 uL (add 2x 650 uL MHB)

- Transfer 800 uL to each cryotube (final volume should be 1 mL)

- Vortex cryotube

- Quickly spin (mini-fuge) to get liquid to the bottom of the tube

- Freeze at -80°C in appropriate strain box

### Reagents

2.5% Iron pyrophosphate

1.25g iron pyrophosphate (cabinet) in 50mL of ddiH2O (type 1), dissolved overnight, fresh solution every 2 weeks

Wednesday, May 25, 2022

To Do:

- Supplement MHB

- PCR of iLOV-V and LanYFP gBloks

- PCR PURIFICATION OF iLOV-V and LanYFP-V gBlocks

- Restriction digest of EV, BB, iLOV-V, and LanYFP-V PCR

Results and Data:

## PCR of iLOV-V and LanYFP-V gBlock

- Acquired and labelled PCR tubes: iLov, Lan, positive, and negative control.

- Get a container of ice to keep the components on

- Acquire the following components and put them on ice, labeling tubes if necessary:

  - Molecular grade H2O in 1.5 mL microfuge tube

  - Primestar buffer

  - dNTPs

  - KROL15, KROL16, KROL500, KROL501, KROL502, KROL503 (10uM)

  - Diluted iLOV-V gBlock, LanYFP gBlock, and LVS gDNA

  - Note: Primestar enzyme kept in the freezer until it is used-- added last

- If any of the solutions are frozen, be sure to vortex the microcentrifuge tube in order to dissolve it (tubes with frozen components may not be homogenized)

  - NOT vortexing the enzyme as it will expose it to oxygen and degrade it

- Add appropriate volume (based on PCR worksheet) of each experiment specific primer (forward and reverse) and respective template to PCR tubes

- Add ddi H2O to negative control tube

  - Template volume for 1 reaction

- Prepare a master-mix in a 1.5 mL microcentrifuge tube by adding the following according to the worksheet and using micropipettes:

  - Add ddi H2O

  - Add dNTPs

  - Add Primestar buffer

  - Add Primestar enzyme

- Mix the master-mix solution by pipetting up and down

  - Do not vortex to mix

- Add appropriate volume of master-mix to negative control PCR tube

- Add appropriate volume of master mix to each PCR tube (except negative control) and pipet up and down to mix

- Close PCR Tubes until the caps are tight

- Place the PCR Tubes in the thermocycler on STN 1 – the following settings should be in place:

  - Heat at 94 degrees for 2 minutes,

  - 94 degrees C for 20 seconds

  - 50 degrees C for 30 seconds

  - 68 degrees C for 45 seconds

  - Go back to step 2

  - Repeat 32x

  - 68 degrees C for 5 minutes

  - 12 degrees C for infinity

| Total reaction volume | 100 |  |  |  |
| --- | --- | --- | --- | --- |
| Total number of reactions | 4 |  |  |  |
|  |  |  |  | Factor |
| Component | Stock concentration | Final concentration | 1 rxn volume | 5 |
| ddiH2O |  |  | 62.0 | 310 |
| PrimeSTAR GXL Buffer | 5x | 1x | 20.0 | 100 |
| dNTPs | 2.5 mM | 0.2 mM | 8.0 | 40 |
| oligo F | 10 uM | 0.3 uM | 3.0 |  |
| oligo R | 10 uM | 0.3 uM | 3.0 |  |
| template | 100 ng/ul | 2 ng/ul | 2.0 |  |
| PrimeSTAR GXL DNA Polymerase | 1.25 U/ul | 0.025 U/ul | 2.0 | 10 |
|  |  | Total volume | 100 | 490 |

| Reaction # | Plasmid/Region | Source DNA | Primers | Length (bps) |
| --- | --- | --- | --- | --- |
| 1 | iLOV-V | iLOV-V gBlock | KROL500, KROL501 | 450 |
| 2 | +control | LVS gDNA | KROL15, KROL16 | 441 |
| 3 | - control | - | KROL500, KROL501 | - |
| 4 | LanYFP-V | LanYFP-V gBlock | KROL502, KROL503 | 733 |

### PCR Purification of iLOV-V and LanYFP-V

- Add 5 volumes of Buffer PB to 1 volume of the PCR reaction and mix.

- Place a QIAquick column in a 2mL collection tube.

- Centrifuge tube for 30-60s at 13,000rpm. Discard flow through.

- Wash: add 750uL of Buffer PE to the QIAquick column. Centrifuge for 30-60s at 13,000rpm. Discard flow through.

- Centrifuge again for 3 minutes at 13,000rpm to remove any residual wash buffer.

- Place the QIAquick column in a fresh 1.5mL centrifuge tube.

- Elute: add 30uL of Buffer 0.1x EB. Let column stand for 1 minute. Centrifuge for 1 minute at 13,000rpm.

Note. Stored in cloning box.

## DNA Digest of pKR113 PCR Fragment w/KpnI and BamHI

- Make a reaction table with desired digests:

| Tube | DNA | Enzyme(s) | DNA Volume (uL) | H2O Volume (uL) |
| --- | --- | --- | --- | --- |
| 1 | pKR113 PCR | KpnI, BamHI | 15 | - |
| 2 | pKR113 plasmid | KpnI, BamHI | 5 | 10 |

- Set up master mix table:

| Components | Volumes in 1 reaction (uL) |
| --- | --- |
| H2O | 10.8 |
| 10x Buffer (Cutsmart) | 3.0 |
| DNA | (15.0) |
| Kpn1 | 0.6 |
| BamH1 | 0.6 |
| Total | 30.0 (15.0 actual b/c of DNA) |

- Add indicated amounts of H2O, 10x buffer, and DNA to individual tube for digest (1.5 mL microfuge tubes for digest in incubator).

- Add indicated amount of each enzyme (0.6 uL) to the tube.

- Mix by pipetting up and down.

- Incubate at 37°C for 1 hour.

- If using digest for plasmid construction then after incubation at 37°C, add 1 uL of QuickCIP enzyme to backbone tube, mix by pipetting and put back in37°C incubator for 10 minutes, mix, incubate for 10 mins, then put at 80C for 2 minutes to inactivate the enzyme.

## Visualizing and Cutting Gel

- Using Bio Rad Gel Doc XR+ imager equipped with XcitaBlue Conversion Screen

- Nucleic Acid Gel > Sybr Safe

- To cut gel, put on visualizing UV glasses and use a clean razor, cutting straight down. Add to 2mL tube.

Note. UuuuUUUUUUGH. Had issues doing the extraction, didn’t seem to get all of the backbone but its always in such a high concentration think it will be fine. Got all of the EV fragment which appeared to be less based on the lightness, but the ladder was also somewhat faint, though these appeared darker after the backbone was cut. Who knows, if the ligation and transformation works then it doesn’t matter anyways.

## Gel Extraction with QIAquick Gel Extraction Kit

- Excise the DNA fragment from the agarose gel with a clean, sharp razor

- Weigh the gel slice in a colorless tube. Add 3 volumes Buffer QG to 1 volume gel. (100mg~100uL)

- Incubate at 42C for 10 minutes or until slice is dissolved. Vortex every 2-3min to help slice dissolve.

- Add 1 gel volume isopropanol to the sample and mix.

- Place a QIAquick spin column in a 2mL collection tube. Centrifuge for 1 min at 13,000rpm. Discard flow through. For samples >800uL, load and spin the rest of the volume.

- Add 500uL Buffer QG to the QIAquick column. Centrifuge for 1 min at 13,000rpm. Discard flow through. Place back into the same tube.

- Wash: Add 750uL Buffer PE to the QIAquick column. Centrifuge at 1 min at 13,000rpm. Discard flow through. Place back into the same tube. Centrifuge again for 3 minutes. Discard flow through.

- Place columns in a fresh 1.5mL microcentrifuge tube.

- Elute: Add 30uL Buffer 0.01X EB and let stand for a minute. Centrifuge for 1 min at 13,000rpm.

| Component | Weight | Buffer QG 3 vol (uL) | Isopropanol 1 vol (uL) |
| --- | --- | --- | --- |
| pKR113 PCR Frag | 380mg | 1140uL | 380uL |
| pKR113 Backbone | 390mg | 1170uL | 390uL |

Note. Re-eluted the backbone because I wanted to let the EB sit for 1-4 minutes for high concentration, but then forgot which tube I added the EB to, so I spun them both then took the EB from the backbone and reapplied it to the column, and fresh EB to the EV column and let them sit for 2 minutes, then spun again and saved the flow-through.

### Reagents

Mueller Hinton Broth (500 mL)

To supplement add:

5mL of 10% glucose

5mL of 2.5% iron pyrophosphate

isovitalex (combine 10mL from liquid vial with solids, add entire volume to broth)

Can keep this supplemented media for 2 weeks, storing at 4  ̊C

Thursday, May 26, 2022

To Do:

- Restriction digest of iLOV-V and LanYFP

- Gel purification of iLOV-V and LanYFP-V

- Ligation of EV:pKR113BB and iLOV-V:pFBB and LanYFP-V:pFBB

- PCR of sequencing confirmation

- Gel of sequencing confirmation

- PCR Purification of seq. PCR

Results and Data:

## DNA Digest of iLOV-V, LanYFP-V, and pF w/EcoRI and BamHI

- Make a reaction table with desired digests:

| Tube | DNA | Enzyme(s) | DNA Volume (uL) | H2O Volume (uL) |
| --- | --- | --- | --- | --- |
| 1 | iLOV-V PCR | EcoRI, BamHI | 15 | - |
| 2 | LanYFP-V PCR | EcoRI, BamHI | 15 | - |
| 3 | pF plasmid | EcoRI, BamHI | 5 | 10 |

- Set up master mix table:

| Components | Volumes in 1 reaction (uL) | Volumes in Master Mix 4x (uL) |
| --- | --- | --- |
| H2O | 10.8 | 43.2 |
| 10x Buffer* | 3.0 | 12.0 |
| DNA | (15.0) | - |
| EcoR1 | 0.6 | 2.4 |
| BamH1 | 0.6 | 2.4 |
| Total | 30.0 | 60.0 |

- Add indicated amounts of H2O, 10x buffer, and DNA to individual tube for digest (1.5 mL microfuge tubes for digest in incubator).

- Add indicated amount of each enzyme (0.6 uL) to the tube.

- Mix by pipetting up and down.

- Incubate at 37°C for 1 hour.

- If using digest for plasmid construction then after incubation at 37°C, add 1 uL of QuickCIP enzyme to backbone tube, mix by pipetting and put back in37°C incubator for 10 minutes, mix, incubate for 10 mins, then put at 80C for 2 minutes to inactivate the enzyme.

## Gel of Digested pKR113 PCR Fragment and PCR Positive and Negative Control

- Melt agarose gel until completely dissolved, then place in 50°C water bath until cool enough to touch.

- Set up gel rig to cast gel, with ladder.

- Add 6uL of Sbyr Safe dye to gel rig, pour ~60uL of agarose gel, use ladder to mix, then replace ladder and allow to set.

- Turn gel, add used TAE, remove ladder.

- Loaded 15 uL ladder, and 36 uL of positive (PCR), negative (PCR), and digested iLOV-V, LanYFP-V, and pF.

- Ran for 45 minutes at 113V.

| Lanes |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Ladder | Positive? |  | Negative |  | iLOV-V |  | pF |  | LanYFP |

## Visualizing and Cutting Gel

- Using Bio Rad Gel Doc XR+ imager equipped with XcitaBlue Conversion Screen

- Nucleic Acid Gel > Sybr Safe

- To cut gel, put on visualizing UV glasses and use a clean razor, cutting straight down. Add to 2mL tube.

## Gel Extraction with QIAquick Gel Extraction Kit

- Excise the DNA fragment from the agarose gel with a clean, sharp razor

- Weigh the gel slice in a colorless tube. Add 3 volumes Buffer QG to 1 volume gel. (100mg~100uL)

- Incubate at 42C for 10 minutes or until slice is dissolved. Vortex every 2-3min to help slice dissolve.

- Add 1 gel volume isopropanol to the sample and mix.

- Place a QIAquick spin column in a 2mL collection tube. Centrifuge for 1 min at 13,000rpm. Discard flow through. For samples >800uL, load and spin the rest of the volume.

- Add 500uL Buffer QG to the QIAquick column. Centrifuge for 1 min at 13,000rpm. Discard flow through. Place back into the same tube.

- Wash: Add 750uL Buffer PE to the QIAquick column. Centrifuge at 1 min at 13,000rpm. Discard flow through. Place back into the same tube. Centrifuge again for 3 minutes. Discard flow through.

- Place columns in a fresh 1.5mL microcentrifuge tube.

- Elute: Add 30uL Buffer 0.01X EB and let stand for a minute. Centrifuge for 1 min at 13,000rpm.

| Component | Weight (mg) | Buffer QG 3 vol (uL) | Isopropanol 1 vol (uL) |
| --- | --- | --- | --- |
| iLOV-V | 180 | 540 | 180 |
| LanYFP-V | 200 | 600 | 200 |
| pF Backbone | 260 | 780 | 260 |

## PCR of Inducible Strains

- Acquired and labelled PCR tubes: LVS, 24, 141, 156, 157, positive and negative control.

- Get a container of ice to keep the components on

- Acquire the following components and put them on ice, labeling tubes if necessary:

  - Molecular grade H2O in 1.5 mL microfuge tube

  - Primestar buffer

  - dNTPs

  - KROL15, KROL16, KROL514, KROL515 (10uM)

  - Diluted KRLVS24/141/156/157 gDNA and LVS gDNA

  - Note: Primestar enzyme kept in the freezer until it is used-- added last

- If any of the solutions are frozen, be sure to vortex the microcentrifuge tube in order to dissolve it (tubes with frozen components may not be homogenized)

  - NOT vortexing the enzyme as it will expose it to oxygen and degrade it

- Add appropriate volume (based on PCR worksheet) of each experiment specific primer (forward and reverse) and respective template to PCR tubes

- Add ddi H2O to negative control tube

  - Template volume for 1 reaction

- Prepare a master-mix in a 1.5 mL microcentrifuge tube by adding the following according to the worksheet and using micropipettes:

  - Add ddi H2O

  - Add dNTPs

  - Add Primestar buffer

  - Add Primestar enzyme

- Mix the master-mix solution by pipetting up and down

  - Do not vortex to mix

- Add appropriate volume of master-mix to negative control PCR tube

- Add appropriate volume of master mix to each PCR tube (except negative control) and pipet up and down to mix

- Close PCR Tubes until the caps are tight

- Place the PCR Tubes in the thermocycler on STN 1 – the following settings should be in place:

  - Heat at 94 degrees for 2 minutes,

  - 94 degrees C for 20 seconds

  - 50 degrees C for 30 seconds

  - 68 degrees C for 30 seconds

  - Go back to step 2

  - Repeat 32x

  - 68 degrees C for 5 minutes

  - 12 degrees C for infinity

| Total reaction volume | 50 |  |  |  |
| --- | --- | --- | --- | --- |
| Total number of reactions | 7 |  |  |  |
|  |  |  |  | Factor |
| Component | Stock concentration | Final concentration | 1 rxn volume | 8 |
| ddiH2O |  |  | 31.0 | 248 |
| PrimeSTAR GXL Buffer | 5x | 1x | 10.0 | 80 |
| dNTPs | 2.5 mM | 0.2 mM | 4.0 | 32 |
| oligo F | 10 uM | 0.3 uM | 1.5 | 12 |
| oligo R | 10 uM | 0.3 uM | 1.5 | 12 |
| template | 100 ng/ul | 2 ng/ul | 1.0 |  |
| PrimeSTAR GXL DNA Polymerase | 1.25 U/ul | 0.025 U/ul | 1.0 | 8 |
|  |  | Total volume | 50 | 392 |

| Reaction# | Plasmid/Region | Source DNA | Primers | Length (bps) |
| --- | --- | --- | --- | --- |
| 1 | + control | LVS gDNA | KROL 15, KROL16 | 441 |
| 2 | - control | - | KROL15, KROL16 | - |
| 3 | KRLVS24 gDNA | KRLVS24 gDNA | KROL514, KROL515 | 235 |
| 4 | pKR113 Plasmid Recom | KRLVS141 gDNA | KROL514, KROL515 | 277 |
| 5 | pKR113 Plasmid Recom | KRLVS156 gDNA | KROL514, KROL515 | 277 |
| 6 | pKR113 Plasmid Recom | KRLVS157 gDNA | KROL514, KROL515 | 277 |
| 7 | LVS gDNA | LVS gDNA | KROL514, KROL515 | 235 |

## Making 2% Agarose Gel

- Add 2.4 g agarose powder to 120 mL 1x TAE buffer in 250 mL.

- Add stirbar to container.

- Heat to dissolve the agarose while stirring (don’t let it overboil, should look like clear liquid, no solids).

- Let the 2% agarose solution cool to approximately 50-55°C.

## Running 2% Gel of Inducible Strains

- Loaded 10uL of ladder and 5uL of each sample

- Ran at 113V for ~2-2.5 hours

### PCR Purification of Inducible Strains

- Add 5 volumes of Buffer PB to 1 volume of the PCR reaction and mix.

- Place a QIAquick column in a 2mL collection tube.

- Centrifuge tube for 30-60s at 13,000rpm. Discard flow through.

- Wash: add 750uL of Buffer PE to the QIAquick column. Centrifuge for 30-60s at 13,000rpm. Discard flow through.

- Centrifuge again for 3 minutes at 13,000rpm to remove any residual wash buffer.

- Place the QIAquick column in a fresh 1.5mL centrifuge tube.

- Elute: add 30uL of Buffer 0.1x EB. Let column stand for 1 minute. Centrifuge for 1 minute at 13,000rpm.

Friday, May 27, 2022

To Do:

- 20 uL PCR of sequencing confirmation, just to be sure.

- Gel of sequencing confirmation

Results and Data:

## PCR of Inducible Strains

- Acquired and labelled PCR tubes: LVS, 24, 141, 156, 157, positive and negative control.

- Get a container of ice to keep the components on

- Acquire the following components and put them on ice, labeling tubes if necessary:

  - Molecular grade H2O in 1.5 mL microfuge tube

  - Primestar buffer

  - dNTPs

  - KROL15, KROL16, KROL514, KROL515 (10uM)

  - Diluted KRLVS24/141/156/157 gDNA and LVS gDNA

  - Note: Primestar enzyme kept in the freezer until it is used-- added last

- If any of the solutions are frozen, be sure to vortex the microcentrifuge tube in order to dissolve it (tubes with frozen components may not be homogenized)

  - NOT vortexing the enzyme as it will expose it to oxygen and degrade it

- Add appropriate volume (based on PCR worksheet) of each experiment specific primer (forward and reverse) and respective template to PCR tubes

- Add ddi H2O to negative control tube

  - Template volume for 1 reaction

- Prepare a master-mix in a 1.5 mL microcentrifuge tube by adding the following according to the worksheet and using micropipettes:

  - Add ddi H2O

  - Add dNTPs

  - Add Primestar buffer

  - Add Primestar enzyme

- Mix the master-mix solution by pipetting up and down

  - Do not vortex to mix

- Add appropriate volume of master-mix to negative control PCR tube

- Add appropriate volume of master mix to each PCR tube (except negative control) and pipet up and down to mix

- Close PCR Tubes until the caps are tight

- Place the PCR Tubes in the thermocycler on STN 1 – the following settings should be in place:

  - Heat at 94 degrees for 2 minutes,

  - 94 degrees C for 20 seconds

  - 50 degrees C for 30 seconds

  - 68 degrees C for 30 seconds

  - Go back to step 2

  - Repeat 32x

  - 68 degrees C for 5 minutes

  - 12 degrees C for infinity

| Total reaction volume | 20 |  |  |  |
| --- | --- | --- | --- | --- |
| Total number of reactions | 7 |  |  |  |
|  |  |  |  | Factor |
| Component | Stock concentration | Final concentration | 1 rxn volume | 8 |
| ddiH2O |  |  | 12.4 | 99.2 |
| PrimeSTAR GXL Buffer | 5x | 1x | 4.0 | 32 |
| dNTPs | 2.5 mM | 0.2 mM | 1.6 | 12.8 |
| oligo F | 10 uM | 0.3 uM | 0.6 | 4.8 |
| oligo R | 10 uM | 0.3 uM | 0.6 | 4.8 |
| template | 100 ng/ul | 2 ng/ul | 0.4 |  |
| PrimeSTAR GXL DNA Polymerase | 1.25 U/ul | 0.025 U/ul | 0.4 | 3.2 |
|  |  | Total volume | 20 | 156.8 |

| Reaction# | Plasmid/Region | Source DNA | Primers | Length (bps) |
| --- | --- | --- | --- | --- |
| 1 | + control | LVS gDNA | KROL 15, KROL16 | 441 |
| 2 | - control | - | KROL15, KROL16 | - |
| 3 | KRLVS24 gDNA | KRLVS24 gDNA | KROL514, KROL515 | 235 |
| 4 | pKR113 Plasmid Recom | KRLVS141 gDNA | KROL514, KROL515 | 277 |
| 5 | pKR113 Plasmid Recom | KRLVS156 gDNA | KROL514, KROL515 | 277 |
| 6 | pKR113 Plasmid Recom | KRLVS157 gDNA | KROL514, KROL515 | 277 |
| 7 | LVS gDNA | LVS gDNA | KROL514, KROL515 | 235 |

## Making 2% Agarose Gel

- Add 2.4 g agarose powder to 120 mL 1x TAE buffer in 250 mL.

- Add stirbar to container.

- Heat to dissolve the agarose while stirring (don’t let it overboil, should look like clear liquid, no solids).

- Let the 2% agarose solution cool to approximately 50-55°C.

## Running 2% Gel of Inducible Strains

- Loaded 10uL of ladder and 5uL of each sample

- Ran at 113V for ~2-2.5 hours

| Lane |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 |
| - | La | - | (+) | (-) | - | 24 | 24 | 141 | 141 | 156 | 156 | 157 | 157 | LVS | LVS | - | - | - | - |

# June 2022

Tuesday, June 1, 2022

To Do:

Results and Data:

Wednesday, June 2, 2022

To Do:

Results and Data:

Thursday, June 3, 2022

To Do:

Results and Data:

Friday, June 4, 2022

To Do:

Results and Data:

Monday, June 6, 2022

To Do:

- Ligation of EV-pKR113 backbone

- Transform E. coli with ligation + plate

- Make 2.5% pyrophosphate

Results and Data:

Transformation: No growth. ☹

## Ligation of EV and pKR113 backbone

- Make a reaction table with desired ligations. Always include a backbone only control for each plasmid backbone used.

| Tube | Insert | Backbone |
| --- | --- | --- |
| 1 | BamHI, KpnI dig., purified PCR | BamHI, KpnI digested, purified pKR113 |
| 2 | - | BamHI, KpnI digested, purified pKR113 |

- Set up master mix table:

| Component | Reaction 1 (uL) | Reaction 2 (uL) | Master Mix (3x) |
| --- | --- | --- | --- |
| H2O | 11.5 | 11.5 | 34.5 |
| 10x ligase buffer | 2.0 | 2.0 | 6 |
| Insert | 4.0 | - | - |
| Backbone | 2.0 | 2.0 | 6 |
| Ligase | 0.5 | 0.5 | 1.5 |
| TOTAL | 20.0 | 20.0 | 48 |

- Obtain ice to assemble and keep the reactions on. This is important, as the reaction happens at 16°C and the ligase buffer (which contains ATP) needs to be kept cold in order to avoid degradation. Take a 10 uL aliquot of 10X ligase buffer from the miscellaneous buffers box in the -20C.

- Obtain and label 1.5mL tubes for the reactions. Be sure to include the date and your initials.

- To the individual tubes, add indicated amounts of H2O (___uL), 10x buffer (_____uL), insert (____uL), and backbone (____uL).

- Add indicated amount of ligase (___uL) to the individual tubes. Remember to keep the ligase in a mini cooler.

- After all of the components have been added, mix each tube with a pipette set to 18 uL.

- Place on bench for 10 minutes.

## Transformation of EV Ligation into E. coli

- Set up reaction table. Always include a positive and negative control for each antibiotic. Use 8 uL per ligation and plate 100 uL and remaining culture.

  - Positive control: pKR113; Backbone ligation: BamHI-KpnI digested pKR113

Reaction table

| Tube# | Purpose | DNA | Vol. of DNA | Final vol. to plate | # of LB-kan plates |
| --- | --- | --- | --- | --- | --- |
| 1 | (+) control | pKR113 | 1 uL | 20 ul, 100 ul | 2 |
| 2 | (-) control | None | 0 | 20 ul, 100 ul | 2 |
| 3 | Backbone Ligation | pR113 (digested) | 8 uL | 100 uL, remaining | 2 |
| 4 | Ligation 1 | pKR135 | 8 uL | 100 uL, remaining | 2 |
| Total number of plates |  |  |  |  | 8 |

- Check to be sure you have enough LB-Kan plates with appropriate antibiotic. If plates were stored at 4°C, warm at 37°C until needed.

- Obtain DNA and thaw on ice if necessary.

- Thaw appropriate number of competent cell tubes on ice (5 reactions per tube of competent cells)

- Label sterile tubes as indicated in reaction table. Add indicated volume of indicated DNA on ice.

- When competent cells are thawed (check by probing for frozen cells using a sterile pipette tip), gently pipette 100 uL of cells into each reaction tube directly onto DNA using aseptic technique.

- Incubate cells on ice for 20 minutes. During incubation, find or set heat block to 42°C.

- Place tubes with cells and DNA onto 42°C heatblock for 30 seconds (heat shock step).

- After heat shock, place tubes back on ice until next step (don’t keep them here too long).

- Using aseptic technique, add 1 mL LB (no antibiotic) to each microfuge tube.

- Using autoclave tape, tape microfuge tubes down in shaking incubator set to 37°C.

- Allow cells to recover for 1 hour at 37°C, shaking. Place in a rack after shaking (NOT back on ice).

- Using aseptic technique, plate indicated amount of cells on appropriate antibiotic plates (LB-Kan), spreading until plates look dry. For “remaining” volume, spin tubes at max speed in benchtop centrifuge for 30 seconds. Remove 800 uL of media. Using 200 uL pipette, resuspend cells at bottom of tube and plate all the remaining culture.

Tuesday, June 7, 2022

To Do:

- Re-dilute KROL15 and KROL16

- Supplement MHB

- Run dishwasher

Results and Data:

N/A

### Re-Diluting KROL15 and KROL16

- Make a 10 uM stock by diluting 20 uL of the 100 uM stock into 180 uL of 0.1xEB. Label with purple sticker and put in appropriate freezer box.

Note. Potential LVS gDNA contamination in the KROL15 and KROL16 primers based on the negative controls that Marissa and I have had contamination in. After

### Reagents

Mueller Hinton Broth (500 mL)

To supplement add:

5mL of 10% glucose

5mL of 2.5% iron pyrophosphate

isovitalex (combine 10mL from liquid vial with solids, add entire volume to broth)

Can keep this supplemented media for 2 weeks, storing at 4  ̊C

Wednesday, June 8, 2022

To Do:

- Set-up inducible strain PCR with new aliquots

- PCR purify products and run 5 uL

- Make and run 2% agarose gel

- Ligate EV

Results and Data:

## PCR of Inducible Strains

- Acquired and labelled PCR tubes: LVS, 24, 141, 156, 157, positive and negative control.

- Get a container of ice to keep the components on

- Acquire the following components and put them on ice, labeling tubes if necessary:

  - Molecular grade H2O in 1.5 mL microfuge tube

  - Primestar buffer

  - dNTPs

  - KROL15, KROL16, KROL514, KROL515 (10uM)

  - Diluted KRLVS24/141/156/157 gDNA and LVS gDNA

  - Note: Primestar enzyme kept in the freezer until it is used-- added last

- If any of the solutions are frozen, be sure to vortex the microcentrifuge tube in order to dissolve it (tubes with frozen components may not be homogenized)

  - NOT vortexing the enzyme as it will expose it to oxygen and degrade it

- Add appropriate volume (based on PCR worksheet) of each experiment specific primer (forward and reverse) and respective template to PCR tubes

- Add ddi H2O to negative control tube

  - Template volume for 1 reaction

- Prepare a master-mix in a 1.5 mL microcentrifuge tube by adding the following according to the worksheet and using micropipettes:

  - Add ddi H2O

  - Add dNTPs

  - Add Primestar buffer

  - Add Primestar enzyme

- Mix the master-mix solution by pipetting up and down

  - Do not vortex to mix

- Add appropriate volume of master-mix to negative control PCR tube

- Add appropriate volume of master mix to each PCR tube (except negative control) and pipet up and down to mix

- Close PCR Tubes until the caps are tight

- Place the PCR Tubes in the thermocycler on STN 1 – the following settings should be in place:

  - Heat at 94 degrees for 2 minutes,

  - 94 degrees C for 20 seconds

  - 50 degrees C for 30 seconds

  - 68 degrees C for 30 seconds

  - Go back to step 2

  - Repeat 32x

  - 68 degrees C for 5 minutes

  - 12 degrees C for infinity

| Total reaction volume | 50 |  |  |  |
| --- | --- | --- | --- | --- |
| Total number of reactions | 7 |  |  |  |
|  |  |  |  | Factor |
| Component | Stock concentration | Final concentration | 1 rxn volume | 8 |
| ddiH2O |  |  | 31.0 | 248 |
| PrimeSTAR GXL Buffer | 5x | 1x | 10.0 | 80 |
| dNTPs | 2.5 mM | 0.2 mM | 4.0 | 32 |
| oligo F | 10 uM | 0.3 uM | 1.5 | 12 |
| oligo R | 10 uM | 0.3 uM | 1.5 | 12 |
| template | 100 ng/ul | 2 ng/ul | 1.0 |  |
| PrimeSTAR GXL DNA Polymerase | 1.25 U/ul | 0.025 U/ul | 1.0 | 8 |
|  |  | Total volume | 50 | 392 |

| Reaction# | Plasmid/Region | Source DNA | Primers | Length (bps) |
| --- | --- | --- | --- | --- |
| 1 | + control | LVS gDNA | KROL 15, KROL16 | 441 |
| 2 | - control | - | KROL15, KROL16 | - |
| 3 | KRLVS24 gDNA | KRLVS24 gDNA | KROL514, KROL515 | 235 |
| 4 | pKR113 Plasmid Recom | KRLVS141 gDNA | KROL514, KROL515 | 277 |
| 5 | pKR113 Plasmid Recom | KRLVS156 gDNA | KROL514, KROL515 | 277 |
| 6 | pKR113 Plasmid Recom | KRLVS157 gDNA | KROL514, KROL515 | 277 |
| 7 | LVS gDNA | LVS gDNA | KROL514, KROL515 | 235 |

Note. Got new aliquots of dNTPs, Buffer, and MG H2O, in addition to the re-diluted KROL15 and KROL16.

## Making 2% Agarose Gel

- Add 2.4 g agarose powder to 120 mL 1x TAE buffer in 250 mL.

- Add stirbar to container.

- Heat to dissolve the agarose while stirring (don’t let it overboil, should look like clear liquid, no solids).

- Let the 2% agarose solution cool to approximately 50-55°C.

## Running 2% Gel of Inducible Strains

- Loaded 10uL of ladder and 5uL of each sample

- Run at 113V for ~2-2.5 hours

### PCR Purification of Inducible Strains

- Add 5 volumes of Buffer PB to 1 volume of the PCR reaction and mix.

- Place a QIAquick column in a 2mL collection tube.

- Centrifuge tube for 30-60s at 13,000rpm. Discard flow through.

- Wash: add 750uL of Buffer PE to the QIAquick column. Centrifuge for 30-60s at 13,000rpm. Discard flow through.

- Centrifuge again for 3 minutes at 13,000rpm to remove any residual wash buffer.

- Place the QIAquick column in a fresh 1.5mL centrifuge tube.

- Elute: add 30uL of Buffer 0.1x EB. Let column stand for 1 minute. Centrifuge for 1 minute at 13,000rpm.

## Ligation of EV and pKR113 backbone

- Make a reaction table with desired ligations. Always include a backbone only control for each plasmid backbone used.

| Tube | Insert | Backbone |
| --- | --- | --- |
| 1 | BamHI, KpnI dig., purified PCR | BamHI, KpnI digested, purified pKR113 |
| 2 | - | BamHI, KpnI digested, purified pKR113 |

- Set up master mix table:

| Component | Reaction 1 (uL) | Reaction 2 (uL) | Master Mix (3x) |
| --- | --- | --- | --- |
| H2O | 11.5 | 11.5 | 34.5 |
| 10x ligase buffer | 2.0 | 2.0 | 6 |
| Insert | 4.0 | - | - |
| Backbone | 2.0 | 2.0 | 6 |
| Ligase | 0.5 | 0.5 | 1.5 |
| TOTAL | 20.0 | 20.0 | 48 |

- Obtain ice to assemble and keep the reactions on. This is important, as the reaction happens at 16°C and the ligase buffer (which contains ATP) needs to be kept cold in order to avoid degradation. Take a 10 uL aliquot of 10X ligase buffer from the miscellaneous buffers box in the -20C.

- Obtain and label 1.5mL tubes for the reactions. Be sure to include the date and your initials.

- To the individual tubes, add indicated amounts of H2O (___uL), 10x buffer (_____uL), insert (____uL), and backbone (____uL).

- Add indicated amount of ligase (___uL) to the individual tubes. Remember to keep the ligase in a mini cooler.

- After all of the components have been added, mix each tube with a pipette set to 18 uL.

- Place on bench for 10 minutes.

### Reagents

LB Agar + Kanamycin

Melt LB agar and then cool at 56°C

0.5 mL 50 ug/mL Kanamycin

Pour plates

Thursday, June 9, 2022

To Do:

- Transformation of pKR135

- Ligation of LanYFP-V and iLOV-V

- Transformation of LanYFP-V and iLOV-V

Results and Data:

## Transformation of EV Ligation into E. coli

- Set up reaction table. Always include a positive and negative control for each antibiotic. Use 8 uL per ligation and plate 100 uL and remaining culture.

  - Positive control: pKR113; Backbone ligation: BamHI-KpnI digested pKR113

Reaction table

| Tube# | Purpose | DNA | Vol. of DNA | Final vol. to plate | # of LB-kan plates |
| --- | --- | --- | --- | --- | --- |
| 1 | (+) control | pKR113 | 1 uL | 20 ul, 100 ul | 2 |
| 2 | (-) control | None | 0 | 20 ul, 100 ul | 2 |
| 3 | Backbone Ligation | pR113 (digested) | 8 uL | 100 uL, remaining | 2 |
| 4 | Ligation 1 | pKR135 | 8 uL | 100 uL, remaining | 2 |
| Total number of plates |  |  |  |  | 8 |

- Check to be sure you have enough LB-Kan plates with appropriate antibiotic. If plates were stored at 4°C, warm at 37°C until needed.

- Obtain DNA and thaw on ice if necessary.

- Thaw appropriate number of competent cell tubes on ice (5 reactions per tube of competent cells)

- Label sterile tubes as indicated in reaction table. Add indicated volume of indicated DNA on ice.

- When competent cells are thawed (check by probing for frozen cells using a sterile pipette tip), gently pipette 100 uL of cells into each reaction tube directly onto DNA using aseptic technique.

- Incubate cells on ice for 20 minutes. During incubation, find or set heat block to 42°C.

- Place tubes with cells and DNA onto 42°C heatblock for 30 seconds (heat shock step).

- After heat shock, place tubes back on ice until next step (don’t keep them here too long).

- Using aseptic technique, add 1 mL LB (no antibiotic) to each microfuge tube.

- Using autoclave tape, tape microfuge tubes down in shaking incubator set to 37°C.

- Allow cells to recover for 1 hour at 37°C, shaking. Place in a rack after shaking (NOT back on ice).

- Using aseptic technique, plate indicated amount of cells on appropriate antibiotic plates (LB-Kan), spreading until plates look dry. For “remaining” volume, spin tubes at max speed in benchtop centrifuge for 30 seconds. Remove 800 uL of media. Using 200 uL pipette, resuspend cells at bottom of tube and plate all the remaining culture.

Friday, June 10, 2022

To Do:

Results and Data:

Saturday, June 11, 2022

To Do:

Results and Data:

May 1st

iLOV/LanYFP

| Components | Volumes in 1 reaction (uL) | Volumes in Master Mix 4x (uL) |
| --- | --- | --- |
| H2O | 10.8 | 43.2 |
| 10x Buffer* | 3.0 | 12.0 |
| DNA | (15.0) | - |
| EcoR1 | 0.6 | 2.4 |
| BamH1 | 0.6 | 2.4 |
| Total | 30.0 (15.0 actual b/c of DNA) |  |

EV

| Components | Volumes in 1 reaction (uL) | Volumes in Master Mix 3x (uL) |
| --- | --- | --- |
| H2O | 10.8 | 54.0 |
| 10x Buffer* | 3.0 | 15.0 |
| DNA | (15.0) | - |
| Kpn1 | 0.6 | 3.0 |
| BamH1 | 0.6 | 3.0 |
| Total | 30.0 (15.0 actual b/c of DNA) |  |

# Bibliography

Ramsey, K. M. and Dove, S. L. (2016) ‘ A response regulator promotes Francisella tularensis intramacrophage growth by repressing an anti-virulence factor ’, Molecular Microbiology. doi: 10.1111/mmi.13418.